|  |  |
| --- | --- |
| ***Swimming Area – 1*** |  |
| 3-Phase Electric Service |  |
| North Prep Room: | Condition of Appliances (if known): |
| Office with safe |  |
| Refrigerator – walk in | Leaks, not efficient |
| Freezer – walk in through refrigerator | Does not work |
| 2 Exhaust fans | Does not work |
| Air conditioning for prep room | Fair |
| Fan for exhaust hood over grill | Needs belt repair yearly |
| Janitorial closet with water stall |  |
| Men room |  |
| Ladies room |  |
| Ice machine | Needs repair yearly |
| Triple sink with counter – stainless |  |
| Standalone sink – stainless |  |
|  |  |
| Kitchen: | Condition: |
| 3 Fryers | Fair |
| Wells Griddle - electric | Fair |
| Exhaust hood with Ansul fire suppression | Good |
| Counter with 2 drawers – stainless |  |
| Chiller with counter |  |
| Stainless table |  |
| Counter along 7 serving windows – stainless |  |
| Counter w/ sink, 2 shelves – stainless |  |
|  |  |
| North Storage Room: |  |
| 3-Door reach in freezer |  |
| 2 Shelving units |  |
|  |  |
| South Serving Room: |  |
| Tiled area with water |  |
| 2 Prep Tables – stainless |  |
|  |  |
| South Storage Room: |  |
| Soda gun area | Needs cleaning |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

|  |  |
| --- | --- |
| ***Swimming Area – 2*** |  |
| 3-Phase Electric Service |  |
| Kitchen: | Condition of Appliances (if known): |
| Office with safe |  |
| Storage / pantry room |  |
| Mens room |  |
| Ladies room |  |
| Janitorial closet with sink |  |
| Soda gun  | Needs cleaning |
| Ice machine | New |
| Refrigerator & freezer – walk in | Heat strip around freezer door needs repair |
| Vulcan Griddle - Propane | Fair |
| Exhaust hood with Ansul fire suppression | Good |
| Prep table with bottom shelf – stainless |  |
| Refrigerator – 3 Door Reach In | Fair |
| 3 Fryers | Fair |
| Pass through window to serving area |  |
|  |  |
| Service Area: |  |
| Counter w/ 2 Soda Dispensers w/ Ice bins, warming lamps, lower cabinets | Warming lamps missing switches |
| Counter along serving windows (5) – stainless; with open shelving below |  |
| Prep counter – stainless |  |
| Triple sink – stainless |  |
|  |  |
| East Area: |  |
| Storage Area With Service Window |  |
| L-Counter w/ sink, soda Dispenser, freezer drawer – stainless |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |