New Jersey Department of Health

Public Health and Food Protection Program

# CHECKLIST FOR

# PUBLIC RECREATIONAL BATHING FACILITIES

| Municipality | Local Health Authority | Date |
| --- | --- | --- |

| Name of Public Recreational Bathing Facility |
| --- |
| Dates of Operation | Type of PRB Facility |
| PRB Facility Location | Phone Number | Special Exempt Yes No Both |
| Owners Name and Address | Phone Number |
| Certified Laboratory | Phone Number | Date of Last Sample |
| Trained Pool Operator | Email Address | Phone Number |
| Codes: X-Compliant P-Pending N/A-Not Applicable |
| PAPERWORK |
| TPO Certification No. and Exp. Date |  | Log Book |  |
| Lifeguard Certifications Current |  | Bonding and Grounding (5-year cert.) |  |
| Pro CPR Certifications Current |  | Bonding and Grounding (Town) |  |
| Aquatics Facility Plan |  | CB-20 completed and submitted |  |
| Water Sample(s) Results |  | MSDS sheets for all chemicals |  |
| Sanitary Surveys (N.J.A.C. 8:26-7.15) |  | Physical Hazards inspection |  |
| GENERAL LAYOUT |
| Emergency Phone Numbers |  | No Lifeguard on Duty Sign |  |
| Pool/Natural Waters Rules Sign |  | Adult Supervision Sign |  |
| No Diving Signs |  | Special Exempt Signs |  |
| Caution Chemical Sign |  | Spa Clock |  |
| No Smoking Sign (Chem. Room) |  | Spa Rules |  |
| Depth Markings |  | Diving Rules |  |
| Entrance(s) Secure |  | Cliff Jumps < 15’ |  |
| Floats and Fixed Platforms Permitted with LHA Approval |  | Equipment for continuous disinfect all types pool water and meet N.J.A.C. 8:26-3.22 |  |
| Diving stands, boards, ladders, stairs, all equipment maintained |  | Pool chemicals stored, handled and used per manufacturer's instructions |  |
| Water slides conform to CPSC and approved by LHA and/or NJDCA |  | Anti-entrapment drain covers installed, all documentation on site |  |
| Rope drops, cliff jumping, and aquatic play equipment meet N.J.A.C. 5:14A-12 |  | Pool Floor (Clean and Visible) |  |
| Surface area (Pool sq’) |  | Turnover Rate(s) (Pool) |  |
| Volume (Pool) |  | Pump Maximum Flow Rate(Pool) |  |
| Codes: X-Compliant P-Pending N/A-Not Applicable |
| EQUIPMENT |
| Facility Phone |  | Vacuum Equipment |  |
| Guard (Uniform/Whistle) |  | Skimmer Net |  |
| DPD Test Kit |  | # of Returns |  |
| First Aid Kit |  | Sight glass |  |
| Rescue Tube(s)/LG |  | Entrapment Issues |  |
| Backboard |  | Spa Requirements |  |
| Straps |  | Wading Pool Requirements |  |
| Head Immobilizer |  | Circulation System |  |
| Shepherd Hooks |  | Flow Meters |  |
| Reaching Poles/Assist |  | Continual Disinfection Device |  |
| Safety Rope and Floats |  | Secure Fencing |  |
| Ring Buoys |  | Self Close/Self Latching Gates |  |
| Thermometer |  | Diving Boards |  |
| Goggles and Gloves |  | Water Clarity |  |
| Emergency numbers posted |  | Lifeguard platforms or stands |  |
| Paddle Rescue Device |  | Emergency care room (500+) |  |
| GENERAL SANITATION AND MAINTENANCE |
| Bathrooms (Cleaned and Stocked) |  | Only unbreakable mirrors provided |  |
| Separate BR facilities (each sex) |  | Sanitary sewage and filter backwash waters handled properly |  |
| Sanitary facilities maintained and constructed of impervious materials |  | Solid waste stored in watertight containers with tight-fitting lids |  |
| Floors have slip-resistant surface |  | Potable water supply source and of safe and sanitary quality |  |
| Suitable receptacles provided for paper towels and waste materials |  | All buildings rodent and insect proofed |  |
| Soap dispenser provided, hot and cold water |  | Premises maintained to prevent the breeding and harborage of vermin |  |
| CHEMICALS / DISINFECTANTS (POOLS) |
| Free Chlorine (10 ppm max) |  | pH (7.2 – 7.8) |  |
| Total Chlorine (ppm) |  | Total Alkalinity (60 – 180 ppm) |  |
| Combined Chlorine (< .2) |  | Calcium Hardness (ppm) |  |
| Other Disinfectant |  | Cyanuric Acid (10 - 100ppm) Outdoor |  |
| Codes: X-Compliant P-Pending N/A-Not Applicable |
| SUPERVISION |
| Operations supervised by an adult |  | Aquatics Facility plan executed |  |
| Standard first aid and Pro CPR |  | All lifeguards identifiable |  |
| Pools have TPO,TPO onsite weekly |  | Lifeguards equipped with a whistle |  |
| Adequate number of Lifeguards |  | Emergency Drills documented |  |
| BATHING WATER QUALITY |
| Pool water approved water source |  | Pool chemistry monitored (2 hrs) |  |
| Water samples collected weekly |  | Deaths/serious injuries reported |  |
| 1st sample failed warning signs |  | 2nd sample failure closure signs |  |
| COMMENTS |
| I verify that the statements made in this form are true and accurate and this Public Recreational Bathing facility meets the requirements of N.J.A.C. 8:26 et seq. I understand that all the information provided, if falsified, can be used against me in court, by the authorities. |
| Signature of Owner/TPO | Title or Position |