Checklist for Safety

Throughout the Residence

| Living Room/Family Room | Check | Comment |
| --- | --- | --- |
| There are no ashtrays on chairs or sofa arms |  |  |
| There are no unattended cigarettes burning in ashtrays |  |  |
| There are no electrical cords stapled to walls or otherwise pierced |  |  |
| There are no electrical cords run over rugs, over nails or in high traffic areas |  |  |
| There is no furniture resting on electrical cords |  |  |
| The television and stereo are ventilated |  |  |
| Furniture and curtains are placed away from the radiator |  |  |
| The chimney is cleaned yearly |  |  |
| Bedroom | Check | Comment |
| Residents are never permitted to smoke in bed |  |  |
| Extension cords are not running over or under beds, or trapped between the bed and wall |  |  |
| The television and stereo are ventilated |  |  |
| Furniture and curtains are placed away from the radiator |  |  |
| Nightlights are not placed close to the bed |  |  |
| Heat-producing personal care appliances are not placed on the bed |  |  |
| Personal care appliances are unplugged after each use |  |  |

| Kitchen | Check | Comment |
| --- | --- | --- |
| Food is not left unattended on the stove |  |  |
| Large pans are on large burners and small pans are on small burners |  |  |
| Properly fitting lids are used on pots |  |  |
| Pot handles are turned away from the front of the stove |  |  |
| Clothing that can dangle is not worn near burners while cooking |  |  |
| The front burners of the range can be deactivated to prevent fires caused by reaching |  |  |
| The stove or range knobs can be removed at night as a safety feature |  |  |
| Dishtowels are not used as potholders |  |  |
| There is no grease build-up on or in the stove or oven |  |  |
| Greasy broiler pans are not left on or in the oven |  |  |
| The filter in the exhaust hood is clean |  |  |
| Metal or foils are not put in the microwave |  |  |
| Electrical outlets are never overloaded with appliances |  |  |
| Ground Fault Interrupter (GFI) outlets are installed near the sink |  |  |
| Kitchen appliances are unplugged when not being used |  |  |
| Appliance cords are not hanging over the counter when being used |  |  |

| Kitchen (cont.) | Check | Comment |
| --- | --- | --- |
| Electrical cords are not near the sink or stove |  |  |
| Appliances, such as toasters, are unplugged before attempting to remove jammed items |  |  |
| Appliances are in good repair |  |  |
| The kitchen is checked daily to ensure the oven is off, the coffeepot is unplugged |  |  |
| A fully charged fire extinguisher is always readily available |  |  |
| Flammable materials, such as curtains, towels and furniture, are not within 3 feet of the stove |  |  |
| The oven Is never used as a source of heat |  |  |
| Bathroom | Check | Comment |
| Electrical cords are not near the sink or shower |  |  |
| Personal care appliances are unplugged after use |  |  |
| GFI outlets are installed near the sink or shower |  |  |
| The hot water temperature is monitored and kept at or below 120º F. |  |  |
| Laundry Room | Check | Comment |
| Appliances are free from debris |  |  |
| Appliances are in good working order |  |  |
| The lint screen in the clothes dryer is always clean |  |  |
| The clothes dryer exhaust duct is always free from lint |  |  |
| Electrical outlets are not overloaded with appliances |  |  |

| Basement | Check | Comment |
| --- | --- | --- |
| All fuses in the fuse box are the correct size and rating |  |  |
| Stairs are clear of obstructions |  |  |
| The heating unit is properly ventilated |  |  |
| The heating unit is properly serviced |  |  |
| No flammable items are stored near the heating unit |  |  |
| No flammable liquids are stored |  |  |

| Garage/Shed/Porch/Patio | Check | Comment |
| --- | --- | --- |
| Are combustible materials (turpentine, gas, etc.) properly stored |  |  |
| Hazardous materials are in a locked cabinet |  |  |
| Storage allows for adequate ventilation |  |  |
| If this is your smoking area, no combustible materials are present |  |  |
| When barbecuing, the burners are at a safe distance from the house and combustibles |  |  |
| The barbecue fire is never left unattended |  |  |
| The barbecue grill has a bucket of sand nearby |  |  |

| Electrical Safety | Check | Comment |
| --- | --- | --- |
| Are flammable liquids stored near ignition sources |  |  |
| Are electrical appliances and wiring routinely checked |  |  |
| Are electrical cords frayed or cracked |  |  |
| Is electrical tape used on any electrical cords |  |  |
| Are all electrical cords UL approved |  |  |
| Are electrical cords under rugs, over nails or in high traffic areas |  |  |
| Are all the fuses in the fuse box the correct size and rating |  |  |
| Do fuses frequently blow |  |  |
| Do all outlets have cover plates and no exposed wiring |  |  |
| Do all outlets work |  |  |
| Are any light switches hot to touch |  |  |
| Do any lights flicker |  |  |
| Is light bulb wattage the correct size for each fixture |  |  |

| General Safety | Check | Comment |
| --- | --- | --- |
| Carbon monoxide detectors are installed in the hallway of every sleeping area |  |  |
| Smoke detectors are on every level |  |  |
| Smoke detectors are placed near the bedrooms |  |  |
| Smoke detectors are free of dust |  |  |
| No decorations are hanging from the smoke detectors or sprinkler heads |  |  |
| Smoke detectors’ batteries are tested monthly |  |  |
| Smoke detectors’ batteries are replaced once a year or as necessary |  |  |
| Doors, hallways and stairs are always clear of obstructions |  |  |
| General Safety (cont.) | Check | Comment |
| All fire extinguishers are within easy reach |  |  |
| All fire extinguishers are fully charged |  |  |
| All staff are trained on how to properly use a fire extinguisher |  |  |
| The emergency evacuation plan is located in the residence |  |  |
| All staff have been trained in the emergency evacuation plan |  |  |
| Emergency numbers are posted near each telephone |  |  |
| Working flashlights are always available |  |  |

INSTRUCTIONS

After the checklist has been completed, review those boxes where no checkmarks were placed.  These represent potential fire and safety hazards that need to be immediately corrected.