E2 Reporting System

XML Transmission Protocol

Version:  1.0.0

Revised:  February 28, 2006

# Table of Contents

Table of Contents	2

1	E2 Reporting System	4

1.1	Introduction	4

1.2	How to Use This Document	4

1.3	System Contact	5

2	Data Requirements for Safe Drinking Water – Laboratory Reports	6

2.1	Generic Chemical Form	6

2.1.1	Data Elements	6

2.1.2	Mapping to eDWR XML Schema v2.0	10

2.1.3	Validation	16

2.1.4	Permitted Values	19

2.2	Generic Coliform Form	22

2.2.1	Data Elements	22

2.2.2	Mapping to the eDWR XML Schema v2.0	25

2.2.3	Validation	31

2.2.4	Permitted Values	34

3	Data Requirements for Safe Drinking Water – Water System Reports	37

3.1	Annual Water Utilization Form	37

3.1.1	Data Elements	37

3.1.2	Mapping to eDWR XML Schema v2.0	40

3.1.3	Validation	45

4	Data Requirements for New Jersey Quantitation Limit	49

4.1	NJQL Form	49

4.1.1	Data Elements	49

4.1.2	Mapping to eDWR XML Schema v2.0	51

4.1.3	Validation	58

5	Data Requirements for Private Well Testing	63

6	Appendix A: eDWR XML Schema v2.0	64

7	Appendix B: Generic Chemical Form Templates	65

7.1	XML Instance File	65

7.2	MS Excel File	67

8	Appendix C: Generic Coliform Form Templates	68

8.1	XML Instance File	68

8.2	MS Excel File	70

9	Appendix D: Annual Water Utilization Form Templates	71

9.1	XML Instance File	71

9.2	MS Excel File	84

10	Appendix E: NJQL Form Example Reporting Requirements	85

10.1	XML Instance File	85

10.2	MS Excel File	88

# E2 Reporting System

## Introduction

The New Jersey Electronic Environmental reporting system (E2) is a web-based information system that allows the regulated community to electronically submit reports to the Department of Environmental Protection (NJDEP).

The E2 system provides an alternative to submitting hand-written or paper-based reports that is faster, more efficient, and requires less processing for laboratories and the NJDEP.  As a fully operational electronic reporting system, all of the necessary legal, security, and electronic signature functionalities have been included to serve as a completely paperless reporting system.

Currently, the E2 system allows laboratories to submit three major categories of reports:

- Electronic Drinking Water Reports (DWR)

- Electronic New Jersey Quantitation Limit (NJQL) reports

- Electronic Private Well Testing Act (PWTA) Reports

In addition, the E2 system allows water systems to submit the following report:

- Submit the Annual Water Utilization report

Electronic data submission is required for the NJQL and PWTA program.  However the Bureau of Safe Drinking Water has not made all forms available for electronic submission.  Therefore, a laboratory may need to submit Drinking Water data electronically for some reports and use paper for other reports.  Similarly, a laboratory may choose to submit Drinking Water data electronically for some clients and use paper for other clients.

## How to Use This Document

This document outlines the requirements for laboratory and water system data submissions to E2. Drinking Water, PWTA, and NJQL data submission are all dUsers must be able to access NJDEP’s E2 website through the Internet.  Typically, such access is available either through a dedicated connection (i.e.: local area network) or a modem connection to an Internet Service Provider.

To ensure that all of the features of the Department’s E2 system are available, a user must use Microsoft Internet Explorer web browser (version 6.0 or greater) and Adobe Reader (version 5.0 or greater).  The performance of the E2 system will vary based on the computer’s internet connection speed, CPU, Operating System, and available memory.  NJDEP recommends the following system configuration:

- Broadband Internet Connection or higher

- Pentium II processor or higher

- Microsoft Windows 2000 or higher

- 256 MB of RAM or higher

## System Contact

The E2 Coordinators can be reached at:

| DWR | NJQL | PWTA |
| --- | --- | --- |
| E2 Coordinator Bureau of Safe Drinking Water New Jersey DEP DWRHelp@dep.state.nj.us Phone: (609) 292 - 5550 | E2 Coordinator Office of Quality Assurance New Jersey DEP NJQLHelp@dep.state.nj.us Phone: (609) 292 - 3950 | E2 Coordinator Private Well Testing Program New Jersey DEP PWTAHelp@dep.state.nj.us Phone: (609) 292-5550 |

# Data Requirements for Safe Drinking Water – Laboratory Reports

The Safe Drinking Water program has two laboratory report forms available through E2:

- Generic Chemical Form: used for reporting chemical and radiological sample / results

- Generic Coliform Form: used for reporting microbiological and coliform sample / results

The data requirements for each form are detailed in the following sections.

## Generic Chemical Form

The Generic Chemical Form allows laboratories to report data for many different chemical analytes spanning multiple samples and water systems.  This form can be used in place of the following NJDEP Safe Drinking Water paper forms:

| NJDEP Paper Form ID | NJDEP Paper Form Name |
| --- | --- |
| WSE-014; DWR-BSDW- | Asbestos |
| BSDW-28 | HAA5 |
| DS-192 BSDW-05 | Inorganic |
| DWR-085 DWR-BSDW-06 | Iron and Manganese |
| WTP-301 WSE-BSDW-12 | Lead |
| WTP-302 WSE-BSDW-12 | Copper |
| WSE 009 WSE-BSDW-14 | Nitrate |
| new | Radiological |
| DWR-193 BSDW-05 | Secondary |
| DWR-191 DWR-BSDW-04 | Pesticides, Herbicides and Other Organics |
| BSDW-27 | Total Trihalomethanes (THM) |
| DWR-085 DWR-BSDW-02-A | Volatile Organic Compound 524.2 |
| DWR-085 DWR-BSDW-02-A | Volatile Organic Compound 502.2 |
| WTP-303 | Water Quality |

### Data Elements

A listing of the data elements used on this form appears below.  For each data element a description is provided as well as whether the field is populated by E2 or the user.

|  |  |  |  | Populated by |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ID | Field Name | Description | Web Form Entry | Copy / Paste | XML Upload |
| Header | 1 | Form Identifier | State assigned form identifier to uniquely identify Report Type at a particular state (NOTE: For Generic Chemical this field is "LAB_GC") | E2 | E2 | user |
|  | 2 | Laboratory Name | Name of the laboratory submitting the results through E2 | E2 | E2 | user |
|  | 3 | Laboratory Certification Number | The Lab Certification Number assigned to the Laboratory by NJDEP Office of Quality Assurance (OQA) | E2 | E2 | user |
| Sample | 4 | Lab Sample Number | A unique identifier assigned or used by the laboratory that will ensure that each received sample will allow the sample to be linked with the applicable result | user | user | user |
|  | 5 | PWS ID Number | The Public Water System (PWS) identification number | user | user | user |
|  | 6 | Replacement Indicator | Indicates whether the sample is a replacement | user | user | user |
|  | 7 | Water Facility State Code | Public Water System Facility Identification number | user | user | user |
|  | 8 | Sample Point ID | The text describing the unique name, number, or code assigned to identify the Sample station/location | user | user | user |
|  | 9 | Compliance Sample? | Indicates whether the sample is taken for compliance | user | user | user |
|  | 10 | Sample Collection Date | The calendar date when the sample was collected | user | user | user |
|  | 11 | Sample Collection Time | The local time when the sample was collected | user | user | user |
|  | 12 | Sample Type | Indicates whether the sample is taken for “Routine” purposes or is a “Repeat,” “Confirmation,” etc. Several types are available although not all may be used with samples taken for compliance. | user | user | user |
|  | 13 | Pb/Cu Location Type | Type of Lead & Copper sample (for purposes of Lead & Copper rule) | user | user | user |
|  | 14 | Repeat Location Code | Not used on the Generic Chemical Form |  |  |  |
|  | 15 | Lab Receipt Date Sample | The calendar date when the sample was received at the laboratory | user | user | user |
|  | 16 | Original Lab Sample Number | Identifies the original sample that this sample replaces or is a repeat for | user | user | user |
|  | 17 | Street Address Location | Alphanumeric that typically identifies a sample point as an address or equivalent text description | user | user | user |
|  | 18 | Sample Category | Identifies the sample category as either Total Coliform/Lead & Copper/Chemical etc. (NOTE: This field is populated based on the analyte code / code context) | E2 | E2 | user |
|  | 19 | Record ID | Unique identifier for the record within the submission (NOTE: This field is used in the error report to aid in locating records with errors) | E2 | E2 | user |
| Result | 20 | Analyte Code | Analyte code assigned by the agency | user | user | user |
|  | 21 | Analyte Code Context | Identification of code system used for analyte code | user | user | user |
|  | 22 | Analyte Name | The name of the analyte specified by the analyte code / code context | E2 | E2 | user |
|  | 23 | Analysis Completion Date | The calendar date when the analysis was finished | user | user | user |
|  | 24 | Analysis Completion Time | The local time when the analysis was finished | user | user | user |
|  | 25 | Data Quality | Code indicating whether or not the analytical result meets established data quality criteria | user | user | user |
|  | 26 | Data Quality Reason | Code representing the possible reason that the result may not meet data quality standards | user | user | user |
|  | 27 | Analysis Method Code | Number or code that indicates the type of method used | user | user | user |
|  | 28 | Less Than Indicator | When set to “Y,” indicates that the analytical result is less than either the Lab Reporting Level (supplied by the lab) or the federal minimum detection limit. Typically set to “Y” for a non-detect result. (NOTE: For Web Form Entry and Copy / Paste the user will enter a "<" if the value is less than the MDL and E2 will translate to a "Y") | user | user | user |
|  | 29 | Concentration | If a detect, this is the concentration value of the result reported as a number (NOTE: For Web form entry and copy / paste this field is used to report the detection level of non-detects when the Less Than Indicator is '<') | user | user | user |
|  | 30 | Concentration Unit Code | If a detect, this is the unit of measure associated with concentration (NOTE: For Web form entry and copy / paste this field is used to report the detection level unit code of non-detects when the Less Than Indicator is '<') | user | user | user |
|  | 31 | Reported Measure Count Error | The counting error estimated by the lab due to some analytical anomaly - Usually expressed as a value plus/minus the reported measure/unit of measure. | user | user | user |
|  | 32 | Less Than Code | One of a list of client, regulation, or organization defined acronyms and/or statistic methodologies that specify the type of detection limit (NOTE: NJDEP requires the MDL to be reported) | E2 | E2 | user |
|  | 33 | Detection Level | If non-detect, the constituent concentration that, when processed through the complete method, produces a signal that is statistically different from a blank | E2 | E2 | user |
|  | 34 | Detection Level Unit Code | If non-detect, the Unit of Measure of the constituent concentration that, when processed through the complete method, produces a signal that is statistically different from a blank | E2 | E2 | user |
|  | 35 | Lab Comments | Not used on the Generic Chemical Form |  |  |  |
|  | 36 | Microbe Presence Indicator | Not used on the Generic Chemical Form |  |  |  |
|  | 37 | Test Type | Not used on the Generic Chemical Form |  |  |  |
|  | 38 | Count | Not used on the Generic Chemical Form |  |  |  |
|  | 39 | Count Type | Not used on the Generic Chemical Form |  |  |  |
|  | 40 | Count Units | Not used on the Generic Chemical Form |  |  |  |
|  | 41 | Accepted Date | The calendar date the State Agency was notified of the result of an analysis | E2 | E2 | user |
| Footer | 42 | Certifier Name | Identifies the certifier of the submission | user | user | user |
|  | 43 | Certifier Title Text | Title of the individual certifying the submission | user | user | user |
|  | 44 | Certifier phone number | Telephone number of the individual certifying the submission | user | user | user |
|  | 45 | Certification Date | Calendar date the submission was certified | user | user | user |
|  | 46 | General Report Comments | Comments pertaining to the report / submission (NOTE: the comments will not be transferred to the NJDEP SDWIS/State database) | user | user | user |

### Mapping to eDWR XML Schema v2.0

The data elements listed above will be reported in an XML file compliant with the eDWR XML Schema v2.0.  The data elements are mapped to the eDWR XML Schema v2.0 in the table below.  In addition, a template XML Instance document is provided in Appendix B.

|  |  |  | Mapping |
| --- | --- | --- | --- |
|  | ID | Field Name | eDWR Schema v2.0 |
| Header | 1 | Form Identifier | <eDWR> <EN:Submission> <EN:LabReport> <EN:ReportIdentification> <EN:FormIdentifier> |
|  | 2 | Laboratory Name | <eDWR> <EN:Submission> <EN:LabReport> <EN:LabIdentification> <EN:LabName> |
|  | 3 | Laboratory Certification Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:LabIdentification> <EN:LabStateIdentifier> |
| Sample | 4 | Lab Sample Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:LabSampleIdentifier> |
|  | 5 | PWS ID Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:PWSIdentifier> |
|  | 6 | Replacement Indicator | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:AdditionalSampleIndicator> |
|  | 7 | Water Facility State Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:PWSFacilityIdentifier> |
|  | 8 | Sample Point ID | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleLocationIdentification> <EN:SampleLocationIdentifier> |
|  | 9 | Compliance Sample? | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:ComplianceSampleIndicator> |
|  | 10 | Sample Collection Date | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleCollectionStartDate> |
|  | 11 | Sample Collection Time | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleCollectionStartTime> |
|  | 12 | Sample Type | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleMonitoringTypeCode> |
|  | 13 | Pb/Cu Location Type | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleCollectionTypeCode> |
|  | 14 | Repeat Location Code | Not used on the Generic Chemical Form |
|  | 15 | Lab Receipt Date Sample | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleLaboratoryReciptDate> |
|  | 16 | Original Lab Sample Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:OriginalSampleIdentifier> |
|  | 17 | Street Address Location | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleLocationIdentification> <EN:SampleLocationName> |
|  | 18 | Sample Category | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleRuleCode> |
|  | 19 | Record ID | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleComments> <EN:Comments> |
| Result | 20 | Analyte Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteCode> |
|  | 21 | Analyte Code Context | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteCodeContext> |
|  | 22 | Analyte Name | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteName> |
|  | 23 | Analysis Completion Date | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:AnalysisEndDate> |
|  | 24 | Analysis Completion Time | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:AnalysisEndTime> |
|  | 25 | Data Quality | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCSummary> <EN:DataQualityCode> |
|  | 26 | Data Quality Reason | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCSummary> <EN:DataQualityRejectCode> |
|  | 27 | Analysis Method Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:SampleAnalyticalMethod> <EN:MethodIdentifier> |
|  | 28 | Less Than Indicator | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:DetectionLevelIndicator> |
|  | 29 | Concentration | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:Result> <EN:MeasurementValue> |
|  | 30 | Concentration Unit Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:Result> <EN:MeasurementUnit> |
|  | 31 | Reported Measure Count Error | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:RadiologicalResultCountError> |
|  | 32 | Less Than Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:DetectionLimitTypeCode> |
|  | 33 | Detection Level | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:DetectionLimit> <EN:MeasurementValue> |
|  | 34 | Detection Level Unit Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:DetectionLimit> <EN:MeasurementUnit> |
|  | 35 | Lab Comments | Not used on the Generic Chemical Form |
|  | 36 | Microbe Presence Indicator | Not used on the Generic Chemical Form |
|  | 37 | Test Type | Not used on the Generic Chemical Form |
|  | 38 | Count | Not used on the Generic Chemical Form |
|  | 39 | Count Type | Not used on the Generic Chemical Form |
|  | 40 | Count Units | Not used on the Generic Chemical Form |
|  | 41 | Accepted Date | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:ResultStateNotificationDate> |
| Footer | 42 | Certifier Name | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierName> |
|  | 43 | Certifier Title Text | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierTitleText> |
|  | 44 | Certifier phone number | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierContactInformation> <facid:TelephoneNumber> |
|  | 45 | Certification Date | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertificationDate> |
|  | 46 | General Report Comments | <eDWR> <EN:Submission> <EN:LabReport> <EN:ReportIdentification> <EN:FormCommentText> |

### Validation

Validation will be preformed in a two stage process.  First, before a submission can be made to E2, the submission must pass schema validation against the eDWR XML Schema v2.0.  Second, the submission will be validated against detailed business logic checks to ensure the data can be imported to NJDEPs drinking water database (SDWIS/State).  A listing of the validation for each data element is provided below:

|  | ID | Field Name | Validation |
| --- | --- | --- | --- |
| Header | 1 | Form Identifier | 1. Required 2. Must be LAB_GC |
|  | 2 | Laboratory Name | 1. Required 2. Must be the name of the lab specified by the "Lab Certification Number" |
|  | 3 | Laboratory Certification Number | 1. Required 2. Must be a lab certification number that is active in E2 |
| Sample | 4 | Lab Sample Number | 1. Required 2. Field must not exceed 20 characters in length 3. Must be unique: cannot use the same Lab Sample Number for the same Laboratory Certification Number and Collection Year |
|  | 5 | PWS ID Number | 1. Required 2. Field must not exceed 11 characters in length 3. Must be a valid PWS ID Number 4. Lab must be authorized to submit for the Water System |
|  | 6 | Replacement Indicator | 1. Optional 2. Must be in the permitted values list |
|  | 7 | Water Facility State Code | 1. Required 2. Field must not exceed 12 characters in length 3. Must be a valid Water Facility State Code 4. Must belong the water system specified in "PWS ID Number" field |
|  | 8 | Sample Point ID | 1. Required 2. Must not exceed 11 characters in length 3. Must be a valid Sample Point ID 4. Must belong to the "Water Facility State Code" and "PWS ID Number" specified |
|  | 9 | Compliance Sample? | 1. Required 2. Must be in the permitted values list |
|  | 10 | Sample Collection Date | 1. Required 2. Must be a valid calendar date 3. Cannot be greater than the current date |
|  | 11 | Sample Collection Time | 1. Optional 2. Must be a valid time |
|  | 12 | Sample Type | 1. Required 2. Must be in the permitted values list |
|  | 13 | Pb/Cu Location Type | 1. Required if analyte is analyte reported is lead or copper 2. Must be in the permitted values list |
|  | 14 | Repeat Location Code | Not used on the Generic Chemical Form |
|  | 15 | Lab Receipt Date Sample | 1. Optional 2. Must be a valid calendar date 3. Must be on or after the sample collection date |
|  | 16 | Original Lab Sample Number | 1. Required if analyte reported is Nitrate or Nitrite and Sample Type is "Confirmatory" or "Repeat" 2. Must not exceed 20 characters |
|  | 17 | Street Address Location | 1. Required if analyte reported is Lead or Copper 2. Must not exceed 20 characters in length |
|  | 18 | Sample Category | 1. Required 2. Must be in the permitted values list 3. Must be the appropriate value based on the analyte reported |
|  | 19 | Record ID | 1. Required 2. Must be an integer |
| Result | 20 | Analyte Code | 1. Required 2. Must be a valid analyte code 3. Must be a valid analyte code - analyte code context 4. Must be able to be submitted using the selected form |
|  | 21 | Analyte Code Context | 1. Required 2. Must be in the permitted values list 3. Must be a valid analyte code - analyte code context |
|  | 22 | Analyte Name | 1. Optional 2. Must be the exact analyte name for the analyte reported |
|  | 23 | Analysis Completion Date | 1. Required 2. Must be a valid calendar date 3. Must be on or after the Sample Collection Date |
|  | 24 | Analysis Completion Time | 1. Optional 2. Must be a valid time |
|  | 25 | Data Quality | 1. Required 2. Must be in the permitted values list |
|  | 26 | Data Quality Reason | 1. Required if "Data Quality" is Rejected 2. Must be in the permitted values list |
|  | 27 | Analysis Method Code | 1. Optional 2. Field must not exceed 12 characters in length 3. Must be a valid SDWIS/State Analysis method code 4. Must be a valid method for the analyte reported |
|  | 28 | Less Than Indicator | 1. Required if Data Quality is Accepted 2. Must be in the permitted values list |
|  | 29 | Concentration | 1. Required if "Data Quality" is Accepted and "Less Than Indicator" is set to No 2. Must be numeric 3. Must not exceed 14 characters in length |
|  | 30 | Concentration Unit Code | 1. Required if "Data Quality" is Accepted and "Less Than Indicator" is set to No 2. Must be in the permitted values list |
|  | 31 | Reported Measure Count Error | 1. Optional 2. Must be numeric 3. Must not exceed 9 characters in length |
|  | 32 | Less Than Code | 1. Required if "Data Quality" is Accepted and "Less Than Indicator" is set to Yes 2. Must be MRL |
|  | 33 | Detection Level | 1. Required if "Data Quality" is Accepted and "Less Than Indicator" is set to Yes 2. Must be numeric 3. Must not exceed 16 characters in length |
|  | 34 | Detection Level Unit Code | 1. Required if "Data Quality" is Accepted and "Less Than Indicator" is set to Yes 2. Must be in the permitted values list |
|  | 35 | Lab Comments | Not used on the Generic Chemical Form |
|  | 36 | Microbe Presence Indicator | Not used on the Generic Chemical Form |
|  | 37 | Test Type | Not used on the Generic Chemical Form |
|  | 38 | Count | Not used on the Generic Chemical Form |
|  | 39 | Count Type | Not used on the Generic Chemical Form |
|  | 40 | Count Units | Not used on the Generic Chemical Form |
|  | 41 | Accepted Date | 1. Optional 2. Must be a valid calendar date |
| Footer | 42 | Certifier Name | 1. Required |
|  | 43 | Certifier Title Text | 1. Required |
|  | 44 | Certifier phone number | 1. Required 2. Must be NNN-NNN-NNNN format |
|  | 45 | Certification Date | 1. Required 2. Must be a valid calendar date |
|  | 46 | General Report Comments | 1. Optional |

### Permitted Values

The table below lists the permitted values for each data element which has a permitted value list.

| ID | Field Name | Permitted Value | Web Form Drop-Down Value | Description |
| --- | --- | --- | --- | --- |
| 6 | Replacement Indicator | Y | Yes | Yes |
|  |  | N | No | No |
| 9 | Compliance Sample? | Y | Yes | Yes |
|  |  | N | No | No |
| 12 | Sample Type | RT | Routine | Routine |
|  |  | CO | Confirmation | Confirmation |
|  |  | RP | Repeat | Repeat |
|  |  | SP | Special | Special |
|  |  | DU | Duplicate | Duplicate |
|  |  | SL | Split | Split |
|  |  | SB | Shipping Blank | Shipping Blank |
|  |  | FB | Field Blank | Field Blank |
|  |  | BB | Batch Blank | Batch Blank |
|  |  | ST | Split Blank | Split Blank |
|  |  | PE | Performance Evaluation | Performance Evaluation |
|  |  | MR | Max Residence Time | Max Residence Time |
| 13 | Pb/Cu Location Type | ATS | At Source | At Source |
|  |  | FLS | Flushed | Flushed |
|  |  | FSD | First Draw | First Draw |
|  |  | LSL | Lead Service Line | Lead Service Line |
| 18 | Sample Category | CH | Not on Web Form | Chemicals |
|  |  | GE | Not on Web Form | General Samples |
|  |  | MB | Not on Web Form | Microbiological |
|  |  | PB | Not on Web Form | Lead and Copper |
|  |  | PP | Not on Web Form | Water Quality (Physical Parameters) |
|  |  | RA | Not on Web Form | Radionuclides |
|  |  | TC | Not on Web Form | Total Coliform |
| 25 | Data Quality | A | Accepted | Accepted |
|  |  | R | Rejected | Rejected |
| 26 | Data Quality Reason | IF | Instrument Failure | Instrument Failure |
|  |  | LC | Lab Not Certified | Lab Not Certified |
|  |  | LE | Lab Error | Lab Error |
|  |  | OT | Other | Other |
|  |  | RC | Requestor Cancelled | Requestor Cancelled |
|  |  | WR | Water System Rejected | Water System Rejected |
| 28 | Less Than Indicator | Y | < | Yes |
|  |  | N |  | No |
| 30 | Concentration Unit Code | %LUM | %LUM | Percent of Luminance (for measuring color) |
|  |  | %PUR | %PUR | Percent of Purity (for measuring color) |
|  |  | ADMIU | ADMIU | American Dye Manufacturers Institute Units (for measuring color) |
|  |  | AGGR | AGGR | Aggressive Index |
|  |  | C | C | Degrees Celsius |
|  |  | CM-1 | CM-1 | Total Absorbance for UV |
|  |  | CT | CT | Contact Time |
|  |  | CU | CU | Color Units |
|  |  | F | F | Degrees Fahrenheit |
|  |  | FTU | FTU | Flavor Threshold Units (for measuring taste and odor) |
|  |  | LANG | LANG | Langlier Index (for measuring corrosivity) |
|  |  | LBS/CFT | LBS/CFT | Pounds/Cubic Foot (for measuring density) |
|  |  | LBS/GAL | LBS/GAL | Pounds/Gallon (for measuring density) |
|  |  | MFL | MFL | Million of Fibers/Liter (for measuring asbestos) |
|  |  | MG/L | MG/L | Milligrams/Liter (AKA Parts per Million - ppm) |
|  |  | MREM | MREM | Millirems/Liter |
|  |  | MREMY | MREMY | Millirems/Liter/Year |
|  |  | NG/L | NG/L | Nanograms/Liter (AKA Parts per Trillion - ppt) |
|  |  | NMT | NMT | Nanometers (to measure color wave length) |
|  |  | NTU | NTU | Nephlometric Turbidity Units |
|  |  | OBSVNS | OBSVNS | Observations/Field at 100 power |
|  |  | PH | PH | PH Measure (parts hydrogen (pH 0 - 14)) |
|  |  | PIC/L | PIC/L | Picocuries/Liter |
|  |  | SU | SU | Standard Units (for measuring color) |
|  |  | TON | TON | Threshold Odor Number (for odor) |
|  |  | UG/L | UG/L | Micrograms/Liter (AKA Parts per Billion - ppb) |
|  |  | UMHOS/CM | UMHOS/CM | Microhos/Centimeter (for measuring conductivity) |
| 32 | Less Than Code | MDL | Not on Web Form | Federal Minimum Detection Limit |
|  |  | MRL | Not on Web Form | Lab Reporting Level |
| 34 | Detection Level Unit Code | CM-1 | Not on Web Form | Total Absorbance for UV |
|  |  | CT | Not on Web Form | Contact Time |
|  |  | LBS/CFT | Not on Web Form | Pounds/Cubic Foot (for measuring density) |
|  |  | LBS/GAL | Not on Web Form | Pounds/Gallon (for measuring density) |
|  |  | MFL | Not on Web Form | Million of Fibers/Liter (for measuring asbestos) |
|  |  | MG/L | Not on Web Form | Milligrams/Liter (AKA Parts per Million - ppm) |
|  |  | MREM | Not on Web Form | Millirems/Liter |
|  |  | MREMY | Not on Web Form | Millirems/Liter/Year |
|  |  | NG/L | Not on Web Form | Nanograms/Liter (AKA Parts per Trillion - ppt) |
|  |  | NTU | Not on Web Form | Nephlometric Turbidity Units |
|  |  | PIC/L | Not on Web Form | Picocuries/Liter |
|  |  | UG/L | Not on Web Form | Micrograms/Liter (AKA Parts per Billion - ppb) |

## Generic Coliform Form

The Generic Coliform Form allows laboratories to report data for many different microbiological / coliform analytes spanning multiple samples and water systems.  This form can be used in place of the following NJDEP Safe Drinking Water paper forms:

| NJDEP Paper Form ID | NJDEP Paper Form Name |
| --- | --- |
| DWR-201 DWR-BSDW-08 | Coliform (monthly) |
| DWR-201 DWR-BSDW-09 | Coliform (repeat samples) |
| DWR-203 DWR-BSDW-10 | Coliform (quarterly) |

### Data Elements

A listing of the data elements used on this form appears below.  For each data element a description is provided as well as whether the field is populated by E2 or the user.

|  |  |  |  | Populated by |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ID | Field Name | Description | Web Form Entry | Copy / Paste | XML Upload |
| Header | 1 | Form Identifier | State assigned form identifier to uniquely identify Report Type at a particular state (NOTE: For Generic Coliform this field is "LAB_COLIFORM") | E2 | E2 | user |
|  | 2 | Laboratory Name | Name of the laboratory submitting the results through E2 | E2 | E2 | user |
|  | 3 | Laboratory Certification Number | The Lab Certification Number assigned to the Laboratory by NJDEP Office of Quality Assurance (OQA) | E2 | E2 | user |
| Sample | 4 | Lab Sample Number | A unique identifier assigned or used by the laboratory that will ensure that each received sample will allow the sample to be linked with the applicable result | user | user | user |
|  | 5 | PWS ID Number | The Public Water System (PWS) identification number | user | user | user |
|  | 6 | Replacement Indicator | Indicates whether the sample is a replacement | user | user | user |
|  | 7 | Water Facility State Code | Public Water System Facility Identification number | user | user | user |
|  | 8 | Sample Point ID | The text describing the unique name, number, or code assigned to identify the Sample station/location | user | user | user |
|  | 9 | Compliance Sample? | Indicates whether the sample is taken for compliance | user | user | user |
|  | 10 | Sample Collection Date | The calendar date when the sample was collected | user | user | user |
|  | 11 | Sample Collection Time | The local time when the sample was collected | user | user | user |
|  | 12 | Sample Type | Indicates whether the sample is taken for “Routine” purposes or is a “Repeat,” “Confirmation,” etc. Several types are available although not all may be used with samples taken for compliance. | user | user | user |
|  | 13 | Pb/Cu Location Type | Not used on the Generic Coliform Form |  |  |  |
|  | 14 | Repeat Location Code | Indicates the location relative to the original Sample point at which the repeat/invalid or replacement/confirmation sample was taken | user | user | user |
|  | 15 | Lab Receipt Date Sample | The calendar date when the sample was received at the laboratory | user | user | user |
|  | 16 | Original Lab Sample Number | Identifies the original sample that this sample replaces or is a repeat for | user | user | user |
|  | 17 | Street Address Location | Alphanumeric that typically identifies a sample point as an address or equivalent text description | user | user | user |
|  | 18 | Sample Category | Identifies the sample category as either Total Coliform/Lead & Copper/Chemical etc. (NOTE: This field is populated based on the analyte code / code context) | E2 | E2 | user |
|  | 19 | Record ID | Unique identifier for the record within the submission (NOTE: This field is used in the error report to aid in locating records with errors) | E2 | E2 | user |
| Result | 20 | Analyte Code | Analyte code assigned by the agency | user | user | user |
|  | 21 | Analyte Code Context | Identification of code system used for analyte code | user | user | user |
|  | 22 | Analyte Name | The name of the analyte specified by the analyte code / code context | E2 | E2 | user |
|  | 23 | Analysis Completion Date | The calendar date when the analysis was finished | user | user | user |
|  | 24 | Analysis Completion Time | The local time when the analysis was finished | user | user | user |
|  | 25 | Data Quality | Code indicating whether or not the analytical result meets established data quality criteria | user | user | user |
|  | 26 | Data Quality Reason | Code representing the possible reason that the result may not meet data quality standards | user | user | user |
|  | 27 | Analysis Method Code | Number or code that indicates the type of method used | user | user | user |
|  | 28 | Less Than Indicator | Not used on the Generic Coliform Form |  |  |  |
|  | 29 | Concentration | Not used on the Generic Coliform Form |  |  |  |
|  | 30 | Concentration Unit Code | Not used on the Generic Coliform Form |  |  |  |
|  | 31 | Reported Measure Count Error | Not used on the Generic Coliform Form |  |  |  |
|  | 32 | Less Than Code | Not used on the Generic Coliform Form |  |  |  |
|  | 33 | Detection Level | Not used on the Generic Coliform Form |  |  |  |
|  | 34 | Detection Level Unit Code | Not used on the Generic Coliform Form |  |  |  |
|  | 35 | Lab Comments | Possible lab comments (i.e. Too numerous to count/Turbid Culture No Gas) that may cause the microbiological result to be rejected | user | user | user |
|  | 36 | Microbe Presence Indicator | Presence/Absence indicator - P indicates that the microbiological result is positive while A indicates a negative result. | user | user | user |
|  | 37 | Test Type | Designates the result as either “presumptive” or “confirmed.” | user | user | user |
|  | 38 | Count | Value greater than 0 indicates a positive microbiological result. | user | user | user |
|  | 39 | Count Type | Type of microbiological unit that is being counted per specified count unit. Count type varies with the microbiological organism where count is being recorded. | user | user | user |
|  | 40 | Count Units | The units of measure associated with the microbiological analytical result count. | user | user | user |
|  | 41 | Accepted Date | The calendar date the State Agency was notified of the result of an analysis | E2 | E2 | user |
| Footer | 42 | Certifier Name | Identifies the certifier of the submission | user | user | user |
|  | 43 | Certifier Title Text | Title of the individual certifying the submission | user | user | user |
|  | 44 | Certifier phone number | Telephone number of the individual certifying the submission | user | user | user |
|  | 45 | Certification Date | Calendar date the submission was certified | user | user | user |
|  | 46 | General Report Comments | Comments pertaining to the report / submission (NOTE: the comments will not be transferred to the NJDEP SDWIS/State database) | user | user | user |

### Mapping to the eDWR XML Schema v2.0

The data elements listed above will be reported in an XML file compliant with the eDWR XML Schema v2.0.  The data elements are mapped to the eDWR XML Schema v2.0 in the table below.  In addition, a template XML Instance document is provided in Appendix C.

|  |  |  | Mapping |
| --- | --- | --- | --- |
|  | ID | Field Name | eDWR Schema v2.0 |
| Header | 1 | Form Identifier | <eDWR> <EN:Submission> <EN:LabReport> <EN:ReportIdentification> <EN:FormIdentifier> |
|  | 2 | Laboratory Name | <eDWR> <EN:Submission> <EN:LabReport> <EN:LabIdentification> <EN:LabName> |
|  | 3 | Laboratory Certification Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:LabIdentification> <EN:LabStateIdentifier> |
| Sample | 4 | Lab Sample Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:LabSampleIdentifier> |
|  | 5 | PWS ID Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:PWSIdentifier> |
|  | 6 | Replacement Indicator | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:AdditionalSampleIndicator> |
|  | 7 | Water Facility State Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:PWSFacilityIdentifier> |
|  | 8 | Sample Point ID | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleLocationIdentification> <EN:SampleLocationIdentifier> |
|  | 9 | Compliance Sample? | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:ComplianceSampleIndicator> |
|  | 10 | Sample Collection Date | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleCollectionStartDate> |
|  | 11 | Sample Collection Time | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleCollectionStartTime> |
|  | 12 | Sample Type | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleMonitoringTypeCode> |
|  | 13 | Pb/Cu Location Type | Not used on the Generic Coliform Form |
|  | 14 | Repeat Location Code | <EN:eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleLocationIdentification> <EN:SampleRepeatLocationCode> |
|  | 15 | Lab Receipt Date Sample | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleLaboratoryReciptDate> |
|  | 16 | Original Lab Sample Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:OriginalSampleIdentifier> |
|  | 17 | Street Address Location | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleLocationIdentification> <EN:SampleLocationName> |
|  | 18 | Sample Category | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleRuleCode> |
|  | 19 | Record ID | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleComments> <EN:Comments> |
| Result | 20 | Analyte Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteCode> |
|  | 21 | Analyte Code Context | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteCodeContext> |
|  | 22 | Analyte Name | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteName> |
|  | 23 | Analysis Completion Date | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:AnalysisEndDate> |
|  | 24 | Analysis Completion Time | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:AnalysisEndTime> |
|  | 25 | Data Quality | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCSummary> <EN:DataQualityCode> |
|  | 26 | Data Quality Reason | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCSummary> <EN:DataQualityRejectCode> |
|  | 27 | Analysis Method Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:SampleAnalyticalMethod> <EN:MethodIdentifier> |
|  | 28 | Less Than Indicator | Not used on the Generic Coliform Form |
|  | 29 | Concentration | Not used on the Generic Coliform Form |
|  | 30 | Concentration Unit Code | Not used on the Generic Coliform Form |
|  | 31 | Reported Measure Count Error | Not used on the Generic Coliform Form |
|  | 32 | Less Than Code | Not used on the Generic Coliform Form |
|  | 33 | Detection Level | Not used on the Generic Coliform Form |
|  | 34 | Detection Level Unit Code | Not used on the Generic Coliform Form |
|  | 35 | Lab Comments | <EN:eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SampleInterferenceReasonCode> |
|  | 36 | Microbe Presence Indicator | <EN:eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:Result> <EN:MeasurementQualifier> |
|  | 37 | Test Type | <EN:eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:TestResultTypeCode> |
|  | 38 | Count | <EN:eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:Result> <EN:MeasurementValue> |
|  | 39 | Count Type | <EN:eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:Result> <EN:MicrobialResultCountTypeCode> |
|  | 40 | Count Units | <EN:eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:Result> <EN:MeasurementUnits> |
|  | 41 | Accepted Date | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:ResultStateNotificationDate> |
| Footer | 42 | Certifier Name | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierName> |
|  | 43 | Certifier Title Text | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierTitleText> |
|  | 44 | Certifier phone number | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierContactInformation> <facid:TelephoneNumber> |
|  | 45 | Certification Date | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertificationDate> |
|  | 46 | General Report Comments | <eDWR> <EN:Submission> <EN:LabReport> <EN:ReportIdentification> <EN:FormCommentText> |

### Validation

Validation will be preformed in a two stage process.  First, before a submission can be made to E2, the submission must pass schema validation against the eDWR XML Schema v2.0.  Second, the submission will be validated against detailed business logic checks to ensure the data can be imported to NJDEPs drinking water database (SDWIS/State).  A listing of the validation for each data element is provided below:

|  | ID | Field Name | Validation |
| --- | --- | --- | --- |
| Header | 1 | Form Identifier | 1. Required 2. Must be LAB_COLIFORM |
|  | 2 | Laboratory Name | 1. Required 2. Must be the name of the lab specified by the "Lab Certification Number" |
|  | 3 | Laboratory Certification Number | 1. Required 2. Must be a lab certification number that is active in E2 |
| Sample | 4 | Lab Sample Number | 1. Required 2. Field must not exceed 20 characters in length 3. Must be unique: cannot use the same Lab Sample Number for the same Laboratory Certification Number and Collection Year |
|  | 5 | PWS ID Number | 1. Required 2. Field must not exceed 11 characters in length 3. Must be a valid PWS ID Number 4. Lab must be authorized to submit for the Water System |
|  | 6 | Replacement Indicator | 1. Optional 2. Must be in the permitted values list |
|  | 7 | Water Facility State Code | 1. Required 2. Field must not exceed 12 characters in length 3. Must be a valid Water Facility State Code 4. Must belong the water system specified in "PWS ID Number" field |
|  | 8 | Sample Point ID | 1. Required 2. Must not exceed 11 characters in length 3. Must be a valid Sample Point ID 4. Must belong to the "Water Facility State Code" and "PWS ID Number" specified |
|  | 9 | Compliance Sample? | 1. Required 2. Must be in the permitted values list |
|  | 10 | Sample Collection Date | 1. Required 2. Must be a valid calendar date 3. Cannot be greater than the current date |
|  | 11 | Sample Collection Time | 1. Optional 2. Must be a valid time |
|  | 12 | Sample Type | 1. Required 2. Must be in the permitted values list |
|  | 13 | Pb/Cu Location Type | Not used on the Generic Coliform Form |
|  | 14 | Repeat Location Code | 1. Required if "Sample Type" is Repeat 2. Must be in the permitted values list |
|  | 15 | Lab Receipt Date Sample | 1. Optional 2. Must be a valid calendar date 3. Must be on or after the sample collection date |
|  | 16 | Original Lab Sample Number | 1. Required if "Sample Type" is Repeat or "Replacement Indictor" is Yes 2. Must not exceed 20 characters in length |
|  | 17 | Street Address Location | 1. Optional 2. Must not exceed 20 characters in length |
|  | 18 | Sample Category | 1. Required 2. Must be in the permitted values list 3. Must be the appropriate value based on the analyte reported |
|  | 19 | Record ID | 1. Required 2. Must be an integer |
| Result | 20 | Analyte Code | 1. Required 2. Must be a valid analyte code 3. Must be a valid analyte code - analyte code context 4. Must be able to be submitted using the selected form |
|  | 21 | Analyte Code Context | 1. Required 2. Must be in the permitted values list 3. Must be a valid analyte code - analyte code context |
|  | 22 | Analyte Name | 1. Optional 2. Must be the exact analyte name for the analyte reported |
|  | 23 | Analysis Completion Date | 1. Required 2. Must be a valid calendar date 3. Must be on or after the Sample Collection Date |
|  | 24 | Analysis Completion Time | 1. Optional 2. Must be a valid time |
|  | 25 | Data Quality | 1. Required 2. Must be in the permitted values list |
|  | 26 | Data Quality Reason | 1. Required if "Data Quality" is Rejected 2. Must be in the permitted values list |
|  | 27 | Analysis Method Code | 1. Optional 2. Field must not exceed 12 characters in length 3. Must be a valid SDWIS/State Analysis method code 4. Must be a valid method for the analyte reported |
|  | 28 | Less Than Indicator | Not used on the Generic Coliform Form |
|  | 29 | Concentration | Not used on the Generic Coliform Form |
|  | 30 | Concentration Unit Code | Not used on the Generic Coliform Form |
|  | 31 | Reported Measure Count Error | Not used on the Generic Coliform Form |
|  | 32 | Less Than Code | Not used on the Generic Coliform Form |
|  | 33 | Detection Level | Not used on the Generic Coliform Form |
|  | 34 | Detection Level Unit Code | Not used on the Generic Coliform Form |
|  | 35 | Lab Comments | 1. Optional 2. Must not be populated if "Data Quality" is rejected 2. Must be in the permitted values list |
|  | 36 | Microbe Presence Indicator | 1. Required if Data Quality is Accepted and Lab Comments is not populated 2. Must be in the permitted values list |
|  | 37 | Test Type | 1. Optional 2. Must be in the permitted values list |
|  | 38 | Count | 1. Optional 2. Must not populated if "Microbe Presence Indicator" is A |
|  | 39 | Count Type | 1. Required if "Count" is greater than 0 2. Must be in the permitted values list |
|  | 40 | Count Units | 1. Required if "Count" is greater than 0 2. Must be in the permitted values list |
|  | 41 | Accepted Date | 1. Optional 2. Must be a valid calendar date |
| Footer | 42 | Certifier Name | 1. Required |
|  | 43 | Certifier Title Text | 1. Required |
|  | 44 | Certifier phone number | 1. Required 2. Must be NNN-NNN-NNNN format |
|  | 45 | Certification Date | 1. Required 2. Must be a valid calendar date |
|  | 46 | General Report Comments | 1. Optional |

### Permitted Values

The table below lists the permitted values for each data element which has a permitted value list.

| ID | Field Name | Permitted Value | Web Form Drop-Down Value | Description |
| --- | --- | --- | --- | --- |
| 6 | Replacement Indicator | Y | Yes | Yes |
|  |  | N | No | No |
| 9 | Compliance Sample? | Y | Yes | Yes |
|  |  | N | No | No |
| 12 | Sample Type | RT | Routine | Routine |
|  |  | CO | Confirmation | Confirmation |
|  |  | RP | Repeat | Repeat |
|  |  | SP | Special | Special |
|  |  | DU | Duplicate | Duplicate |
|  |  | SL | Split | Split |
|  |  | SB | Shipping Blank | Shipping Blank |
|  |  | FB | Field Blank | Field Blank |
|  |  | BB | Batch Blank | Batch Blank |
|  |  | ST | Split Blank | Split Blank |
|  |  | PE | Performance Evaluation | Performance Evaluation |
|  |  | MR | Max Residence Time | Max Residence Time |
| 14 | Repeat Location Code | DN | Downstream | Downstream within 5 connections of original sample location |
|  |  | NF | Near First Service Connection | Near First Service Connection |
|  |  | OR | Original Site | Original Site |
|  |  | OT | Other | Other |
|  |  | UP | Upstream | Upstream within 5 connections of original sample location |
| 18 | Sample Category | CH | Not on Web Form | Chemicals |
|  |  | GE | Not on Web Form | General Samples |
|  |  | MB | Not on Web Form | Microbiological |
|  |  | PB | Not on Web Form | Lead and Copper |
|  |  | PP | Not on Web Form | Water Quality (Physical Parameters) |
|  |  | RA | Not on Web Form | Radionuclides |
|  |  | TC | Not on Web Form | Total Coliform |
| 25 | Data Quality | A | Accepted | Accepted |
|  |  | R | Rejected | Rejected |
| 26 | Data Quality Reason | IF | Instrument Failure | Instrument Failure |
|  |  | LC | Lab Not Certified | Lab Not Certified |
|  |  | LE | Lab Error | Lab Error |
|  |  | OT | Other | Other |
|  |  | RC | Requestor Cancelled | Requestor Cancelled |
|  |  | WR | Water System Rejected | Water System Rejected |
| 35 | Lab Comments | CNFG | Confluent Growth | Confluent Growth |
|  |  | TCNG | Turbid Culture No Gas | Turbid Culture No Gas |
|  |  | TNTC | Too Numerous to Count | Too Numerous to Count |
| 36 | Microbe Presence Indicator | A | Absence | Absence |
|  |  | P | Presence | Presence |
| 37 | Test Type | C | Confirmed | Confirmed |
|  |  | P | Presumptive | Presumptive |
| 39 | Count Type | CFU | Colony Forming Units | Colony Forming Units/Milliliter |
|  |  | COLONIES | Colonies | Colonies/100 Milliliters |
|  |  | CYSTSC | Cysts Calculated | Cysts Calculated (GL) |
|  |  | CYSTSO | Cysts Observed | Cysts Observed (GL) |
|  |  | MPN | Most Probable Number | Most Probable Number/100 Milliliters |
|  |  | OBSVNS | Observations | Observations |
|  |  | OCYSTSC | Oocysts Calculated | Oocysts Calculated (CRY) |
|  |  | OCYSTSO | Oocysts Observed | Oocysts Observed (CRY) |
|  |  | PFU | Plaque Forming Units | Plaque Forming Units/Milliliter |
|  |  | TUBES | Tubes | Tubes/100 Milliliter |
| 40 | Count Units | 100GAL | 100 Gallons | 100 Gallons |
|  |  | 100L | 100 Liters | 100 Liters |
|  |  | 100ML | 100 Milliliters | 100 Milliliters |
|  |  | 400GAL | 400 Gallons | 400 Gallons |
|  |  | 400ML | 400 Milliliters | 400 Milliliters |
|  |  | FLD100 | Field @ 100 Power | Field at 100 Power (used in measuring numbers of observations) |
|  |  | GAL | Gallons | Gallons |
|  |  | LITER | Liters | Liters |
|  |  | ML | Milliliters | Milliliters |

# Data Requirements for Safe Drinking Water – Water System Reports

The Safe Drinking Water program has one water system report form available through E2:

- Annual Water Utilization Form

The data requirements for the form are detailed in the following sections.

## Annual Water Utilization Form

The Annual Water Utilization Form allows water systems to report data for annual water utilization for the system.  This form can be used in place of the following NJDEP Safe Drinking Water paper forms:

| NJDEP Paper Form ID | NJDEP Paper Form Name |
| --- | --- |
| BSDW-31 | Annual Water Utilization Report |

### Data Elements

A listing of the data elements used on this form appears below.  For each data element a description is provided as well as whether the field is populated by E2 or the user.

|  |  |  |  | Populated By |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ID | Field Name | Description | Web Form Entry | Copy / Paste | XML Upload |
| Header | 1 | Form Identifier | State assigned form identifier to uniquely identify Report Type at a particular state (NOTE: For Annual Water Utilization this field is "WS_UTILIZATION") | E2 | E2 | user |
|  | 2 | Water System Name | The name of the water system | E2 | E2 | user |
|  | 3 | PWS ID Number | The Public Water System (PWS) identification number | E2 | E2 | user |
|  | 4 | Year | The Year for which the water utilization data applies | user | user | user |
| Quarterly Data | 5 | Reporting Period Start Date | The Start Date for the water utilization reporting period | E2 | E2 | user |
|  | 6 | Reporting Period End Date | The End Date for the water utilization reporting period | E2 | E2 | user |
|  | 7 | Amount diverted from own surface & ground water sources | The measurement value for the amount of water diverted from own surface & ground water sources | user | user | user |
|  | 8 | Amount entering the distribution system from own sources | The measurement value for the amount of water entering the distribution system from own sources | user | user | user |
|  | 9 | Amount purchased from other water purveyors | The measurement value for the amount of water purchased from other water purveyors | user | user | user |
|  | 10 | Total amount entering the distribution system | The measurement value for the total amount of water entering the distribtion system | E2 | E2 | user |
|  | 11 | Total accountable amount used at metered connections (excl bulk sales) | The measurement value for the total accountable amount of water used at metered connections excluding bulk sales | user | user | user |
|  | 12 | Total amount of bulk sales to other water purveyors | The measurement value for the total amount of bulk sales to other water purveyors | user | user | user |
|  | 13 | Total amount used from recorded sources | The measurement value for the total amount of water used from recorded sources | E2 | E2 | user |
|  | 14 | Total amount of unaccounted water | The measurement value for the total amount of unaccounted water | E2 | E2 | user |
|  | 15 | Number of Metered connections | The measurement value for the number of metered connections | user | user | user |
|  | 16 | Number of Un-Metered connections | The measurement value for the number of un-metered connections | user | user | user |
|  | 17 | Total estimated amount used at un-metered connections | The measurement value for the total estimated amount of water used at un-metered connections | user | user | user |
|  | 18 | Total length of Distribution System water mains | The measurement value of the total length of distribution system water mains | user | user | user |
|  | 19 | Unaccounted Water Percentage of total supply | The measurement value for the unaccounted water percentage of total supply | E2 | E2 | user |
|  | 20 | Unaccounted Water per mile of water main | The measurement value for the unaccounted water per mile of water main | E2 | E2 | user |
| Summary Data | 21 | Amount diverted from own surface & ground water sources | The measurement value for the amount of water diverted from own surface & ground water sources | E2 | E2 | user |
|  | 22 | Amount entering the distribution system from own sources | The measurement value for the amount of water entering the distribution system from own sources | E2 | E2 | user |
|  | 23 | Amount purchased from other water purveyors | The measurement value for the amount of water purchased from other water purveyors | E2 | E2 | user |
|  | 24 | Total amount entering the distribution system | The measurement value for the total amount of water entering the distribtion system | E2 | E2 | user |
|  | 25 | Total accountable amount used at metered connections (excl bulk sales) | The measurement value for the total accountable amount of water used at metered connections excluding bulk sales | E2 | E2 | user |
|  | 26 | Total amount of bulk sales to other water purveyors | The measurement value for the total amount of bulk sales to other water purveyors | E2 | E2 | user |
|  | 27 | Total amount used from recorded sources | The measurement value for the total amount of water used from recorded sources | E2 | E2 | user |
|  | 28 | Total amount of unaccounted water | The measurement value for the total amount of unaccounted water | E2 | E2 | user |
|  | 29 | Total estimated amount used at un-metered connections | The measurement value for the total estimated amount of water used at un-metered connections | E2 | E2 | user |
|  | 30 | Unaccounted Water Percentage of total supply | The measurement value for the unaccounted water percentage of total supply | E2 | E2 | user |
|  | 31 | Unaccounted Water per mile of water main | The measurement value for the unaccounted water per mile of water main | E2 | E2 | user |
| Footer | 32 | Certifier Title | Title of the individual certifying the submission | user | user | user |
|  | 33 | Certifier Name | Identifies the certifier of the submission | user | user | user |
|  | 34 | Certifier phone number | Telephone number of the individual certifying the submission | user | user | user |
|  | 35 | Certification Date | Calendar date the submission was certified | user | user | user |
|  | 36 | Excessive Water Loss explanation | An explanation of excessive water loss | user | user | user |

### Mapping to eDWR XML Schema v2.0

The data elements listed above will be reported in an XML file compliant with the eDWR XML Schema v2.0.  The data elements are mapped to the eDWR XML Schema v2.0 in the table below.  In addition, a template XML Instance document is provided in Appendix D.

|  |  |  | Mapping |  |
| --- | --- | --- | --- | --- |
|  | ID | Field Name | eDWR Schema v2.0 | Notes |
| Header | 1 | Form Identifier | <EN:eDWR> <EN:Submission> <EN:WaterUtilizationReport> <EN:ReportIdentification> <EN:FormIdentifier> |  |
|  | 2 | Water System Name | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <EN:SystemName> |  |
|  | 3 | PWS ID Number | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <EN:PWSIdentifier> |  |
|  | 4 | Year | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportYear> |  |
| Quarterly Data | 5 | Reporting Period Start Date | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <EN:ReportStartDate> |  |
|  | 6 | Reporting Period End Date | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <EN:ReportEndDate> |  |
|  | 7 | Amount diverted from own surface & ground water sources | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 1 |
|  | 8 | Amount entering the distribution system from own sources | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 2 |
|  | 9 | Amount purchased from other water purveyors | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 3 |
|  | 10 | Total amount entering the distribution system | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 4 |
|  | 11 | Total accountable amount used at metered connections (excl bulk sales) | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 5 |
|  | 12 | Total amount of bulk sales to other water purveyors | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 6 |
|  | 13 | Total amount used from recorded sources | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 7 |
|  | 14 | Total amount of unaccounted water | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 8 |
|  | 15 | Number of Metered connections | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 9 |
|  | 16 | Number of Un-Metered connections | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 10 |
|  | 17 | Total estimated amount used at un-metered connections | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 11 |
|  | 18 | Total length of Distribution System water mains | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 12 |
|  | 19 | Unaccounted Water Percentage of total supply | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 13 |
|  | 20 | Unaccounted Water per mile of water main | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportDetail> <NJ:MonitoringData> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 14 |
| Summary Data | 21 | Amount diverted from own surface & ground water sources | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 1 |
|  | 22 | Amount entering the distribution system from own sources | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 2 |
|  | 23 | Amount purchased from other water purveyors | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 3 |
|  | 24 | Total amount entering the distribution system | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 4 |
|  | 25 | Total accountable amount used at metered connections (excl bulk sales) | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 5 |
|  | 26 | Total amount of bulk sales to other water purveyors | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 6 |
|  | 27 | Total amount used from recorded sources | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 7 |
|  | 28 | Total amount of unaccounted water | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 8 |
|  | 29 | Total estimated amount used at un-metered connections | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 11 |
|  | 30 | Unaccounted Water Percentage of total supply | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 13 |
|  | 31 | Unaccounted Water per mile of water main | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportSummary> <NJ:MonitoringDataSummary> <EN:ResultVale> <EN:MeasurementValue> | Where ../../EN:AnalyteIdenification/EN:DisplaySequenceNumeric = 14 |
| Footer | 32 | Certifier Title | <EN:eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierTitleText> |  |
|  | 33 | Certifier Name | <EN:eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierName> |  |
|  | 34 | Certifier phone number | <EN:eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierContactInformation> <facid:TelephoneNumber> |  |
|  | 35 | Certification Date | <EN:eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertificationDate> |  |
|  | 36 | Excessive Water Loss explanation | <EN:eDWR> <EN:Submission> <EN:WaterUtlizationReport> <NJ:ReportComments> <EN:Comments> |  |

### Validation

Validation will be preformed in a two stage process.  First, before a submission can be made to E2, the submission must pass schema validation against the eDWR XML Schema v2.0.  Second, the submission will be validated against detailed business logic checks to ensure the data can be imported to NJDEPs database.  A listing of the validation for each data element is provided below:

|  | ID | Field Name | Validation |
| --- | --- | --- | --- |
| Header | 1 | Form Identifier | 1. Required 2. Must be WS_UTILIZATION |
|  | 2 | Water System Name | 1. Required 2. Must be the name of the water system specified by the PWS ID Number |
|  | 3 | PWS ID Number | 1. Required 2. Must be a PWS ID Number that is active in E2 |
|  | 4 | Year | 1. Required 2. Field must not exeed 4 numbers in length 3. Must be either the current year, previous year, or next year |
| Quarterly Data | 5 | Reporting Period Start Date | 1. Required 2. Must be a valid date |
|  | 6 | Reporting Period End Date | 1. Required 2. Must be a valid date 3. Must be after the start date |
|  | 7 | Amount diverted from own surface & ground water sources | 1. Must be numeric, with max 3 decimal places |
|  | 8 | Amount entering the distribution system from own sources | 1. Must be numeric, with max 3 decimal places |
|  | 9 | Amount purchased from other water purveyors | 1. Must be numeric, with max 3 decimal places |
|  | 10 | Total amount entering the distribution system | 1. Must be numeric, with max 3 decimal places |
|  | 11 | Total accountable amount used at metered connections (excl bulk sales) | 1. Must be numeric, with max 3 decimal places |
|  | 12 | Total amount of bulk sales to other water purveyors | 1. Must be numeric, with max 3 decimal places |
|  | 13 | Total amount used from recorded sources | 1. Must be numeric, with max 3 decimal places |
|  | 14 | Total amount of unaccounted water | 1. Must be numeric, with max 3 decimal places |
|  | 15 | Number of Metered connections | 1. Must be an integer |
|  | 16 | Number of Un-Metered connections | 1. Must be an integer |
|  | 17 | Total estimated amount used at un-metered connections | 1. Must be numeric, with max 3 decimal places |
|  | 18 | Total length of Distribution System water mains | 1. Must be numeric, with max 3 decimal places |
|  | 19 | Unaccounted Water Percentage of total supply | 1. Must be numeric, with max 3 decimal places |
|  | 20 | Unaccounted Water per mile of water main | 1. Must be numeric, with max 0 decimal places |
| Summary Data | 21 | Amount diverted from own surface & ground water sources | 1. Must be numeric, with max 3 decimal places |
|  | 22 | Amount entering the distribution system from own sources | 1. Must be numeric, with max 3 decimal places |
|  | 23 | Amount purchased from other water purveyors | 1. Must be numeric, with max 3 decimal places |
|  | 24 | Total amount entering the distribution system | 1. Must be numeric, with max 3 decimal places |
|  | 25 | Total accountable amount used at metered connections (excl bulk sales) | 1. Must be numeric, with max 3 decimal places |
|  | 26 | Total amount of bulk sales to other water purveyors | 1. Must be numeric, with max 3 decimal places |
|  | 27 | Total amount used from recorded sources | 1. Must be numeric, with max 3 decimal places |
|  | 28 | Total amount of unaccounted water | 1. Must be numeric, with max 3 decimal places |
|  | 29 | Total estimated amount used at un-metered connections | 1. Must be numeric, with max 3 decimal places |
|  | 30 | Unaccounted Water Percentage of total supply | 1. Must be numeric, with max 3 decimal places |
|  | 31 | Unaccounted Water per mile of water main | 1. Must be numeric, with max 0 decimal places |
| Footer | 32 | Certifier Title | 1. Required |
|  | 33 | Certifier Name | 1. Required |
|  | 34 | Certifier phone number | 1. Required 2. Must be NNN-NNN-NNNN format |
|  | 35 | Certification Date | 1. Required 2. Must be a valid calendar date |
|  | 36 | Excessive Water Loss explanation | 1. Required if field 30 > = 15% |

# Data Requirements for New Jersey Quantitation Limit

## NJQL Form

The NJQL Form allows laboratories to report data for only the parameter / method / matrix combinations that the laboratory is certified for by the NJDEP.  E2 will generate a Reporting Requirements file based on the laboratories current certification in the New Jersey Environmental Management System (NJEMS).  This Reporting Requirements file will be available for download from the E2 website.

The laboratory must submit the entire file for each submission, even if only one record has been completed.

### Data Elements

A listing of the data elements used on this form appears below.  For each data element a description is provided as well as whether the field is populated by E2 or the user.

|  |  |  |  | Populated by |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ID | Field Name | Description | Web Form Entry | Copy / Paste | XML Upload |
| Header | 1 | Form Identifier | State assigned form identifier to uniquely identify Report Type at a particular state (NOTE: For NJQL this field is "LAB_NJQL") | E2 | E2 | E2 |
|  | 2 | Report Reference Code | A unique identifier assigned by E2 for the specific Reporting Requirements Template | E2 | E2 | E2 |
|  | 3 | Laboratory Name | Name of the laboratory submitting the results through E2 | E2 | E2 | E2 |
|  | 4 | Laboratory Certification Number | The Lab Certification Number assigned to the Laboratory by NJDEP Office of Quality Assurance (OQA) | E2 | E2 | E2 |
| Detail | 5 | Parameter Code | Parameter code assigned by the agency | E2 | E2 | E2 |
|  | 6 | Approved Method | Code that indicates the method used to analyze the sample | E2 | E2 | E2 |
|  | 7 | Parameter Description | The name of the parameter specified by the parameter code | E2 | E2 | E2 |
|  | 8 | CAS Number | The CAS Number of the parameter specified | E2 | E2 | E2 |
|  | 9 | Matrix | Name, code or description of the sample matrix or media | E2 | E2 | E2 |
|  | 10 | Sample Preparation Method | Code that indicates the method used to prepare the sample for analysis | E2 | E2 | E2 |
|  | 11 | MDL Study Month/Year | The month and year when the MDL study was conducted | user | user | user |
|  | 12 | Replicate Spike, R1 | A number that identifies the measurement value obtained from the analysis | user | user | user |
|  | 13 | Replicate Spike, R1 - units | The unit of measure for the Replicate Spike measure | E2 | E2 | E2 |
|  | 14 | Replicate Spike, R2 | A number that identifies the measurement value obtained from the analysis | user | user | user |
|  | 15 | Replicate Spike, R2 - units | The unit of measure for the Replicate Spike measure | E2 | E2 | E2 |
|  | 16 | Replicate Spike, R3 | A number that identifies the measurement value obtained from the analysis | user | user | user |
|  | 17 | Replicate Spike, R3 - units | The unit of measure for the Replicate Spike measure | E2 | E2 | E2 |
|  | 18 | Replicate Spike, R4 | A number that identifies the measurement value obtained from the analysis | user | user | user |
|  | 19 | Replicate Spike, R4 - units | The unit of measure for the Replicate Spike measure | E2 | E2 | E2 |
|  | 20 | Replicate Spike, R5 | A number that identifies the measurement value obtained from the analysis | user | user | user |
|  | 21 | Replicate Spike, R5 - units | The unit of measure for the Replicate Spike measure | E2 | E2 | E2 |
|  | 22 | Replicate Spike, R6 | A number that identifies the measurement value obtained from the analysis | user | user | user |
|  | 23 | Replicate Spike, R6 - units | The unit of measure for the Replicate Spike measure | E2 | E2 | E2 |
|  | 24 | Replicate Spike, R7 | A number that identifies the measurement value obtained from the analysis | user | user | user |
|  | 25 | Replicate Spike, R7 - units | The unit of measure for the Replicate Spike measure | E2 | E2 | E2 |
|  | 26 | Calculated MDL Value | A number that identifies the MDL as calculated based on the provided replicate spikes | E2 | E2 | user |
|  | 27 | Calculated MDL Value Units | The unit of measure for the Calculated MDL Value | E2 | E2 | E2 |
|  | 28 | MDL Spike Value | A number that represents the measurement value obtained from the MDL Spike | user | user | user |
|  | 29 | MDL Spike Value Units | The unit of measure for the MDL Spike Value | E2 | E2 | E2 |
|  | 30 | Lowest Point on Calibration Curve | A number that identifies the measurement value of the Lowest Point on the Calibration Curve | user | user | user |
|  | 31 | Lowest Point on Calibration Curve Units | The unit of measure for the Lowest Point on the Calibration Curve | E2 | E2 | E2 |
|  | 32 | Highest Point on Calibration Curve | A number that identifies the measurement value of the Highest Point on the Calibration Curve | user | user | user |
|  | 33 | Highest Point on Calibration Curve Units | The unit of measure for the Highest Point on the Calibration Curve | E2 | E2 | E2 |
|  | 34 | Laboratory Control Sample (LCS) | A number that identifies the measurement value for the LCS | user | user | user |
|  | 35 | Laboratory Control Sample (LCS) Unit | The unit of measure for the LCS | E2 | E2 | E2 |
|  | 36 | Percent Recovery of LCS | A number that identifies the measurement value for the Percent Recovery of LCS | user | user | user |
| Footer | 37 | Certifier Name | Identifies the certifier of the submission | user | user | user |
|  | 38 | Certifier Title Text | Title of the individual certifying the submission | user | user | user |
|  | 39 | Certifier phone number | Telephone number of the individual certifying the submission | user | user | user |
|  | 40 | Certification Date | Calendar date the submission was certified | user | user | user |
|  | 41 | General Report Comments | Comments pertaining to the report / submission | user | user | user |

### Mapping to eDWR XML Schema v2.0

The data elements listed above will be reported in an XML file compliant with the eDWR XML Schema v2.0.  The data elements are mapped to the eDWR XML Schema v2.0 in the table below.  In addition, an example XML Instance document is provided in Appendix E.

|  |  |  | Mapping |
| --- | --- | --- | --- |
|  | ID | Field Name | eDWR Schema v2.0 |
| Header | 1 | Form Identifier | <eDWR> <EN:Submission> <EN:LabReport> <EN:ReportIdentification> <EN:FormIdentifier> |
|  | 2 | Report Reference Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:ReportIdentification> <EN:ReportReferenceCode> |
|  | 3 | Laboratory Name | <eDWR> <EN:Submission> <EN:LabReport> <EN:LabIdentification> <EN:LabName> |
|  | 4 | Laboratory Certification Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:LabIdentification> <EN:LabStateIdentifier> |
| Detail | 5 | Parameter Code | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteCode> |
|  | 6 | Approved Method | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:SampleAnalyticalMethod> <EN:MethodIdentifier> |
|  | 7 | Parameter Description | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:AnalyteName> |
|  | 8 | CAS Number | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalyteIdentification> <EN:CASRegistryNumber> |
|  | 9 | Matrix | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:AnalysisMatrix> |
|  | 10 | Sample Preparation Method | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:LabAnalysisIdentification> <EN:SamplePreparation> <EN:SamplePreparationMethod> <EN:MethodIdentifier> |
|  | 11 | MDL Study Month/Year | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:SampleIdentification> <EN:SampleCollectionStartDate> |
|  | 12 | Replicate Spike, R1 | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementValue> |
|  | 13 | Replicate Spike, R1 - units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementUnit> |
|  | 14 | Replicate Spike, R2 | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementValue> |
|  | 15 | Replicate Spike, R2 - units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementUnit> |
|  | 16 | Replicate Spike, R3 | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementValue> |
|  | 17 | Replicate Spike, R3 - units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementUnit> |
|  | 18 | Replicate Spike, R4 | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementValue> |
|  | 19 | Replicate Spike, R4 - units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementUnit> |
|  | 20 | Replicate Spike, R5 | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementValue> |
|  | 21 | Replicate Spike, R5 - units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementUnit> |
|  | 22 | Replicate Spike, R6 | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementValue> |
|  | 23 | Replicate Spike, R6 - units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementUnit> |
|  | 24 | Replicate Spike, R7 | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementValue> |
|  | 25 | Replicate Spike, R7 - units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:SpecializedMeasurement> <EN:MeasurementUnit> |
|  | 26 | Calculated MDL Value | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:DetectionLimit> <EN:MeasurementValue> |
|  | 27 | Calculated MDL Value Units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:AnalysisResult> <EN:DetectionLimit> <EN:MeasurementUnit> |
|  | 28 | MDL Spike Value | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <EN:SpikeAmountMeasure> <EN:MeasurementValue> |
|  | 29 | MDL Spike Value Units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <EN:SpikeAmountMeasure> <EN:MeasurementUnit> |
|  | 30 | Lowest Point on Calibration Curve | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <NJ:CalibrationCurveMeasure> <NJ:LowestPoint> <EN:MeasurementValue> |
|  | 31 | Lowest Point on Calibration Curve Units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <NJ:CalibrationCurveMeasure> <NJ:LowestPoint> <EN:MeasurementUnit> |
|  | 32 | Highest Point on Calibration Curve | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <NJ:CalibrationCurveMeasure> <NJ:HighestPoint> <EN:MeasurementValue> |
|  | 33 | Highest Point on Calibration Curve Units | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <NJ:CalibrationCurveMeasure> <NJ:HighestPoint> <EN:MeasurementUnit> |
|  | 34 | Laboratory Control Sample (LCS) | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <NJ:LaboratoryControlSampleMeasure> <EN:MeasurementValue> |
|  | 35 | Laboratory Control Sample (LCS) Unit | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <NJ:LaboratoryControlSampleMeasure> <EN:MeasurementUnit> |
|  | 36 | Percent Recovery of LCS | <eDWR> <EN:Submission> <EN:LabReport> <EN:Sample> <EN:AnalysisResultsInformation> <EN:QAQCResult> <NJ:LaboratoryControlSampleMeasure> <NJ:PercentRecovery> |
| Footer | 37 | Certifier Name | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierName> |
|  | 38 | Certifier Title Text | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierTitleText> |
|  | 39 | Certifier phone number | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertifierContactInformation> <facid:TelephoneNumber> |
|  | 40 | Certification Date | <eDWR> <EN:Submission> <EN:SubmissionCertification> <EN:CertificationDate> |
|  | 41 | General Report Comments | <eDWR> <EN:Submission> <EN:LabReport> <EN:ReportIdentification> <EN:FormCommentText> |

### Validation

Validation will be preformed in a two stage process.  First, before a submission can be made to E2, the submission must pass schema validation against the eDWR XML Schema v2.0.  Second, the submission will be validated against detailed business logic checks to ensure the data can be imported to NJEMS.  A listing of the validation for each data element is provided below:

|  | ID | Field Name | Validation |
| --- | --- | --- | --- |
| Header | 1 | Form Identifier | 1. Required 2. Must be LAB_NJQL |
|  | 2 | Report Reference Code | 1. Required 2. Must be the Report Reference Code provided by E2 in the Reporting Requirements File |
|  | 3 | Laboratory Name | 1. Required 2. Must be the name of the lab specified by the "Lab Certification Number" |
|  | 4 | Laboratory Certification Number | 1. Required 2. Must be the lab certification number that is related to the "Report Reference Code" |
| Detail | 5 | Parameter Code | 1. Required 2. Must be identical to the parameter code specified by the "Report Reference Code" |
|  | 6 | Approved Method | 1. Required 2. Must be identical to the approved method specified by the "Report Reference Code" |
|  | 7 | Parameter Description | 1. Required 2. Must be identical to the parameter description specified by the "Report Reference Code" |
|  | 8 | CAS Number | 1. Required 2. Must be identical to the CAS Number specified by the "Report Reference Code" |
|  | 9 | Matrix | 1. Required 2. Must be identical to the matrix specified by the "Report Reference Code" |
|  | 10 | Sample Preparation Method | 1. Optional 2. Must be identical to the sample preparation method specified by the "Report Reference Code" |
|  | 11 | MDL Study Month/Year | 1. Required 2. Must be a valid month: format MM 3. Must be a valid year: format YYYY |
|  | 12 | Replicate Spike, R1 | 1. Required 2. Must be numeric with no more than 3 significant digits |
|  | 13 | Replicate Spike, R1 - units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 14 | Replicate Spike, R2 | 1. Required 2. Must be numeric with no more than 3 significant digits |
|  | 15 | Replicate Spike, R2 - units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 16 | Replicate Spike, R3 | 1. Required2. Must be numeric with no more than 3 significant digits |
|  | 17 | Replicate Spike, R3 - units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 18 | Replicate Spike, R4 | 1. Required 2. Must be numeric with no more than 3 significant digits |
|  | 19 | Replicate Spike, R4 - units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 20 | Replicate Spike, R5 | 1. Required 2. Must be numeric with no more than 3 significant digits |
|  | 21 | Replicate Spike, R5 - units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 22 | Replicate Spike, R6 | 1. Required 2. Must be numeric with no more than 3 significant digits |
|  | 23 | Replicate Spike, R6 - units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 24 | Replicate Spike, R7 | 1. Required 2. Must be numeric with no more than 3 significant digits 3. Calculation Formula: [(Standard Deviation of all 7 replicates) x 3.143 ] |
|  | 25 | Replicate Spike, R7 - units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 26 | Calculated MDL Value | 1. Required 2. Must be numeric with no more than 3 significant digits |
|  | 27 | Calculated MDL Value Units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 28 | MDL Spike Value | 1. Required 2. Must be numeric with no more than 3 significant digits 3. Cannot be more than 10 times the "Calculated MDL Value" 4. Must be less than or equal to 2 times the "Lowest Point on the Calibration Curve" 5. Cannot be less than the "Calculated MDL Value" |
|  | 29 | MDL Spike Value Units | 1. Required2. Must be identical to the units specified by the "Report Reference Code" |
|  | 30 | Lowest Point on Calibration Curve | 1. Required 2. Must be numeric with no more than 3 significant digits 3. Must be less than the "Highest Point on Calibration Curve" |
|  | 31 | Lowest Point on Calibration Curve Units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 32 | Highest Point on Calibration Curve | 1. Required 2. Must be numeric with no more than 3 significant digits 3. Must be greater than the "Lowest Point on Calibration Curve" 4. Must be greater than the "Calculated MDL Value" 5. Must be greater than the MDL Spike Value |
|  | 33 | Highest Point on Calibration Curve Units | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 34 | Laboratory Control Sample (LCS) | 1. Required 2. Must be numeric with no more than 3 significant digits 3. Must be greater than the Lowest Point on Calibration Curve 4. Must be less than the Highest Point on Calibration Curve 5. Must be greater than the Calculated MDL Value |
|  | 35 | Laboratory Control Sample (LCS) Unit | 1. Required 2. Must be identical to the units specified by the "Report Reference Code" |
|  | 36 | Percent Recovery of LCS | 1. Required 2. Must be numeric with no more than 3 significant digits |
| Footer | 37 | Certifier Name | 1. Required |
|  | 38 | Certifier Title Text | 1. Required |
|  | 39 | Certifier phone number | 1. Required 2. Must be NNN-NNN-NNNN format |
|  | 40 | Certification Date | 1. Required 2. Must be a valid calendar date |
|  | 41 | General Report Comments | 1. Optional |

# Data Requirements for Private Well Testing

<OMITTED FROM THIS VERSION>

# Appendix A: eDWR XML Schema v2.0

A zip file containing the eDWR XML Schema 2.0 files can be obtained from NJDEP website at the following location:

Schema url location

The schema is based on the National eDWR XML Schema approved by the State / US EPA Exchange Network.  It has been extended to include additional data elements to support the NJQL form.  To view the documentation for the National eDWR XML Schema please visit:

http://oaspub.epa.gov/emg/portal.navigate?P_LIST_OPTION_CD=XMLCSALL&P_REG_AUTH_IDENTIFIER=1&P_DATA_IDENTIFIER=89550&P_VERSION=2

For more information about the State / US EPA Exchange Network please visit:

http://www.exchangenetwork.net

# Appendix B: Generic Chemical Form Templates

## XML Instance File

<?xml version="1.0" encoding="UTF-8"?>

<EN:eDWR xmlns:EN="urn:us:net:exchangenetwork" xmlns:NJ="urn:us:net:exchangenetwork:NJ" xmlns:facid="http://www.epa.gov/xml" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xsi:schemaLocation="urn:us:net:exchangenetwork https://www9.state.nj.us/edwr.web/config/schema/dwr/v2/EDWR_eDWR_v2.0.xsd">

<EN:MetaData>

<EN:SchemaIdentificationText>e-DWR Schema version 2.0</EN:SchemaIdentificationText>

<EN:SchemaDescriptionText>e-DWR Work Group Schema version 2.0</EN:SchemaDescriptionText>

<EN:SchemaPurposeText>Electronic Drinking Water Report submissions</EN:SchemaPurposeText>

<EN:SchemaVersionIdentifier>2.0</EN:SchemaVersionIdentifier>

<EN:SchemaCreatedByName>Lab to State Drinking Water IPT</EN:SchemaCreatedByName>

<EN:SchemaCreatedDate>2002-04-12</EN:SchemaCreatedDate>

<EN:SchemaLastUpdatedByName>Lab to State Drinking Water IPT</EN:SchemaLastUpdatedByName>

<EN:SchemaLastUpdatedDate>2004-04-02</EN:SchemaLastUpdatedDate>

<EN:SchemaContactText/>

</EN:MetaData>

<EN:Receiver/>

<EN:Sender/>

<EN:Submission EN:submissionID="" EN:submissionFileName="">

<EN:LabReport>

<EN:ReportIdentification>

<EN:ReportTypeCode/>

<EN:FormIdentifier>LAB_GC</EN:FormIdentifier>

<EN:FormCommentText/>

<EN:RevisionIndicator xsi:nil="true"/>

<EN:ReportReferenceCode/>

</EN:ReportIdentification>

<EN:LabIdentification>

<EN:LabStateIdentifier/>

<EN:LabName/>

</EN:LabIdentification>

<EN:Sample>

<EN:SampleIdentification>

<EN:LabSampleIdentifier/>

<EN:PWSIdentifier/>

<EN:PWSFacilityIdentifier/>

<EN:SampleRuleCode/>

<EN:SampleMonitoringTypeCode/>

<EN:SampleCollectionTypeCode/>

<EN:ComplianceSampleIndicator/>

<EN:AdditionalSampleIndicator/>

<EN:OriginalSampleIdentifier/>

<EN:SampleCollectionStartDate/>

<EN:SampleCollectionStartTime/>

<EN:SampleLaboratoryReceiptDate/>

<EN:SampleComments>

<EN:CommentType>Record ID</EN:CommentType>

<EN:Comments/>

</EN:SampleComments>

</EN:SampleIdentification>

<EN:SampleLocationIdentification>

<EN:SampleLocationIdentifier/>

<EN:SampleLocationName/>

<EN:SampleRepeatLocationCode/>

</EN:SampleLocationIdentification>

<EN:AnalysisResultInformation>

<EN:LabAnalysisIdentification>

<EN:LabIdentifier/>

<EN:TestResultTypeCode/>

<EN:SampleAnalyticalMethod>

<EN:MethodIdentifier/>

</EN:SampleAnalyticalMethod>

<EN:AnalysisEndDate/>

<EN:AnalysisEndTime/>

</EN:LabAnalysisIdentification>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName/>

</EN:AnalyteIdentification>

<EN:AnalysisResult>

<EN:Result>

<EN:MeasurementQualifier/>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

<EN:MicrobialResultCountTypeCode/>

</EN:Result>

<EN:DetectionLevelIndicator/>

<EN:DetectionLimitTypeCode/>

<EN:DetectionLimit>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:DetectionLimit>

<EN:ResultStateNotificationDate/>

<EN:SampleInterferenceReasonCode/>

<EN:RadiologicalResultCountError/>

</EN:AnalysisResult>

<EN:QAQCSummary>

<EN:DataQualityCode/>

<EN:DataQualityRejectCode/>

</EN:QAQCSummary>

</EN:AnalysisResultInformation>

</EN:Sample>

</EN:LabReport>

<EN:SubmissionCertification>

<EN:CertificationStatementText>I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for having knowledge of violations.</EN:CertificationStatementText>

<EN:CertifierName/>

<EN:CertifierTitleText/>

<EN:CertifierContactInformation>

<facid:EmailAddressText/>

<facid:TelephoneNumber/>

</EN:CertifierContactInformation>

<EN:CertificationDate/>

</EN:SubmissionCertification>

</EN:Submission>

</EN:eDWR>

## MS Excel File

To access the General Chemical MS Excel file for, please click on the following link:

https://www9.state.nj.us/edwr.web/config/template/dwr/v2/LAB_GC.xls

# Appendix C: Generic Coliform Form Templates

## XML Instance File

<?xml version="1.0" encoding="UTF-8"?>

<EN:eDWR xmlns:EN="urn:us:net:exchangenetwork" xmlns:NJ="urn:us:net:exchangenetwork:NJ" xmlns:facid="http://www.epa.gov/xml" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xsi:schemaLocation="urn:us:net:exchangenetwork https://www9.state.nj.us/edwr.web/config/schema/dwr/v2/EDWR_eDWR_v2.0.xsd">

<EN:MetaData>

<EN:SchemaIdentificationText>e-DWR Schema version 2.0</EN:SchemaIdentificationText>

<EN:SchemaDescriptionText>e-DWR Work Group Schema version 2.0</EN:SchemaDescriptionText>

<EN:SchemaPurposeText>Electronic Drinking Water Report submissions</EN:SchemaPurposeText>

<EN:SchemaVersionIdentifier>2.0</EN:SchemaVersionIdentifier>

<EN:SchemaCreatedByName>Lab to State Drinking Water IPT</EN:SchemaCreatedByName>

<EN:SchemaCreatedDate>2002-04-12</EN:SchemaCreatedDate>

<EN:SchemaLastUpdatedByName>Lab to State Drinking Water IPT</EN:SchemaLastUpdatedByName>

<EN:SchemaLastUpdatedDate>2004-04-02</EN:SchemaLastUpdatedDate>

<EN:SchemaContactText/>

</EN:MetaData>

<EN:Receiver/>

<EN:Sender/>

<EN:Submission EN:submissionID="" EN:submissionFileName="">

<EN:LabReport>

<EN:ReportIdentification>

<EN:ReportTypeCode/>

<EN:FormIdentifier>LAB_COLIFORM</EN:FormIdentifier>

<EN:FormCommentText/>

<EN:RevisionIndicator xsi:nil="true"/>

<EN:ReportReferenceCode/>

</EN:ReportIdentification>

<EN:LabIdentification>

<EN:LabStateIdentifier/>

<EN:LabName/>

</EN:LabIdentification>

<EN:Sample>

<EN:SampleIdentification>

<EN:LabSampleIdentifier/>

<EN:PWSIdentifier/>

<EN:PWSFacilityIdentifier/>

<EN:SampleRuleCode/>

<EN:SampleMonitoringTypeCode/>

<EN:SampleCollectionTypeCode/>

<EN:ComplianceSampleIndicator/>

<EN:AdditionalSampleIndicator/>

<EN:OriginalSampleIdentifier/>

<EN:SampleCollectionStartDate/>

<EN:SampleCollectionStartTime/>

<EN:SampleLaboratoryReceiptDate/>

<EN:SampleComments>

<EN:CommentType>Record ID</EN:CommentType>

<EN:Comments/>

</EN:SampleComments>

</EN:SampleIdentification>

<EN:SampleLocationIdentification>

<EN:SampleLocationIdentifier/>

<EN:SampleRepeatLocationCode/>

</EN:SampleLocationIdentification>

<EN:AnalysisResultInformation>

<EN:LabAnalysisIdentification>

<EN:LabIdentifier/>

<EN:TestResultTypeCode/>

<EN:SampleAnalyticalMethod>

<EN:MethodIdentifier/>

</EN:SampleAnalyticalMethod>

<EN:AnalysisEndDate/>

<EN:AnalysisEndTime/>

</EN:LabAnalysisIdentification>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName/>

</EN:AnalyteIdentification>

<EN:AnalysisResult>

<EN:Result>

<EN:MeasurementQualifier/>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

<EN:MicrobialResultCountTypeCode/>

</EN:Result>

<EN:DetectionLevelIndicator/>

<EN:DetectionLimitTypeCode/>

<EN:DetectionLimit>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:DetectionLimit>

<EN:ResultStateNotificationDate/>

<EN:SampleInterferenceReasonCode/>

<EN:RadiologicalResultCountError/>

</EN:AnalysisResult>

<EN:QAQCSummary>

<EN:DataQualityCode/>

<EN:DataQualityRejectCode/>

</EN:QAQCSummary>

</EN:AnalysisResultInformation>

</EN:Sample>

</EN:LabReport>

<EN:SubmissionCertification>

<EN:CertificationStatementText>I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for having knowledge of violations.</EN:CertificationStatementText>

<EN:CertifierName/>

<EN:CertifierTitleText/>

<EN:CertifierContactInformation>

<facid:EmailAddressText/>

<facid:TelephoneNumber/>

</EN:CertifierContactInformation>

<EN:CertificationDate/>

</EN:SubmissionCertification>

</EN:Submission>

</EN:eDWR>

## MS Excel File

To access the Generic Coliform MS Excel file for, please click on the following link:

https://www9.state.nj.us/edwr.web/config/template/dwr/v2/LAB_COLIFORM.xls

# Appendix D: Annual Water Utilization Form Templates

## XML Instance File

<?xml version="1.0" encoding="UTF-8"?>

<!-- edited with XMLSPY v5 U (http://www.xmlspy.com) by enfoTech Consulting Inc. (enfoTech) -->

<!--Sample XML file generated by XMLSPY v5 U (http://www.xmlspy.com)-->

<EN:eDWR xmlns:EN="urn:us:net:exchangenetwork" xmlns:NJ="urn:us:net:exchangenetwork:NJ" xmlns:facid="http://www.epa.gov/xml" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xsi:schemaLocation="urn:us:net:exchangenetwork https://www9.state.nj.us/edwr.web/config/schema/dwr/v2/EDWR_eDWR_v2.0.xsd">

<EN:MetaData>

<EN:SchemaIdentificationText>e-DWR Schema version 2.0</EN:SchemaIdentificationText>

<EN:SchemaDescriptionText>e-DWR Work Group Schema version 2.0</EN:SchemaDescriptionText>

<EN:SchemaPurposeText>Electronic Drinking Water Report submissions</EN:SchemaPurposeText>

<EN:SchemaVersionIdentifier>2.0</EN:SchemaVersionIdentifier>

<EN:SchemaCreatedByName>Lab to State Drinking Water IPT</EN:SchemaCreatedByName>

<EN:SchemaCreatedDate>2002-04-12</EN:SchemaCreatedDate>

<EN:SchemaLastUpdatedByName>Lab to State Drinking Water IPT</EN:SchemaLastUpdatedByName>

<EN:SchemaLastUpdatedDate>2004-04-02</EN:SchemaLastUpdatedDate>

<EN:SchemaContactText/>

</EN:MetaData>

<EN:Receiver/>

<EN:Sender/>

<EN:Submission>

<NJ:WaterUtilizationReport>

<EN:ReportIdentification>

<EN:FormIdentifier>WS_UTILIZATION</EN:FormIdentifier>

<EN:RevisionIndicator xsi:nil="true"/>

<EN:ReportStartDate xsi:nil="true"/>

<EN:ReportEndDate xsi:nil="true"/>

<EN:ReportFrequencyCode/>

<EN:DueDate xsi:nil="true"/>

<EN:AcceptedDate xsi:nil="true"/>

</EN:ReportIdentification>

<EN:PWSIdentifier/>

<EN:SystemName/>

<NJ:ReportYear/>

<NJ:ReportDetail>

<EN:ReportStartDate>0000-01-01</EN:ReportStartDate>

<EN:ReportEndDate>0000-03-31</EN:ReportEndDate>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount diverted from own surface and groud water sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>1</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount entering the distribution system from own sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>2</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount purchased from other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>3</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount entering the distribution system</EN:AnalyteName>

<EN:DisplaySequenceNumeric>4</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total accountable amount used at metered connections (excl bulk sales)</EN:AnalyteName>

<EN:DisplaySequenceNumeric>5</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of bulk sales to other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>6</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount used from recorded sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>7</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of unaccounted water</EN:AnalyteName>

<EN:DisplaySequenceNumeric>8</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>9</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Un-Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>10</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total estimated amount used at un-metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>11</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total length of Distribution System water mains</EN:AnalyteName>

<EN:DisplaySequenceNumeric>12</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>Miles</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water Percentage of total supply</EN:AnalyteName>

<EN:DisplaySequenceNumeric>13</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>%</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water per mile of water main</EN:AnalyteName>

<EN:DisplaySequenceNumeric>14</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>gal/mile</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

</NJ:ReportDetail>

<NJ:ReportDetail>

<EN:ReportStartDate>0000-04-01</EN:ReportStartDate>

<EN:ReportEndDate>0000-06-30</EN:ReportEndDate>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount diverted from own surface and groud water sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>1</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount entering the distribution system from own sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>2</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount purchased from other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>3</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount entering the distribution system</EN:AnalyteName>

<EN:DisplaySequenceNumeric>4</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total accountable amount used at metered connections (excl bulk sales)</EN:AnalyteName>

<EN:DisplaySequenceNumeric>5</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of bulk sales to other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>6</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount used from recorded sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>7</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of unaccounted water</EN:AnalyteName>

<EN:DisplaySequenceNumeric>8</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>9</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Un-Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>10</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total estimated amount used at un-metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>11</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total length of Distribution System water mains</EN:AnalyteName>

<EN:DisplaySequenceNumeric>12</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>Miles</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water Percentage of total supply</EN:AnalyteName>

<EN:DisplaySequenceNumeric>13</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>%</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water per mile of water main</EN:AnalyteName>

<EN:DisplaySequenceNumeric>14</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>gal/mile</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

</NJ:ReportDetail>

<NJ:ReportDetail>

<EN:ReportStartDate>0000-07-01</EN:ReportStartDate>

<EN:ReportEndDate>0000-09-30</EN:ReportEndDate>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount diverted from own surface and groud water sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>1</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount entering the distribution system from own sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>2</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount purchased from other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>3</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount entering the distribution system</EN:AnalyteName>

<EN:DisplaySequenceNumeric>4</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total accountable amount used at metered connections (excl bulk sales)</EN:AnalyteName>

<EN:DisplaySequenceNumeric>5</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of bulk sales to other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>6</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount used from recorded sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>7</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of unaccounted water</EN:AnalyteName>

<EN:DisplaySequenceNumeric>8</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>9</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Un-Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>10</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total estimated amount used at un-metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>11</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total length of Distribution System water mains</EN:AnalyteName>

<EN:DisplaySequenceNumeric>12</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>Miles</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water Percentage of total supply</EN:AnalyteName>

<EN:DisplaySequenceNumeric>13</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>%</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water per mile of water main</EN:AnalyteName>

<EN:DisplaySequenceNumeric>14</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>gal/mile</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

</NJ:ReportDetail>

<NJ:ReportDetail>

<EN:ReportStartDate>0000-10-01</EN:ReportStartDate>

<EN:ReportEndDate>0000-12-31</EN:ReportEndDate>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount diverted from own surface and groud water sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>1</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount entering the distribution system from own sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>2</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount purchased from other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>3</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount entering the distribution system</EN:AnalyteName>

<EN:DisplaySequenceNumeric>4</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total accountable amount used at metered connections (excl bulk sales)</EN:AnalyteName>

<EN:DisplaySequenceNumeric>5</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of bulk sales to other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>6</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount used from recorded sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>7</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of unaccounted water</EN:AnalyteName>

<EN:DisplaySequenceNumeric>8</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>9</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Number of Un-Metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>10</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit/>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total estimated amount used at un-metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>11</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total length of Distribution System water mains</EN:AnalyteName>

<EN:DisplaySequenceNumeric>12</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>Miles</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water Percentage of total supply</EN:AnalyteName>

<EN:DisplaySequenceNumeric>13</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>%</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

<NJ:MonitoringData>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water per mile of water main</EN:AnalyteName>

<EN:DisplaySequenceNumeric>14</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>gal/mile</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringData>

</NJ:ReportDetail>

<NJ:ReportSummary>

<EN:StatisticalBaseCode>Total</EN:StatisticalBaseCode>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount diverted from own surface and groud water sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>1</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount entering the distribution system from own sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>2</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Amount purchased from other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>3</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount entering the distribution system</EN:AnalyteName>

<EN:DisplaySequenceNumeric>4</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total accountable amount used at metered connections (excl bulk sales)</EN:AnalyteName>

<EN:DisplaySequenceNumeric>5</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of bulk sales to other water purveyors</EN:AnalyteName>

<EN:DisplaySequenceNumeric>6</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount used from recorded sources</EN:AnalyteName>

<EN:DisplaySequenceNumeric>7</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total amount of unaccounted water</EN:AnalyteName>

<EN:DisplaySequenceNumeric>8</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Total estimated amount used at un-metered connections</EN:AnalyteName>

<EN:DisplaySequenceNumeric>11</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>MG</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water Percentage of total supply</EN:AnalyteName>

<EN:DisplaySequenceNumeric>13</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>%</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

<NJ:MonitoringDataSummary>

<EN:AnalyteIdentification>

<EN:AnalyteCode/>

<EN:AnalyteCodeContext/>

<EN:AnalyteName>Unaccounted Water per mile of water main</EN:AnalyteName>

<EN:DisplaySequenceNumeric>14</EN:DisplaySequenceNumeric>

</EN:AnalyteIdentification>

<EN:ResultValue>

<EN:MeasurementValue/>

<EN:MeasurementUnit>gal/mile</EN:MeasurementUnit>

</EN:ResultValue>

</NJ:MonitoringDataSummary>

</NJ:ReportSummary>

<NJ:ReportComments>

<EN:CommentType/>

<EN:Comments/>

</NJ:ReportComments>

<EN:ReportCertification>

<EN:CertificationStatementText/>

<EN:CertifierName/>

<EN:CertifierTitleText/>

<EN:CertifierContactInformation>

<facid:TelephoneNumber/>

</EN:CertifierContactInformation>

<EN:CertificationDate xsi:nil="true"/>

</EN:ReportCertification>

</NJ:WaterUtilizationReport>

<EN:SubmissionCertification>

<EN:CertificationStatementText/>

<EN:CertifierName/>

<EN:CertifierTitleText/>

<EN:CertifierContactInformation>

<facid:TelephoneNumber/>

</EN:CertifierContactInformation>

<EN:CertificationDate/>

</EN:SubmissionCertification>

</EN:Submission>

</EN:eDWR>

## MS Excel File

# Appendix E: NJQL Form Example Reporting Requirements

## XML Instance File

<?xml version="1.0" encoding="UTF-8"?>

<EN:eDWR xsi:schemaLocation="urn:us:net:exchangenetwork" xmlns:EN="urn:us:net:exchangenetwork" xmlns:NJ="urn:us:net:exchangenetwork:NJ" xmlns:facid="http://www.epa.gov/xml" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance">

<EN:MetaData>

<EN:SchemaIdentificationText>e-DWR Schema version 2.0</EN:SchemaIdentificationText>

<EN:SchemaDescriptionText>e-DWR Work Group Schema version 2.0</EN:SchemaDescriptionText>

<EN:SchemaPurposeText>Electronic Drinking Water Report submissions</EN:SchemaPurposeText>

<EN:SchemaVersionIdentifier>2.0</EN:SchemaVersionIdentifier>

<EN:SchemaCreatedByName>Lab to State Drinking Water IPT</EN:SchemaCreatedByName>

<EN:SchemaCreatedDate>2002-04-12</EN:SchemaCreatedDate>

<EN:SchemaLastUpdatedByName>Lab to State Drinking Water IPT</EN:SchemaLastUpdatedByName>

<EN:SchemaLastUpdatedDate>2004-04-02</EN:SchemaLastUpdatedDate>

<EN:SchemaContactText/>

</EN:MetaData>

<EN:Receiver/>

<EN:Sender/>

<EN:Submission EN:submissionID="" EN:submissionFileName="">

<EN:LabReport>

<EN:ReportIdentification>

<EN:ReportTypeCode/>

<EN:FormIdentifier>LAB_NJQL</EN:FormIdentifier>

<EN:FormCommentText/>

<EN:RevisionIndicator xsi:nil="true"/>

<EN:ReportReferenceCode>244</EN:ReportReferenceCode>

</EN:ReportIdentification>

<EN:LabIdentification>

<EN:LabStateIdentifier>99001</EN:LabStateIdentifier>

<EN:LabName>EXAMPLE LAB NAME</EN:LabName>

</EN:LabIdentification>

<EN:Sample>

<EN:SampleIdentification>

<EN:SampleCollectionStartDate/>

<EN:SampleComments>

<EN:CommentType>Record ID</EN:CommentType>

<EN:Comments>1</EN:Comments>

</EN:SampleComments>

</EN:SampleIdentification>

<EN:SampleLocationIdentification/>

<EN:AnalysisResultInformation>

<EN:LabAnalysisIdentification>

<EN:LabIdentifier/>

<EN:SamplePreparation>

<EN:SamplePreparationMethod>

<EN:MethodIdentifier/>

</EN:SamplePreparationMethod>

</EN:SamplePreparation>

<EN:SampleAnalyticalMethod>

<EN:MethodIdentifier>SM 4500-NO3 D</EN:MethodIdentifier>

</EN:SampleAnalyticalMethod>

<EN:AnalysisMatrix>Drinking Water</EN:AnalysisMatrix>

</EN:LabAnalysisIdentification>

<EN:AnalyteIdentification>

<EN:AnalyteCode>SDW02.05000</EN:AnalyteCode>

<EN:AnalyteName>Nitrate</EN:AnalyteName>

<EN:CASRegistryNumber>14797-55-8</EN:CASRegistryNumber>

</EN:AnalyteIdentification>

<EN:AnalysisResult>

<EN:DetectionLimitTypeCode/>

<EN:DetectionLimit>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

</EN:DetectionLimit>

<EN:SpecializedMeasurement>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<EN:SpecializedMeasurementTypeCode>R1</EN:SpecializedMeasurementTypeCode>

</EN:SpecializedMeasurement>

<EN:SpecializedMeasurement>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<EN:SpecializedMeasurementTypeCode>R2</EN:SpecializedMeasurementTypeCode>

</EN:SpecializedMeasurement>

<EN:SpecializedMeasurement>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<EN:SpecializedMeasurementTypeCode>R3</EN:SpecializedMeasurementTypeCode>

</EN:SpecializedMeasurement>

<EN:SpecializedMeasurement>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<EN:SpecializedMeasurementTypeCode>R4</EN:SpecializedMeasurementTypeCode>

</EN:SpecializedMeasurement>

<EN:SpecializedMeasurement>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<EN:SpecializedMeasurementTypeCode>R5</EN:SpecializedMeasurementTypeCode>

</EN:SpecializedMeasurement>

<EN:SpecializedMeasurement>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<EN:SpecializedMeasurementTypeCode>R6</EN:SpecializedMeasurementTypeCode>

</EN:SpecializedMeasurement>

<EN:SpecializedMeasurement>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<EN:SpecializedMeasurementTypeCode>R7</EN:SpecializedMeasurementTypeCode>

</EN:SpecializedMeasurement>

</EN:AnalysisResult>

<EN:QAQCResult>

<EN:SpikeAmountMeasure>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

</EN:SpikeAmountMeasure>

<NJ:CalibrationCurveMeasure>

<NJ:LowestPoint>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

</NJ:LowestPoint>

<NJ:HighestPoint>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

</NJ:HighestPoint>

</NJ:CalibrationCurveMeasure>

<NJ:LaboratoryControlSampleMeasure>

<EN:MeasurementValue/>

<EN:MeasurementUnit>mg/l</EN:MeasurementUnit>

<NJ:PercentRecovery/>

</NJ:LaboratoryControlSampleMeasure>

</EN:QAQCResult>

</EN:AnalysisResultInformation>

</EN:Sample>

</EN:LabReport>

<EN:SubmissionCertification>

<EN:CertificationStatementText>I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for having knowledge of violations.</EN:CertificationStatementText>

<EN:CertifierName/>

<EN:CertifierTitleText/>

<EN:CertifierContactInformation>

<facid:EmailAddressText/>

<facid:TelephoneNumber/>

</EN:CertifierContactInformation>

<EN:CertificationDate/>

</EN:SubmissionCertification>

</EN:Submission>

</EN:eDWR>

## MS Excel File