LOW FLOW SAMPLING

DATA SHEET

SHEET _____ OF _____

| SITE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CONSULTING FIRM: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DATE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | FIELD PERSONNEL: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WEATHER: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MONITOR WELL #: |  |  |  |  |  |  |  |  | WELL DEPTH: |  |  |  |  |  |  |  |  |  |  |  |  | SCREENED/OPEN INTERVAL: |  |  |  |  |  |  |  |  |
| WELL PERMIT #: |  |  |  |  |  |  |  |  | WELL DIAMETER: |  |  |  |  |  |  | Inches |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PID/FID READINGS (ppm): |  |  |  |  |  | BACKGROUND: |  |  |  |  |  |  |  |  |  |  | PUMP INTAKE DEPTH: ________ ft below TOC |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | BENEATH OUTER CAP: |  |  |  |  |  |  |  |  |  |  | DEPTH TO WATER BEFORE PUMP INSTALLATION : ________ ft below TOC |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | BENEATH INNER CAP: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TIME | PURGING |  | SAMPLING | pH (pH units) |  |  |  | SPECIFIC CONDUCTIVITY (mS/cm) |  |  |  | REDOX POTENTIAL (mv) |  |  |  |  |  | DISSOLVED OXYGEN (mg/l) |  |  | TURBIDITY (NTU) |  |  | TEMPERATURE (degrees C) |  |  | PUMPING RATE (ml/min) |  | DEPTH TO WATER (ft below TOC) |  |
|  |  |  |  | READING |  |  | CHANGE* | READING |  | CHANGE* |  | READING |  |  | CHANGE* |  |  | READING | CHANGE* |  | READING |  | CHANGE* | READING | CHANGE* |  |  |  |  |  |
|  |  |  |  |  |  |  | NA |  |  | NA |  |  |  |  | NA |  |  |  | NA |  |  |  | NA |  | NA |  |  |  |  |  |
| COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

*INDICATOR PARAMETERS HAVE STABLIZED WHEN 3 CONSECUTIVE READINGS ARE WITHIN: ± 0.1 for pH; ± 3% for Specific Conductivity and Temperature;

± 10 mv for Redox Potential; and ± 10% for Dissolved Oxygen and Turbidity