TECHNICAL, MANAGERIAL, AND FINANCIAL CAPACITY

Department of Environmental Protection

#### Mail Code 401-04Q

#### Division of Water Supply - Water Supply Operations Element

#### Bureau of Safe Drinking Water

#### 401 E. State Street - P.O. Box 420

#### Trenton, New Jersey 08625-0420

#### Tel #: (609) 292-5550 - Fax #: (609) 292-1654

#### http://www.state.nj.us/dep/watersupply/

BOB MARTIN
Commissioner

CHRIS CHRISTIE
Governor

KIM GUADAGNO
Lt. Governor

NEW PUBLIC NONTRANSIENT NONCOMMUNITY WATER SYSTEM

(N.J.A.C. 7:10-.13.5 and 13.6)

___________________________________________________________________________________________

PWSID#/Name of Nontransient Noncommunity Water System / County

Technical Capacity (N.J.A.C. 7:10-13.5)

1.  System Description (N.J.A.C. 7:10-13.5(a)1)

- Identification of the municipality, area, or facility to be served by the proposed system with the population to be served.

________________________________________________________________________________________

b. 	Description of the nature of the establishment.

________________________________________________________________________________________

c. 	Any interconnections with other systems?  Yes ❒No ❒ If so, please identify all connections.

________________________________________________________________________________________

d.	Average daily water demand (gallons per day) __________________________

e.	Facility Assets (well, storage tank, etc.):

| Asset | Capacity | Cost to Replace |
| --- | --- | --- |

Please enclose a map marking the location of the above assets.

g.	Treatment               N/A

| Treatment Process | Treatment Objective |
| --- | --- |

2.  Source Adequacy

a.	Water Analysis

The following parameters are required to be monitored by a nontransient noncommunity water system prior to operation:

| Parameters | Sampling Frequency | Sample Results | MCL [µg/l or ppb] | Date Analyzed |
| --- | --- | --- | --- | --- |
| - Coliform Bacteria | Quarterly |  | Negative |  |
| - Nitrate and Nitrite | Annually |  | 10,000/1,000 |  |
| - Lead and Copper | Every 6 months |  | 15/1,300 (Action Level) |  |
| - Inorganics | Every 3 years | Please Attach |  |  |
| - Volatile Organic Compounds (VOCs) | Quarterly | Please Attach |  |  |
| - Synthetic Organic Compounds (SOCs) | Quarterly | Please Attach |  |  |
| - Asbestos | Once |  | 7 x 10⁶ fibers/l > 10µm |  |

If a waiver has been obtained for any of the parameters above, please attach.

See enclosed summary of detailed monitoring requirements for a nontransient noncommunity water system.

3.  Evidence of compliance with the State operator certification regulations (N.J.A.C. 7:10-13.5(a)3.)

| Name of Licensed Operator(s) | License Held | License Number |
| --- | --- | --- |

4.  An Operations Plan (N.J.A.C. 7:10-13.5(a)5.)

a.	Please note that an operation& maintenance manual is to be completed in accordance with N.J.A.C. 7:10-13.5(a)5 by the licensed operator.

Managerial Capacity (N.J.A.C. 7:10-13.6(b))

1. Managerial Plan (N.J.A.C. 7:10-13.6(b)2)

a. 	List of key personnel, including board of directors or councils involved in the management or operation of the system and the approved laboratory that conducts required testing and monitoring.

| Name | Job Title | Contact Number |
| --- | --- | --- |

Do any of the above personnel have any training or experience in managing a water system? ________________________________________________________________________________________

- If there are any contracts for management or operation of the water system by persons or agencies other than the system owner, please attach a copy.

Yes, I have attached a copy ❒ No, there are not contracts ❒

- The identity of the system’s legal owner, including name and address.

________________________________________________________________________________________

- The names, titles, and telephone numbers of responsible persons to contact in the event of an emergency.

________________________________________________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Financial Capacity (N.J.A.C. 7:10-13.5(b)3)

- Predicted annual cost for required water analysis:

_____________________________________________________________________________________

- Predicated annual cost for treatment processes done at the facility:

_____________________________________________________________________________________

- Predicted annual cost to employ licensed operator:

_____________________________________________________________________________________

- Predicted annual electrical cost to operate pump:

_____________________________________________________________________________________

- Do you have adequate capital/funds to operate the water facilities?

_____________________________________________________________________________________

I hereby certify that answers provided herein are accurate and reflective of the proposed nontransient noncommunity water system as proposed. I acknowledge that I have read N.J.A.C. 7:10-13.5 & 7:10-13.6: “Demonstration of technical capacity for public non-transient non-community water systems.”

______________________________      ______________________________________      ___________

Printed or Typed Name of Preparer	Signature of Preparer	Date

________________________________

Printed or Typed Name of Affiliation

BSDW-PA 19