**Lead Service Line Identification and Replacement Plan**

SYSTEM NAME

(PWSID NUMBER) NJ#######

|  |
| --- |
| DATE    Date of Plan \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| **1. Plan Certification** |

|  |  |  |  |
| --- | --- | --- | --- |
| ***I have verified and certify the information listed in this Plan is true and accurate to the best of my knowledge and belief:*** | | | |
| Plan Preparer Signature | |  | Date |
| Plan Preparer Name (Print) | |  | Title |
| Supplier of Water Signature | |  | Date |
| Supplier of Water Name (Print) | |  | Title |
| Licensed Operator Signature | |  | Date |
| Licensed Operator Name (Print) | |  | License Number |
|  |

|  |
| --- |
| **2. General Water System Information** |

|  |  |
| --- | --- |
| System Name: | PWSID: |
| Total Number of Service Connections: | |
| Number of Lead Service Lines:  \*Galvanized service lines are considered to be lead service lines and should be included in this total. | |
| Number of Service Lines of Unknown Material: | |
| Number of Service Lines Comprised of Other Materials: | |
| Total Population Served (excluding transient populations): | |

|  |  |
| --- | --- |
| **2a. Contact Information** | |
| System owner contact information: | |
| Name: | Title: |
| Phone: | Email: |
| Licensed operator contact information | |
| Name: | Title: |
| Phone: | Email: |
| License (VSWS, T1, W1, etc.): | License Number: |
| Additional Licensed operator contact information (*if applicable*) | |
| Name: | Title: |
| Phone: | Email: |
| License (VSWS, T1, W1, etc.): | License Number: |
| Plan Preparer contact information | |
| Name: | Title: |
| Phone: | Email: |

Under N.J.S.A. 58:12A-44, a public community water system must create a lead service line replacement plan. The plan must be updated annually or when new information becomes available regarding replacements, identification of lead service lines, or changes in staff. This plan is required to kept on site, and made available for review upon request.

|  |
| --- |
| **3. Responsible Parties** |
| **List names, titles, and details for the following:** |

|  |
| --- |
| 1. Creation and maintenance of the Lead Service Line Replacement Plan: |
| 1. Identification of lead service lines: |
| 1. Maintenance of service line inventory: |
| 1. Construction Oversight: |
| 1. Funding: |
| 1. Public Outreach Coordinator: |
| 1. Maintenance of online inventory updates: |
| 1. Annual resubmission of the Lead Service Line Replacement Plan: |
| 1. Other: |

|  |  |
| --- | --- |
| **4. Service Line Inventory Development and Maintenance** | |
| **Strategy for identifying service lines of unknown materials.**  *Note that all service lines must be identified by 2031, regardless of their composition material.*  Check all applicable boxes of the strategies that your system is using to develop their service line inventory. | |
| **We do not have service lines of unknown material within our water system’s service area** | |
| **Methods of Investigation** | **Completion Date** |
| Review historical and building records |  |
| Review distribution system maps and record drawings |  |
| Field/visual inspection with or without full excavation |  |
| Review sampling results and water quality information |  |
| Sequential monitoring |  |
| Review capital improvement plans and/or master plans for distribution system development |  |
| Review utility records including meter installation records, customer complaint investigations, etc. |  |
| Review documentation which indicates and/or confirms the location of lead service lines: |  |
| Review existing connections |  |
| Review results from service line sampling where lead service lines are suspected to exist, but their presence is not confirmed |  |
| Conduct customer survey |  |
| Review county appraisal district records |  |
| Review county and municipal ordinances |  |
| Records from area plumbers |  |
|  |  |
| Documented interviews of local contractors, developers, and builders |  |
| Other: |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **5. Replacement Schedule Development and Replacement Considerations** | | | | |
| **5a. Methods used to identify the prioritization of lead service line replacements** (use numbers to indicate the level of priority, with “1” being the highest priority) | | | | |
| **We do not have lead service lines within our service area. In the event one or more lead service lines are found in the future, we will prioritize replacement based on the considerations indicated below.** | | | | |
| **Sensitive populations\***  **Proximity to high lead results\***  **Previous partial replacement\***  **Areas that receive a lot of water quality complaints\***  **Overburdened Communities \***  **Licensed childcare centers \***  Areas where there are no service lines of unknown material  Areas where all service lines are of unknown material  Areas where pipe replacements are already being conducted  Previous participation in PbCu sampling  Areas with high density of children  **\*Prioritization consideration should focus on sensitive populations and previously known lead concentrations** | | Age of current water main  Proximity to other known contaminants  Pressure gradient  Road moratoriums  Ownership  LSLs close to interconnections with a wholesaler which utilizes CCT  Areas of source water or treatment changes  Areas where all residents have agreed to participate in the program  Service lines containing lead only on the water system side  Service lines containing lead only on the property-owner side  Predictive modeling results | | |
|  | | | | |
| **5b. Explanation of how the system is prioritizing replacement based on the considerations identified under 5a. above, and how a replacement schedule will be implemented. *Example: The prioritization of the replacements is focused on identifying areas with sensitive populations such as nursing homes and nursery schools. Past sampling events have shown that these areas also have high lead results. By focusing replacement on these areas first, we are addressing the areas where lead contamination has the most adverse impacts on public health.*** | | | | |
|  | | | | |
|  | | | | |
| **5c. Coordination with Property Owners** | | | | |
| What portion of the service line is owned by the water system? | The system owns the entire service line (main to house) | | The system owns a portion of the service line (main to curb) | The system does not own any portion of the service line |
| How will the system conduct public outreach regarding its lead service line replacement program? Provide links to all publicly available materials. | | | | |
| How will the system solicit property owner/customer’s approval to replace lead service lines? | | | | |
| Provide a summary of any applicable legal requirements or other considerations. *E.g., prior to replacing the property-owner portion of a lead service line, a contract between the water system, contractor and property-owner must be signed and executed through the following process.* | | | | |
| In the event of a property owner/customer’s refusal to replace the service line the water system will:  Document the incident using the Department’s Customer Refusal Form located on the Department’s website https://www.nj.gov/dep/lead/resources.html:  Continue to contact the property owner/customer each year for participation and continue to document all outreach efforts.  When applicable, inform the customer the property-owner refused to replace their portion of the lead service line; and therefore, the lead service line in its entirety must remain. | | | | |

|  |
| --- |
|  |
| **5d. Coordination with Municipalities & NJDOT** |
| How will the water system work with local municipalities in our service area and NJDOT to coordinate replacement efforts to minimize costs, impacts on roads, and neighborhood disturbances?  By meeting with municipalities on a  monthly  bi-monthly basis  By participating in public meetings  By attending council meetings  By checking NJDOT website monthly  By developing an outreach program with the municipalities/local authorities  Other. Explain: |
| **5e. Disposal of Lead Service Lines** |
| Water systems should take steps to make sure all lead service lines removed are disposed of properly.  *Check the boxes of the steps your system will take to ensure service lines are properly disposed. The Department recommends the following:*  By ensuring that the contractors remove them to an appropriate facility/scrapyard for disposal  By keeping records of the sale ticket and receipts on file for our records.  Other \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| **5f. Emergency Replacement** |
| What steps will the water system take in the event an emergency replacement is necessary?  By having materials, staff resources, and procedures in place to replace the service line.  Replace the lead service line as part of the emergency repair.  Document the service line materials if they are made known and replace at a later date.  Other ­­­­­­­­­­­­­­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  List sampling and notification procedures that will be implemented during an emergency replacement: |

|  |
| --- |
| **6. Prioritization of Lead Service Line Replacements Map** |
| Identify the following water system components as provided on the Distribution Map (see Appendix) |
| **Included items:** |
| Each area of priority  Delineation of pressure zones # of pressure zones:  Lead service lines  Service lines of unknown material  Areas of replacement  Scheduled year of replacement (phase)  Delineation of areas receiving CCT  Delineation of areas receiving no/different CCT from seasonal EPTDS  Treatment plant(s) |

|  |
| --- |
| **7. Financing** |
| **7a. Lead Service Line Replacement Financing** |
| Will the water system require approval from another agency or governing body prior to beginning replacements (due to budgetary issues):  Yes  No  If yes, explain: |
| List certifications, if any, that will need to be obtained before beginning replacements: |
| **How will replacement be funded?**  Is the water system government-owned?  Yes  No   * If yes, will the property owner be responsible for a portion of the replacement cost?  Yes  No * If yes, what amount?   Does the water system intend to utilize the resources available through the Drinking Water State Revolving Fund (DWSRF)?  Yes  No   * If yes, which funding does the system intend to utilize?   Does the water system serve any municipalities that meet New Jersey’s Affordability Criteria?  Yes  No  **For more information, visit the Department’s Water Infrastructure Investment Plan webpage at:**  <https://www.nj.gov/dep/wiip/index.html> |
| **How will the water system accommodate consumers that are unable to pay to replace the portion of the service line that they own?** |
| **7b. Setting Aside Funds for Mailings and Other Future Costs**  *To ensure that there are adequate funds to cover the cost of lead service line replacement activities, check all that apply:* |
| Securing and setting aside funds on a yearly basis to cover the additional costs of certified mailing associated with each phase of replacement.  Securing and setting aside funds for any outreach costs associated with replacements  Securing and setting aside funds for customer request samples in the event the system triggers an Action Level Exceedance.  Securing and setting aside funds for additional customer request samples for partial replacements if performed. (*Customers may request a partial replacement up to 6 months after the replacement is complete*.)  Making sure that there is adequate funding set aside in the event that additional staffing is needed  Securing and setting aside funds if additional lead service lines are identified and must be replaced |

|  |
| --- |
| **8. Notification Requirements** |
| **Notification Letters**  *We will use NJDEP templates and send letters to consumers for the following notifications:* |
| Public Education Letters |
| Annual notifications of LSLs  Properties with newly identified LSLs will received a certified letter on the template created by the Bureau. |
| Replacement notifications before and after each replacement  Annual notification of unknown service lines-  If applicable, refer to your system’s Lead and Copper Sampling Plan for additional public education and notification requirements in the event of a lead action level exceedance. The information will need to include what your water system is doing regarding your LSLR program. |
| *\*All notification letters must also include a written notification in any language in which greater than 10% of the population served by the water system speaks less than very well.*  *The Department has put together guidance to assist water systems in determining if the people within the municipality(ies) they serve primarily speak a language other than English, which can be found here:* [*https://www.state.nj.us/dep/watersupply/pdf/secondary-language-directions.pdf*](https://www.state.nj.us/dep/watersupply/pdf/secondary-language-directions.pdf)*. If you cannot find information on a specific municipality, the Department recommends that you consult with the municipality(ies) for this information.* |

|  |
| --- |
| **9. Annual Reporting** |
|  |
| For submissions beginning in 2023:   * An updated LSL inventory will be submitted to NJDEP by 7/10 annually * Our annual progress report will be submitted to NJDEP for the period of 7/1 – 06/30 by 7/10 annually * An updated LSL replacement plan will be submitted to NJDEP by 7/31 annually * We will send out Customer Notice of LSL Material letters to properties with newly identified LSLs via certified mail, and all other properties served by a LSL via standard mail by 8/10 annually * Lead Service Line Notification Form will be sent to NJDEP by 8/20 annually   Check to certify that your water system is in compliance with these reporting requirements  \*Attach a copy of the Customer Notice of LSL Material letters to this Plan. |

|  |
| --- |
| **10. Other Considerations** |
| **10a. Lead Service Line Inventory and Lead and Copper Sampling Plan: *Check the boxes to indicate that your system will make the following updates as needed.*** |
| LSL Inventory and the Lead and Copper Sampling Plan should be updated in conjunction with each other. We will update lead and copper plan to reflect lead service line replacements on a semi-annual basis and keep on file for our records. |
| The Lead and Copper Sample Location Spreadsheet (BWSE-18) will be submitted to the Department within 30 days of making sample site changes due to lead service line replacements. |
| **10b. Filter Distribution**  ***The LCRR, effective October 16, 2024, requires pitcher filters or point of use devices to reduce lead in drinking water to be distributed to consumers following a partial or full service line replacement, replacement of a lead connector and some disturbances before the affected line is returned to service.*** |
| We will provide filters to customers:  Yes |
| We will provide water filters under these circumstances (bolded choices are required and must be checked)**:**  **When a partial or full replacement occurs**  **When a lead connector is replaced**  **When a disturbance occurs**  When an ALE occurs  When lead results come back high  We will provide filters to customers without cause |
| In the event of a lead action level exceedance, filters will be provided to:  To all consumers served by the water system  Only those affected by known lead service lines  When lead results come back high, these filters will be provided to:  To all consumers served by the water system  Only those affected by known lead service lines |
| What types of filters will be provided (i.e. faucet mounted/point of use, pitchers, etc)? Include specific brand and model # if known: |
| Will additional replacement filters be provided? **(when filters are provided, replacement cartridges are required to be supplied for 6 months)**Yes  No  Will instructions on how to use the filters be provided? Yes  No  Describe the methods used to track the properties which have received filters and properties who were not provided filters?: |
| **10c. Flushing Procedures** |
| Per 40 CFR 141.84(b)(5), water systems are required to provide a procedure for consumers to flush service lines and premise plumbing of particulate lead. Explain the system’s procedure for providing this information to consumers: |
| **10d. Replacement Goal Rate** |
| Per 40 CFR 141.84(b)(4), a water system that serves over 10,000 customers and incurs a lead trigger level exceedance is required to set a replacement goal rate. If applicable, what is the system’s replacement goal rate? |
| **10e. Communication Attempts and Refusal Tracking** |
| To ensure that water systems make a sufficient effort at replacing the customer owned portion of the service line, water systems will track their communication attempts. Systems will track the annual number of attempts for replacing the customer-owned portion of the service line, number of non-responses and refusals for each address, as well as the dates associated with these communication attempts. Department has created a tracking spreadsheet for water systems to use located on our Additional Resources website <https://www.nj.gov/dep/lead/resources.html>  **Check this box indicating that the water system will track communication attempts and refusals, either using the Department’s form, or another system or electronic tracking method.** |

|  |  |
| --- | --- |
| **11. Division of Water Supply & Geoscience Contact Information** | |
| Bureau of Safe Drinking Water | (609) 292-5550 |
| Bureau of Water System Engineering | (609) 292-2957 |
| Bureau of Water Resources & Geoscience | (609) 292-2576 |

|  |
| --- |
| **12. APPENDIX** *Check all that apply and are enclosed* |
| Appendix A: Lead Service Line (LSL) Inventory Report (DEP\_10-S\_00014) |
| Appendix B: Map |
| Appendix C: Progress Report (DEP\_10-S\_00027) |
| Appendix D: |