Consumer Notice of Tap Water Results

Lead Profile Sampling

[Date]

Dear [Consumer’s Name],

[Insert name of your water system] appreciates your participation in the lead profile testing program. Multiple samples were collected at your location, [insert address of customer], on [date of sample collection]. OPTION – PICK ONE: One or more sample results were above the lead action level of 15 parts per billion (ppb). [Insert name of your water system] strongly urges you take steps listed below to reduce your exposure to lead.; OR One or more sample results had lead detections; however, all results were below the lead action level of 15 parts per billion (ppb). Even though results are below the action level, there is no safe level of lead. [Insert name of your water system] strongly urges you take steps listed below to reduce your exposure to lead.; OR Lead was not detected in any of the samples collected.

The table below provides all sample results and sampling information for the samples collected from your [Add Location e.g. Kitchen Tap]. For all samples, the lead action level1 is 15 ppb and the maximum contaminant level goal2 (MCLG) is 0 ppb.

| Date Sample Collected | Time Sample Collected | Date Results Received | Sample Number | Result in ppb |
| --- | --- | --- | --- | --- |

[WATER SYSTEM ADD ROWS AS NEEDED.]

1 The action level is the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

2 The MCLG is the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

What Are the Health Effects of Lead?

Lead can cause serious health problems if too much enters your body from drinking water or other sources. It can cause damage to the brain and kidneys and can interfere with the production of red blood cells that carry oxygen to all parts of your body. The greatest risk of lead exposure is to infants, young children, and pregnant women. Scientists have linked the effects of lead on the brain with lowered IQ in children. Adults with kidney problems and high blood pressure can be affected by low levels of lead more than healthy adults. Lead is stored in the bones, and it can be released later in life. During pregnancy, the child receives lead from the mother’s bones, which may affect brain development.

What Are the Sources of Lead?

Although most lead exposure occurs when people eat paint chips and inhale dust, or from contaminated soil, EPA estimates that 20 percent of human exposure to lead may come from lead in drinking water. Lead is rarely found in source water but enters tap water through corrosion of plumbing materials. New brass faucets, fittings, and valves, including those advertised as “lead-free”, may contribute lead to drinking water.  The law currently allows end-use brass fixtures, such as faucets, with up to 0.25 percent lead to be labeled as “lead free”.  However, prior to January 4, 2014, “lead free” allowed up to 8 percent lead content of the wetted surfaces of plumbing products including those labeled National Sanitation Foundation (NSF) certified. Consumers should be aware of this when choosing fixtures and take appropriate precautions.

When water remains in contact with lead pipes or plumbing materials containing lead over time, the lead may dissolve into your drinking water. This means the first water drawn from the tap in the morning, or later in the afternoon if the water has not been used all day, may contain elevated levels of lead.

- Homes and buildings in New Jersey built before 1988 are more likely to have lead pipes and/or lead solder.

- Service lines, which may also contain lead, are the individual pipes that run from the water main in the street to a home or building and consist of two portions. The first portion is the section of the service line from the water main to the curb stop and the second portion is the section from the curb stop to the home. Ownership of the service line varies by water system, but for [Insert name of your water system], the service line is owned OPTION: entirely OR partially by the water system AND/OR property owner.

Steps You Can Take to Reduce Exposure to Lead in Drinking Water

1. Determine if you have lead service line or interior lead plumbing or solder.

Property owners are encouraged to check their portion of the service lines for lead and we are asking you to contact us at [water system phone number and email] if a lead service line is identified so we can update our records. If your home/building was constructed prior to 1988, it is also important to determine if interior lead solder or lead pipes are present. You can check yourself, hire a licensed plumber, or check with your landlord.

2. Replace plumbing fixtures and service lines containing lead. If there is a lead service line, replace it in full, from main to home. Contact [water system phone number and email] to learn more about replacing the lead service line on your property.

Replace brass faucets, fittings, and valves that do not meet the current definition of “lead free.” The current definition went into effect January 4, 2014; therefore, any “lead free” plumbing materials purchased and/or installed prior to that date should be discarded or replaced. Visit the NSF website at www.nsf.org to learn more about lead-containing plumbing fixtures.

3. Run the cold water to flush out lead.  Let the water run from the tap before using it for drinking or cooking any time the water in the faucet has gone unused for more than six hours. The longer the water resides in plumbing the more lead it contains. Flushing the tap means running the cold water faucet for about 15 to 30 seconds. Although toilet flushing or showering flushes water through a portion of the plumbing system, you still need to flush the water in each faucet before using it for drinking or cooking. Flushing tap water is a simple and inexpensive measure you can take to protect your health. It usually uses less than one gallon of water. For those with lead service lines or until you determine if you are served by one, let the water run from the tap longer based on the length of the lead service line and the plumbing configuration in your home. In other words, the larger the home or building and the greater the distance to the water main (in the street), the more water it will take to flush properly.

4. Use cold water for cooking and preparing baby formula. Because lead from lead-containing plumbing materials and pipes can dissolve into hot water more easily than cold water, never drink, cook, or prepare beverages including baby formula using hot water from the tap.  If you have not had your water sampled or if you know or suspect you have a lead service line it is recommended that bottled or filtered water be used for drinking and preparing baby formula. If you need hot water, draw water from the cold tap and then heat it.

5. Do not boil water to remove lead. Boiling water will not reduce lead.

6. Use alternative sources or treatment of water. If there is confirmed or suspected lead-containing materials, such as lead service lines and/or interior lead plumbing or lead solder, in your home or building, you may consider purchasing bottled water or a water filter. Be sure the filter is approved to reduce lead or contact NSF International at 1-800-NSF-8010 or www.nsf.org for information on performance standards for water filters. Be sure to maintain and replace a filter device in accordance with the manufacturer’s recommendations.

Water softeners and reverse osmosis units will remove lead from water but can also make the water more corrosive to lead solder and plumbing by removing certain minerals; therefore, the installation of these treatment units at the point of entry into homes with lead plumbing should only be done under supervision of a qualified water treatment professional.

7. Remove and clean aerators/screens on plumbing fixtures. Over time, particles and sediment can collect in the aerator screen. Regularly remove and clean aerators screens located at the tip of faucets and remove any particles.

8. Test your water for lead. Call us at [insert phone number] to find out how to get your water tested for lead. Testing is essential because you cannot see, taste, or smell lead in drinking water. [Include information on your water system’s testing program. For example, do you provide free testing? Are there labs in your area that are certified to perform lead in water testing? Or directly refer to NJDEP’s list of certified labs. The NJDEP Data Miner is a tool that can be used for assistance but be sure to include a direct link.]

9. Get your child tested. Contact your local health department or healthcare provider to find out how you can get your child tested for lead if you are concerned about lead exposure. Your family doctor or pediatrician can perform a blood test for lead and provide you with information about the health effects of lead. Wash your children’s hands and toys often as they can come into contact with dirt and dust containing lead. New Jersey law requires that children be screened at both 1 and 2 years of age. Children 3 to 5 years of age should also be screened if they have not been screened before.

Next Steps

[Include any steps the water system will be taking. (e.g. conduct additional sampling, provide a filter, replace the lead service line, etc.]

For More Information

Contact us at [insert your water system’s phone number and email]. For more information on reducing lead exposure around your home and the health effects of lead, visit EPA’s Web site at www.epa.gov/lead, call the National Lead Information Center at 800-424-LEAD, or contact your health care provider.

NJDEP Template 01/2021