## Electronic Data template
Location_ID | Sample_ID | Lab_Name | Lab_Certification_ID | Sample_Date | Analysis_Date | Analyte_Parameter | Filtered_Unfiltered | Result_value | Result_Units | Data_Qualifier | Method_Detection_Limit | MDL_Units
DRBC Monitoring Parameters
TP - Total Phosphorus
SRP - Soluble Reactive Phosphorus, filtered sample
NH3 - Ammonia, whole water
NH3 (dissolved) - Ammonia, filtered sample
NO3 - Nitrate, whole water
NO3 (dissolved) - Nitrate, filtered sample
NO2 - Nitrite, whole water
NO2 (dissolved) - Nitrite, filtered sample
TKN - Total Kjeldahl Nitrogen
SKN - Soluble Kjeldahl Nitrogen, filtered
BOD-5
CBOD-5
CBOD-20
BOD-ultimate
Discharge flow (Q)
Temperature water
Specific Conductance
Dissolved Oxygen
pH
TSS - Total Suspended Solids
TOC - Total Organic Carbon

## Field Definition & Explanation
Definitions for Data Fields & Formatting Specifics
Field | Field Format | Field description, definition, and formatting specifics
Location_ID | Alpha-Numeric | NPDES facility location as a combination of 2-letter state prefix + NPDES #, followed by outfall DSN (e.g., PA0123456-001, NJ0123456-001A)
Sample_ID | Alpha-Numeric | DRBC-specific sample ID: 2-letter state prefix + NPDES # , followed by outfall DSN, followed by the date in MMDDYYYY format (e.g., PA0123456-001-10302011, NJ0123456-001A-10302011)
Lab_ Name | TEXT | Name of laboratory measuring parameter or conducting analysis of sample
Lab_Certification_ID | Alpha-Numeric | Lab Certification ID from State or NELAP
Sample_Date | DATE (MM/DD/YYYY) | Sample date (example 10/30/2011). For 24-hour sample composites or averages, report end date
Analysis_Date | DATE (MM/DD/YYYY) | Sample analysis date (to be provided by Lab)
Analyte_Parameter | Alpha-Numeric | Pull-down menu of the DRBC monitoring parameters
Filtered_Unfiltered | TEXT | Select from pull-down menu whether parameter analyzed from Whole Water (unfiltered) sample or from Filtered (0.45 µm) sample
Result_value | Decimal | Enter parameter result; acceptable values between 0.001-10,000. Leave non-detected values blank
Result_Units | TEXT | Reporting units (e.g., µg/L, mg/L, µS/cm, OC, MGD)
Data_Qualifier | TEXT | Select from pulldown menu (see Data Qualifier Definitions tab within this workbook for description)
Method_Detection_Limit | Decimal | Enter detection limit; acceptable values between 0.001-10,000
MDL_Units | TEXT | Method Detection Limit units (e.g., µg/L, mg/L)

## Data Qualifier Definitions
Definitions for Data Qualifiers / Flags
Data Qualifier | Definition
J | The value is detected but is only estimated
U | The value is undetected
E | Exceeds calibration range.
NR | Analyte not reported because of problems in sample preparation or analysis