ADA Checklist for Existing Facilities


	
	

	
	

	
	
	
	
	

	[image: image230.png]111111

wwwww




	
	ADA Checklist 

for Existing Facilities

	
	
	

	
	
	

	
	
	
	
	

	
	Based on the 2010 ADA Standards for Accessible Design

	
	[image: image231.png]


Produced by

Institute for Human Centered Design
www.HumanCenteredDesign.org
www.ADAchecklist.org
Copyright © 2016
	[image: image232.png]


 
ADA National Network 
www.ADAta.org

Questions on the ADA 800-949-4232 voice/tty 
Questions on checklist 617-695-0085 voice/tty 
 ADAinfo@NewEnglandADA.org                                                                                                  

	
	

	
	
	
	
	

	
	This checklist was produced by the New England ADA Center, a project of the Institute for Human Centered Design and a member of the ADA National Network. This checklist was developed under a grant from the Department of Education, NIDRR grant number H133A060092-09A. However the contents do not necessarily represent the policy of the Department of Education, and you should not assume endorsement by the Federal Government. 

Questions or comments on the checklist contact the New England ADA Center at 617-695-0085 voice/tty or ADAinfo@NewEnglandADA.org
For the full set of checklists, including the checklists for recreation facilities visit www.ADAchecklist.org.

Copyright © 2016 ADA Checklist for Existing Materials. You can freely reproduce and distribute this content. Include proper attribution. But you must get permission before using this content as a fee-based product.



	[image: image233.png]



The Americans with Disabilities Act (ADA) requires state and local governments, businesses and non-profit organizations to provide goods, services and programs to people with disabilities on an equal basis with the rest of the public. 

Some people think that only new construction and alterations need to be accessible and that older facilities are “grandfathered,” but that’s not true. Because the ADA is a civil rights law and not a building code, older facilities are often required to be accessible to ensure that people with disabilities have an equal opportunity to participate. 

The ADA has different requirements for state and local governments and for places of public accommodation (businesses and non-profit organizations that serve the public).

Requirements for State and Local Governments 
State and local governments must ensure that services, programs and activities, when viewed in their entirety, are accessible to people with disabilities. This is part of public entities’ program accessibility obligations.  Alterations to older buildings may be needed to ensure program accessibility. Generally this is a greater obligation than “readily achievable barrier removal” the standard that applies to public accommodations. State and local governments are not required to take any action that would result in undue financial and administrative burdens.
State and local governments’ ADA obligations for program accessibility are in the Department of Justice’s ADA Title II regulations 28 CFR Part 35.150.
Requirements for Places of Public Accommodation 

Businesses and non-profit organizations that serve the public must remove architectural barriers when it is “readily achievable” to do so; in other words, when barrier removal is “easily accomplishable and able to be carried out without much difficulty or expense.” 
The decision of what is readily achievable is made considering the size, type, and overall finances of the public accommodation and the nature and cost of the access improvements needed. Barrier removal that is difficult now may be readily achievable in the future as finances change.
Public accommodations’ ADA obligations for barrier removal are in the Department of Justice’s ADA Title III regulations 28 CFR Part 36.304.

Priorities for Accessibility

The checklist follows the four priorities that are listed in the Department of Justice ADA Title III regulations. These priorities are equally applicable to state and local government facilities.

Priority 1  - Accessible approach and entrance

Priority 2  - Access to goods and services

Priority 3 -  Access to public toilet rooms

Priority 4  - Access to other items such as water fountains and public telephones
2010 ADA Standards for Accessible Design
The checklist is based on the 2010 ADA Standards for Accessible Design (2010 Standards). The checklist does not include all sections of the 2010 Standards. For example there are no questions about patient rooms in hospitals or guest rooms in hotels. Consult the 2010 Standards for situations not covered in the checklist. Full compliance with the 2010 Standards is required only for new construction and alterations. 

Safe Harbor – Construction Prior to March 15, 2012

Elements in facilities built or altered before March 15, 2012 that comply with the 1991 ADA Standards for Accessible Design (1991 Standards) are not required to be modified to specifications in the 2010 Standards. For example, the 1991 Standards allow 54 inches maximum for a side reach range to a control such as the operating part of a paper towel dispenser. The 2010 Standards lower that side reach range to 48 inches maximum. If a paper towel dispenser was installed prior to March 15, 2012 with the highest operating part at 54 inches, the paper towel dispenser does not need to be lowered to 48 inches. 
Elements in the 2010 Standards that aren’t in the 1991 Standards
The 2010 Standards contain elements that are not in the 1991 Standards. These elements include recreation facilities such as swimming pools, team and player seating, accessible routes to court sports facilities, saunas and steam rooms, fishing piers, play areas, exercise machines, golf facilities, miniature golf facilities, amusement rides, shooting facilities with firing positions, and recreational boating facilities. Because these elements are not in the 1991 Standards, they are not subject to the safe harbor exemption. State and local governments must make these items accessible if necessary to ensure program accessibility, unless an undue burden would result. Public accommodations must remove architectural barriers to these items.
What this Checklist is Not 

The ADA Title II and III regulations require more than program accessibility and barrier removal. The regulations include requirements for nondiscriminatory policies and practices and for the provision of auxiliary aids and services, such as sign language interpreters for people who are deaf and material in Braille for people who are blind. This checklist does not cover those requirements.
Since this checklist does not include all of the 2010 Standards it is not intended to determine compliance for new construction or facilities being altered. 
What are Public Accommodations?
Under the ADA public accommodations are private entities that own, lease, lease to or operate a place of public accommodation. This means that both a landlord who leases space in a building to a tenant and the tenant who operates a place of public accommodation have responsibilities to remove barriers.

A place of public accommodation is a facility whose operations affect commerce and fall within at least one of the following 12 categories:

1)  Places of lodging (e.g., inns, hotels, motels, except for owner-occupied establishments renting fewer than six rooms)
2)  Establishments serving food or drink (e.g. , restaurants and bars)

3)  Places of exhibition or entertainment (e.g. , motion picture houses, theaters, concert halls, stadiums)

4)  Places of public gathering (e.g. , auditoriums, convention centers, lecture halls)

5)  Sales or rental establishments (e.g. , bakeries, grocery stores, hardware stores, shopping centers)

6)  Service establishments (e.g. , laundromats, dry-cleaners, banks, barber shops, beauty shops, travel services, shoe repair services, funeral parlors, gas stations, offices of accountants or lawyers, pharmacies, insurance offices, professional offices of health care providers, hospitals)

7)  Public transportation terminals, depots, or stations (not including facilities relating to air transportation)

8)  Places of public display or collection (e.g. , museums, libraries, galleries)

9)  Places of recreation (e.g. , parks, zoos, amusement parks)

10) Places of education (e.g. , nursery schools, elementary, secondary, undergraduate, or postgraduate private schools)

11) Social service center establishments (e.g. , day care centers, senior citizen centers, homeless shelters, food banks, adoption agencies)

12) Places of exercise or recreation (e.g. , gymnasiums, health spas, bowling alleys, golf courses).
Resources

U.S. Department of Justice ADA Information

800-514-0301 voice

800-514-0383 TTY

www.ada.gov

ADA National Network

800-949-4232 voice/TTY connects to your regional ADA Center

www.adata.org

U.S. Access Board

800- 872-2253 voice 

800-993-2822 TTY 

www.access-board.gov

ADA Title III Regulations 28 CFR Part 36
www.ada.gov/regs2010/titleIII_2010/titleIII_2010_regulations.htm
2010 ADA Standards for Accessible Design   

www.ada.gov/2010ADAstandards_index.htm
1991 ADA Standards for Accessible Design   

www.ada.gov/stdspdf.htm

Tax Deductions and Credits for Barrier Removal

www.ada.gov/taxincent.htm
Acknowledgements

Many of the illustrations are from the U.S. Department of Justice and the U.S. Access Board or are based on illustrations produced by the U.S. Access Board and the U.S. Department of Justice. 

	How to Use this Checklist

Get Organized
One person can conduct a survey, but it’s easier with two people. One person can take measurements and the other person can fill out the checklist and take photos.
Obtain Floor Plan or Make Sketch
A floor plan helps the surveyors to get organized and to know how many elements there are, such as entrances and toilet rooms.  If plans are not available, sketch the exterior and interior layout of interior and exterior spaces and mark the elements on the sketch. 

Make Copies of the Checklist 
Determine how many copies of each section of the checklist you need. For example, most facilities have more than one toilet room. 
Gather Tools 
· Checklist
· Clipboard 

· Tape measure

· Electronic or carpenter’s level - 24 inches
· Door pressure gauge or fish scale

· Camera

· Bag to hold these items
Conduct the Survey
Start Outside
Start from site arrival points such as drop-off areas and sidewalks. Determine if there is an accessible route to an accessible entrance. If there is a parking lot or garage check for the correct number of accessible parking spaces, including van-accessible spaces. Is there an accessible route from the accessible parking spaces to an accessible entrance?  Next survey the entrances. If there is an accessible entrance, determine if there are signs at inaccessible entrances directing people to the accessible entrance. Go inside and continue through the facility.

Keep Good Notes 
Write on the front of each checklist where you are surveying. You may end up with six toilet room checklists. When you get back to your office you’ll want to know which one is the checklist for the first floor women’s room. If there isn’t an accessible entrance you’ll want to indicate how many steps there are and how much space is available to install a ramp or lift. This is a good time to take photographs. 

Take Good Measurements 

When in doubt write it down. It’s better to have too much information than not enough.  Even if something is in compliance it’s helpful to have exact measurements.
[image: image234.png]


Parking Spaces

Measure from the center of marking lines.  If lines are not adjacent to another space or aisle the measurement can be to the full width of the line.
[image: image235.png]



Door Clear Width
Open the door 90 degrees, measure from the face of the door to the edge of the door stop.

[image: image236.png]



Door Opening Force  

If you’re using a door pressure gauge place it where you would push open the door.

[image: image237.jpg]



If you’re using a fish scale       place it where you would pull open the door.

[image: image238.png]


Accessible Slopes 
You can measure slope with a 24 inch level and a tape measure. Put the level on the surface in the direction you are measuring.  Put one end at the high point of the surface and raise the other end so that the bubble is in the middle of the level’s gauge. The level is now level. Measure the distance between the end of the level at its bottom point and the surface.  
For a ramp the maximum running slope allowed is 1:12. That means for every inch of height change there should be at least 12 inches of ramp run. If the distance between the bottom of the level and the ramp surface is 2 inches or less, then the slope is 1:12 or less (2:24 = 1:12 and 1.5:24 = 1:16 which is a more gradual slope than 1:12). If the distance is greater than 2 inches, the ramp is too steep. For example, if the distance is 3 inches, then the slope is 1:8 (3:24 = 1:8 which is a steeper slope than 1:12).  
For the parts of an accessible route that aren’t a ramp, the maximum running slope allowed is 1:20. That means for every inch of height change there must be at least 20 inches of route run. The distance from the bottom edge of the level to the surface should be no more than 1.2 inches (1.2:24 = 1:20).

For the cross slope of an accessible route the maximum slope allowed is 1:48. The distance from the bottom edge of the level to the surface should be no more than ½ inch (.5:24 = 1:48). The cross slope of an accessible route is the slope that is perpendicular to the direction of pedestrian travel.

Slopes may also be measured using a digital level. Be sure to read the instructions. Measure with the percent calculation rather than the degrees calculation. For a ramp the maximum running slope allowed is 8.33% (8.33% is a 1:12 slope). For an accessible route without a ramp the maximum running slope allowed is 5% (1:20). For the cross slope of an accessible route the maximum slope allowed is  2.083% (1:48).
Check that You Got Everything - Before you leave the site review all the checklists. Make sure you know which checklist goes with which entrance and which toilet room and that you’ve got all the information you need. It is better to do it now than to have to go back. 
After the Survey 

List Barriers and Solutions - Consider the solutions listed beside each question on the checklist and add your own ideas. Consult with building contractors and equipment suppliers to estimate the costs for making modifications.
Develop an Implementation Plan - Although an implementation plan is not required, the Department of Justice recommends such a plan, specifying what barriers will be removed and when solutions will occur: "...Such a plan...could serve as evidence of a good faith effort to comply..."  Prioritize items, make a timeline and develop a budget. Where the removal of barriers is not readily achievable, consider whether there are alternative methods for providing access that are readily achievable such as curbside takeout service at a restaurant with an accessible intercom system outside.

Make Changes - Use the 2010 ADA Standards for Accessible Design. Note: Until March 15, 2012 the 1991 ADA Standards for Accessible Design may be used for readily achievable barrier removal. Check whether local and state building codes require greater accessibility when alterations are undertaken. 
Follow Up - Review the implementation plan each year to evaluate whether more access improvements have become readily achievable.



	
	

	
	ADA Checklist for Existing Facilities

	
	Priority 1 – Approach & Entrance

	
	Based on the 2010 ADA Standards for Accessible Design

	[image: image1.png]



	Project      

	
	Building      

	
	Location      

	
	Date      

	
	Surveyors      

	
	      

	
	Contact Information      

	
	      

	
	
	
	
	

	
	An accessible route from site arrival points and an accessible entrance should be provided for everyone.

	
	[image: image2.png]



	Institute for Human Centered Design
www.HumanCenteredDesign.org
2014                                                           
	                        [image: image3.png]


                                           
	ADA National Network  

Questions on the ADA 800-949-4232  voice/tty
www.ADAchecklist.org 


	
	

	
	
	
	
	

	
	This checklist was produced by the New England ADA Center, a project of the Institute for Human Centered Design and a member of the ADA National Network. This checklist was developed under a grant from the Department of Education, NIDRR grant number H133A060092-09A. However the contents do not necessarily represent the policy of the Department of Education, and you should not assume endorsement by the Federal Government. 

Questions or comments on the checklist contact the New England ADA Center at 617-695-0085 voice/tty or ADAinfo@NewEnglandADA.org
For the full set of checklists, including the checklists for recreation facilities visit www.ADAchecklist.org.

Copyright © 2016 ADA Checklist for Existing Materials. You can freely reproduce and distribute this content. Include proper attribution. But you must get permission before using this content as a fee-based product.



	Priority 1 – Approach & Entrance
	Comments
	Possible Solutions

	1.1

	Is there at least one route from site arrival points (parking, passenger loading zones, public sidewalks and public transportation stops) that does not require the use of stairs?

[See 2010 ADA Standards for Accessible Design – 206.2.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
If yes, location of route:     

	
	     
Photo #:      
	• Add a ramp

• Regrade to 1:20 maximum slope
• Add a lift if site constraints prevent other solutions

	Parking Accessible parking spaces should be identified by size, access aisle and signage.

	1.2
	If parking is provided for the public, are an adequate number of accessible spaces provided?
[208.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Total #:     
Accessible #:
     
	Total Spaces

Accessible Spaces

1 - 25

1

26 - 50

2

51 - 75

3

76 - 100

4

100+ see 2010 Standards 208.2

	     
Photo #:      
	• Reconfigure by repainting lines
•      
•      


	1.3
	Of the accessible spaces, is at least one a van accessible space?*
[208.2.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	*For every 6 or fraction of 6 parking spaces required by the table above, at least 1 should be a van accessible space.
	     
Photo #:      
	* If constructed before 3/15/2012, parking is compliant if at least 1 in every 8 accessible spaces is van accessible
• Reconfigure by repainting lines

	1.4
	Are accessible spaces at least 8 feet wide with an access aisle at least 5 feet wide?
[502.2, 502.3]

Note: Two spaces may share an access aisle. Check state/local requirements; some specify that each space have its own aisle.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image4.png]



	     
Photo #:      
	• Reconfigure by repainting lines

•      
•      

	1.5
	Is the van accessible space:

At least 11 feet wide with an access aisle at least 5 feet wide?
Or 
At least 8 feet wide with an access aisle at least 8 feet wide?
[502.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image5.png]



	     
Photo #:      
	• Reconfigure to provide van-accessible space(s)
•      
•      

	1.6
	Is at least 98 inches of vertical clearance provided for the van accessible space?
[502.5]


	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image6.png]



	     
Photo #:      
	• Reconfigure to provide van-accessible space(s)
•      
•      

	1.7
	Are the access aisles marked so as to discourage parking in them?
[502.3.3]

Note: The marking method and color may be addressed by state/local requirements.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image7.png]e

area to be marked—/




	     
Photo #:      
	• Mark access aisles

•      
•      


	1.8
	Is the slope of the accessible parking spaces and access aisles no steeper than 1:48 in all directions?

[502.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	
	     
Photo #:      
	• Regrade surface
•      
•      

	1.9
	Do the access aisles adjoin an accessible route?
[502.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image8.png]



	     
Photo #:      
	• Create accessible route

• Relocate accessible space

•      

	1.10
	Are accessible spaces identified with a sign that includes the International Symbol of Accessibility?

Is the bottom of the sign at least 60 inches above the ground?
[502.6]

Note: The International Symbol of Accessibility is not required on the ground.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image9.png]



	     
Photo #:      
	• Install signs
•      
•      

	1.11
	Are there signs reading “van accessible” at van accessible spaces?
[502.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image10.png]o

VAN
ACCESSIBLE





	     
Photo #:      
	• Install signs
•      
•      


	1.12
	Of the total parking spaces, are the accessible spaces located on the closest accessible route to the accessible entrance(s)?
[208.3.1]

Note: If parking serves multiple entrances, accessible parking should be dispersed.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Reconfigure spaces
•      
•      

	Exterior Accessible Route  

	1.13
	Is the route stable, firm and slip-resistant?
[302.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Repair uneven paving
• Fill small bumps and breaks with patches
• Replace gravel with asphalt or other surface

	1.14
	Is the route at least 36 inches wide?
[403.5.1]

Note: The accessible route can narrow to 32 inches min. for a max. of 24 inches.  These narrower portions of the route must be at least 48 inches from each other.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image11.png]



[image: image12.png]:ﬂ-24”max->.<—' 48" min —»«24”max

——Y__





	     
Photo #:      
	• Change or move landscaping, furnishings or other items
• Widen route
•      


	1.15
	If the route is greater than 200 feet in length and less than 60 inches wide, is there a passing space no less than 60 x 60 inches?

[403.5.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image13.png]



	     
Photo #:      
	• Widen route for passing space
•      
•      


	1.16
	If there are grates or openings on the route, are the openings no larger than ½ inches?
Is the long dimension perpendicular to the dominant direction of travel?

[302.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image14.png]



	     
Photo #:      
	• Replace or move grate

•      
•      


	1.17
	Is the running slope no steeper than 1:20, i.e. for every inch of height change there are at least 20 inches of route run?
[403.3]

Note: If the running slope is steeper than 1:20, treat as a ramp and add features such as edge protection and handrails.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image15.png]



	     
Photo #:      
	• Regrade to 1:20 max.

•      
•      

	1.18
	Is the cross slope no steeper than 1:48? 
[403.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image16.png]



	     
Photo #:      
	• Regrade to 1:48 max.

•      
•      



	Curb Ramps  

	1.19
	If the accessible route crosses a curb, is there a curb ramp?
[402.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image17.png]



	     
Photo #:      
	• Install curb ramp
•      
•      

	1.20
	Is the running slope of the curb ramp no steeper than 1:12, i.e. for every inch of height change there are at least 12 inches of curb ramp run?
[406.1, 405.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image18.png]—12min——





	     
Photo #:      
	• Regrade curb ramp

•      
•      

	1.21
	Is the cross slope of the curb ramp, excluding flares, no steeper than 1:48?
[406.1, 405.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image19.png]— A48 min—>

1




	     
Photo #:      
	• Regrade curb ramp

•      
•      


	1.22
	Is the curb ramp, excluding flares, at least 36 inches wide?
[406.1, 405.5]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image20.png]=
36”min




	     
Photo #:      
	• Widen curb ramp

•      
•      


	1.23
	At the top of the curb ramp is there a level landing (slope no steeper than 1:48 in all directions) that is at least 36 inches long and at least as wide as the curb ramp?
[406.4]

If there are curb ramp flares, are the slopes of the flares no steeper than 1:10, i.e. for every inch of height change there are at least 10 inches of flare run?

[406.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image21.png]12, '/
36"min





	     
Photo #:      
	• Reconfigure 

• Add ramp flares

•      

	1.24
	If the landing at the top is less than 36 inches long, are there curb ramp flares?

Are the slopes of the flares no greater than 1:12, i.e. for every inch of height change there are at least 12 inches of flare run?
[406.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image22.png]



	     
Photo #:      
	• Add ramp flares

• Regrade flares

•      



	Ramps If any portion of the accessible route is steeper than 1:20, it should be treated as a ramp.

	1.25
	If there is a ramp is it at least 36 inches wide? 
[405.5]

Note: If there are handrails, measure between the handrails.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image23.png]



	     
Photo #:      
	• Alter ramp
•      
•      


	1.26
	Is the surface stable, firm and slip resistant?
[405.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Resurface ramp
•      
•      

	1.27
	For each section of the ramp, is the running slope no greater than 1:12, i.e. for every inch of height change there are at least 12 inches of ramp run?
[405.2]

Note: Rises no greater than 3 inches with a slope no steeper than 1:8 and rises no greater than 6 inches with a slope no steeper than 1:10 are permitted when such slopes are necessary due to space limitations.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image24.png]12 min

\




	     
Photo #:      
	• Relocate ramp
• Lengthen ramp to decrease slope
•      

	1.28
	Is there a level landing that is at least 60 inches long and at least as wide as the ramp:

At the top of the ramp?

At the bottom of the ramp?
[405.7.2, 405.7.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image25.png]landing widths must
be at least equal to
ramp width

,"60);m





	     
Photo #:      
	• Alter ramp
• Relocate ramp

•      

	1.29
	Is there a level landing where the ramp changes direction that is at least 60 x 60 inches?
[405.7.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image26.png]



	     
Photo #:      
	• Alter ramp

• Increase landing size

•      

	1.30
	If the ramp has a rise higher than 6 inches, are there handrails on both sides?
[405.8]

Note: Curb ramps are not required to have handrails.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image27.png]if greater than 6”




	     
Photo #:      
	• Add handrails
•      
•      


	1.31
	Is the top of the handrail gripping surface no less than 34 inches and no greater than 38 inches above the ramp surface?
[505.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image28.png]34"-38"





	     
Photo #:      
	• Reconfigure or replace handrails
• Adjust handrail height

•      

	1.32
	Is the handrail gripping surface continuous and not obstructed along the top or sides?
[505.3]

If there are obstructions, is the bottom of the gripping surface obstructed no greater than 20%? 
[505.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	 SHAPE  \* MERGEFORMAT 



	     
Photo #:      
	• Reconfigure or replace handrails
•      
•      


	1.33
	If the handrail gripping surface is circular, is it no less than 1 ¼ inches and no greater than 2 inches in diameter?
[505.7.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image30.png]



	     
Photo #:      
	• Replace handrails
•      
•      


	1.34
	If the handrail gripping surface is non-circular:

Is the perimeter no less than 4 inches and no greater than 6¼ inches?

Is the cross section no greater than 2¼ inches? 
[505.7.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image31.png]perimeter

-
T

124

47-6 Ya




	     
Photo #:      
	• Replace handrails
•      
•      


	1.35
	Does the handrail:
Extend at least 12 inches horizontally beyond the top and bottom of the ramp? 
Return to a wall, guard, or landing surface?
[505.10.1]

Note: If a 12 inch extension would be a hazard (in circulation path) it is not required.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image32.png]



	     
Photo #:      
	• Alter handrails
•      
•      

	1.36
	To prevent wheelchair casters and crutch tips from falling off:
Does the surface of the ramp extend at least 12 inches beyond the inside face of the handrail?  
Or
Is there a curb or barrier that prevents the passage of a 4-inch diameter sphere? 
[405.9.1, 405.9.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image33.jpg]



	     
Photo #:      
	• Add curb 

• Add barrier
• Extend ramp width

•      


	Entrance 

	1.37
	Is the main entrance accessible?
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Redesign to make it accessible
•      
•      


	1.38
	If the main entrance is not accessible, is there an alternative accessible entrance?
Can the alternative accessible entrance be used independently and during the same hours as the main entrance?
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image34.png]



	     
Photo #:      
	• Designate an entrance and make it accessible

• Ensure that accessible entrance can be used independently and during the same hours as the main entrance

•      


	1.39
	Do all inaccessible entrances have signs indicating the location of the nearest accessible entrance?
[216.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image35.png]ACCESSIBLE
ENTRANCE





	     
Photo #:      
	• Install signs
• Install signs on route before people get to inaccessible entrances so that people do not have to turn around and retrace route

•      

	1.40
	If not all entrances are accessible, is there a sign at the accessible entrance with the International Symbol of Accessibility?

[216.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image36.png]



	     
Photo #:      
	• Install sign 
•      
•      


	1.41
	Is the clear opening width of the accessible entrance door at least 32 inches, between the face of the door and the stop, when the door is open 90 degrees?
[404.2.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image37.png]— 32" min—=>{]

90

\





	     
Photo #:      
	• Alter door 
• Install offset hinges

•      


	1.42
	If there is a front approach to the pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus at least 60 inches clear depth?

Note: See 2010 Standards 

404.2.4 for maneuvering 

clearance requirements on 

the push side of the door 

and side approaches to the

pull side of the door
On both sides of the door, is the ground or floor surface of the maneuvering clearance level (no steeper than 1:48)?
[404.2.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image38.png]



	     
Photo #:      
	• Remove obstructions
• Reconfigure walls

• Add automatic door opener

	1.43
	If the threshold is vertical is it no more than ¼ inch high?
Or 
No more than ½ inch high with the top ¼ inch beveled no steeper than 1:2, if the threshold was installed on or after the 1991 ADA Standards went into effect (1/26/93)? 
Or

No more than ¾ inch high with the top ½ inch beveled no steeper than 1:2, if the threshold was installed before the 1991 ADA Standards went into effect (1/26/93)?
[404.2.5, 303.2]

Note: The first ¼ inch of the ½ or ¾ inch threshold may be vertical; the rest must be beveled.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image39.png]1/4"max-»<:*-




[image: image40.png]1/2”max-={




[image: image41.png]3




	     
Photo #:      
	• Remove or replace threshold
•      
•      

	1.44
	Is the door equipped with hardware that is operable with one hand and does not require tight grasping, pinching or twisting of the wrist?

Door handle?      

Lock (if provided)?  
[404.2.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image42.png]



	     
Photo #:      
	• Replace inaccessible knob with lever, loop or push hardware

• Add automatic door opener

•      


	1.45
	Are the operable parts of the door hardware no less than 34 inches and no greater than 48 inches above the floor or ground surface?
[404.2.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image43.png]



	     
Photo #:      
	• Change hardware height
•      
•      


	1.46
	If the door has a closer, does it take at least 5 seconds to close from an open position of 90 degrees to a position of 12 degrees from the latch?
[404.2.8]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image44.png]



	     
Photo #:      
	• Adjust closer
•      
•      


	1.47
	If there are two doors in a series, e.g. vestibule, is the distance between the doors at least 48 inches plus the width of the doors when swinging into the space?
[404.2.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image45.png]%4—48”min->«iﬁl
R T





[image: image46.png]or




[image: image47.png]I




	     
Photo #:      
	• Remove inner door
• Change door swing
•      

	1.48
	If provided at the building entrance, are carpets or mats no higher than ½ inch thick?
[302.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image48.png]



	     
Photo #:      
	• Replace or remove mats
•      
•      

	1.49
	Are edges of carpets or mats securely attached to minimize tripping hazards?
[302.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Secure carpeting or mats at edges
•      
•      


	
	
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      


	
	
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      



	
	

	
	ADA Checklist for Existing Facilities

	
	Priority 2 – Access to Goods & Services

	
	Based on the 2010 ADA Standards for Accessible Design

	[image: image49.png]



	Project      

	
	Building      

	
	Location      

	
	Date      

	
	Surveyors      

	
	      

	
	Contact Information      

	
	      

	
	
	
	
	

	
	The layout of the building should allow people with disabilities to obtain goods and services and to participate in activities without assistance.

	
	[image: image50.png]



	Institute for Human Centered Design

www.HumanCenteredDesign.org
2014                                                        
	[image: image51.png]



	ADA National Network  

Questions on the ADA 800-949-4232  voice/tty
www.ADAchecklist.org 

	
	

	
	
	
	
	

	
	This checklist was produced by the New England ADA Center, a project of the Institute for Human Centered Design and a member of the ADA National Network. This checklist was developed under a grant from the Department of Education, NIDRR grant number H133A060092-09A. However the contents do not necessarily represent the policy of the Department of Education, and you should not assume endorsement by the Federal Government. 

Questions or comments on the checklist contact the New England ADA Center at 617-695-0085 voice/tty or ADAinfo@NewEnglandADA.org
For the full set of checklists, including the checklists for recreation facilities visit www.ADAchecklist.org.

Copyright © 2016 ADA Checklist for Existing Materials. You can freely reproduce and distribute this content. Include proper attribution. But you must get permission before using this content as a fee-based product.



	Priority 2 – Access to Goods & Services
	Comments
	Possible Solutions

	2.1

	Does the accessible entrance provide direct access to the main floor, lobby and elevator?
[See 2010 ADA Standards for Accessible Design – 206.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Create accessible route
•      
•      


	Interior Accessible Route 

	2.2
	Are all public spaces on at least one accessible route?
[206.2.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Create accessible route
•      
•      


	2.3
	Is the route stable, firm and slip-resistant?
[40.2, 302.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Repair uneven surfaces
•      
•      


	2.4
	Is the route at least 36 inches wide?
[403.5.1]

Note: The accessible route can narrow to 32 inches min. for a max. of 24 inches.  These narrower portions of the route must be at least 48 inches from each other.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image52.png]



[image: image53.png]:ﬂ-24”max->.<—' 48" min —»«24”max

——Y__





	     
Photo #:      
	• Widen route

•      
•      

	2.5
	If the route is greater than 200 feet in length and less than 60 inches wide, is there a passing space no less than 60 x 60 inches?

[403.5.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image54.png]



	     
Photo #:      
	• Widen route for passing space
•      
•      

	2.6
	Is the running slope no steeper than 1:20, i.e. for every inch of height change there are at least 20 inches of route run?
[403.3]

Note: If the running slope is steeper than 1:20, treat as a ramp and add features such as edge protection and handrails.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image55.png]



	     
Photo #:      
	• Regrade

•      
•      

	2.7
	Is the cross slope no steeper than 1:48?
[403.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image56.png]



	     
Photo #:      
	• Regrade

•      
•      

	2.8
	Do all objects on circulation paths through public areas, e.g. fire extinguishers, drinking fountains, signs, etc., protrude no more than 4 inches into the path?
Or

If an object protrudes more than 4 inches, is the bottom leading edge at 27 inches or lower above the floor?

[307.2]
Or

Is the bottom leading edge at 80 inches or higher above the floor?

[307.4]

	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image57.png]



Or

[image: image58.png]



Or

[image: image59.png]BATHROOM





	     
Photo #:      
	• Remove object

• Add tactile warning such as permanent planter or partial walls

•      


	2.9
	Are there elevators or platform lifts to all public stories?

Note: Vertical access is not required in new construction or alterations if a facility is less than three stories or has less than 3,000 square feet per story, unless the facility is a shopping center, shopping mall, professional office of a health care provider, transportation terminal, state facility or local government facility
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Install if necessary

• Offer goods and services on an accessible story

•      


	Ramps 

	2.10
	If there is a ramp, is it at least 36 inches wide? 
[405.5]

Note: If there are handrails, measure between the handrails.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image60.png]



	     
Photo #:      
	• Alter ramp

•      
•      

	2.11
	Is the surface stable, firm and slip resistant?
[405.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Resurface ramp

•      
•      

	2.12
	For each section of the ramp, is the running slope no greater than 1:12, i.e. for every inch of height change there are at least 12 inches of ramp run?
[405.2]

Note: Rises no greater than 3 inches with a slope no steeper than 1:8 and rises no greater than 6 inches with a slope no steeper than 1:10 are permitted when due to space limitations.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image61.png]12 min

\




	     
Photo #:      
	• Lengthen ramp to decrease slope

• Relocate ramp
•      

	2.13
	Is there a level landing that is at least 60 inches long and at least as wide as the ramp:

At the top of the ramp?
At the bottom of the ramp?

[405.7.2, 405.7.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image62.png]landing widths must
be at least equal to
ramp width

,"60);m





	Photo #:      
	• Alter ramp

• Relocate ramp

•      

	2.14
	Is there a level landing where the ramp changes direction that is at least 60 x 60 inches?
[405.7.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image63.png]



	     
Photo #:      
	• Increase landing size

•      
•      

	2.15
	If the ramp has a rise higher than 6 inches are there handrails on both sides?
[405.8]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image64.png]



	     
Photo #:      
	• Add handrails

•      
•      

	2.16
	Is the top of the handrail gripping surface no less than 34 inches and no greater than 38 inches above the ramp surface?
[505.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image65.png]



	     
Photo #:      
	• Adjust handrail height

•      
•      

	2.17
	Is the handrail gripping surface continuous and not obstructed along the top or sides?
[505.3]

If there are obstructions, is the bottom of the gripping surface obstructed no more than 20%?
[505.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	
[image: image66]
	     
Photo #:      
	• Reconfigure or replace handrails
•      
•      

	2.18
	If the handrail gripping surface is circular, is it no less than 1 ¼ inches and no greater than 2 inches in diameter?
[505.7.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image67.png]



	     
Photo #:      
	• Replace handrails

•      
•      

	2.19
	If the handrail gripping surface is non-circular:

Is the perimeter no less than 4 inches and no greater than 6¼ inches?
Is the cross section no greater than 2¼ inches in diameter?
[505.7.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image68.png]perimeter

124

47-6 Ya




	     
Photo #:      
	• Replace handrails

•      
•      

	2.20
	Does the handrail:

Extend at least 12 inches horizontally beyond the top and bottom of the ramp? 

Return to a wall, guard, or landing surface?
[505.10.1]

Note: If a 12” extension would be hazardous (in circulation path), it is not required.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image69.png]



	     
Photo #:      
	• Alter handrails

•      
•      


	2.21
	To prevent wheelchair casters and crutch tips from falling off:

Does the surface of the ramp extend at least 12 inches beyond the inside face of the handrail?  

Or

Is there a curb or barrier that prevents the passage of a 4-inch diameter sphere? 
[405.9.1, 405.9.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image70.png]



	     
Photo #:      
	• Add curb 

• Add barrier
• Extend ramp width

•      
•      

	Elevators – Full Size & LULA (limited use, limited application) LULA elevators are often used in alterations.

	2.22
	If there is a full size or LULA elevator, are the call buttons no higher than 54 inches above the floor?
[407.2.1.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image71.png]54”max





	     
Photo #:      
	• Change call button height
•      
•      

	2.23
	If there is a full size or LULA elevator, does the sliding door reopen automatically when obstructed by an object or person?*

[407.3.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	* If constructed before 3/15/2012 and manually operated, the door is not required to reopen automatically

• Install opener

•      

	2.24
	If there is a LULA elevator with a swinging door:

Is the door power- operated? 
Does the door remain open for at least 20 seconds when activated? 
[403.3.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
  Time:      

	
	     
Photo #:      
	• Add power operated door
• Adjust opening time

•      


	2.25
	If there is a full size elevator:

Is the interior at least 54 inches deep by at least 36 inches wide with at least 16 sq. ft. of clear floor area?

Is the door opening width at least 32 inches?
[407.4.1 Exception]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image72.png]€4— 36"min—p

16 sqg.ft.min 54” min

¢ 32" min -




	     
Photo #:      
	• Replace elevator
•      
•      


	2.26
	If there is a LULA elevator, is the interior:

At least 51 inches deep by 51 inches wide with a door opening width of at least 36 inches?

Or 
At least 54 inches deep by at least 36 inches wide with at least 15 sq. ft. of clear floor area and a door opening width of at least 32 inches?
[408.4.1 Exceptions 1 and 2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image73.png]4—36"min —p»

<4—51"min —p»

15 sq. ft.
min
51” ”
. or 54
min min

| T14—36"min

[ ¢ 32" min Ll




	     
Photo #:      
	• Replace elevator
•      
•      


	2.27
	If there is a full size or LULA elevator, are the in-car controls:

No less than 15 inches and no greater 48 inches above the floor?

Or 
Up to 54 inches above the floor for a parallel approach?
[408.4.6, 407.4.6.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image74.png]48" max

15”min





Or

[image: image75.png]



	     
Photo #:      
	• Change control height
•      
•      

	2.28
	If there is a LULA elevator, are the in-car controls centered on a side wall?
[408.4.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image76.png]



	     
Photo #:      
	• Reconfigure controls
•      
•      

	2.29
	If there is a full size or LULA elevator:

Are the car control buttons designated with raised characters? 

Are the car control buttons designated with Braille?
[407.4.7.1, 703.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image77.png]3@
*1@

6@
4@
ZO





	     
Photo #:      
	• Add raised characters
• Add Braille

•      

	2.30
	If there is a full size elevator, are there audible signals which sound as the car passes or is about to stop at a floor?
[407.4.8]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Install audible signals
•      
•      


	2.31
	If there is a full size or LULA elevator:
Is there a sign on both door jambs at every floor identifying the floor?
Is there a tactile star on both jambs at the main entry level?
Do text characters contrast with their backgrounds?

Are text characters raised?

Is there Braille?

Is the sign mounted between 48 inches to the baseline of the lowest character and 60 inches to the baseline of the highest character above the floor?*

[407.2.3, 408.2.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image78.png]



	     
Photo #:      
	• Install signs 

• Change sign height

•      
•      
* If constructed before 3/15/2012 and mounted no higher than 60 inches to the centerline of the sign, relocation is not required

	Platform Lifts 

	2.32
	If a lift is provided, can it be used without assistance from others?
[410.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image79.png]



	     
Photo #:      
	• Reconfigure so independently operable

•      
•      

	2.33
	Is there a clear floor space at least 30 inches wide by at least 48 inches long for a person using a wheelchair to approach and reach the controls to use the lift?
[410.5]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image80.png]48"rhin

“30”min.




	     
Photo #:      
	• Remove obstructions
•      
•      

	2.34
	Are the lift controls no less than 15 inches and no greater than 48 inches above the floor?
[410.5]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image81.png]



	     
Photo #:      
	•  Change control height

•      
•      


	2.35
	Is there a clear floor space at least 36 inches wide by at least 48 inches long inside the lift?
[410.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image82.png]



	     
Photo #:      
	• Replace lift
•      
•      


	2.36
	If there is an end door, is the clear opening width at least 32 inches?
[410.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image83.png]32”min





	     
Photo #:      
	• Alter door width
•      
•      


	2.37
	If there is a side door, is the clear opening width at least 42 inches?
[410.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image84.png]



	     
Photo #:      
	• Alter door width

•      
•      



	Signs “Tactile characters” are read using touch, i.e. raised characters and Braille.

	2.38
	If there are signs designating permanent rooms and spaces not likely to change over time, e.g. room numbers and letters, room names, and exit signs: 
[216.2]
Do text characters contrast with their backgrounds?
[703.5]
Are text characters raised?

[703.2]

Is there Braille?

[703.3]

Is the sign mounted:

On the wall on the latch side of the door? 
[703.4.2]

Note: Signs are permitted on the push side of doors with closers and without hold-open devices.

With clear floor space beyond the arc of the door swing between the closed position and 45-degree open position, at least 18 x 18 inches centered on the tactile characters?*

[703.4.2]

So the baseline of the lowest character is at least 48 inches above the floor and the baseline of the highest character is no more than 60 inches above the floor? *
[703.4.1]

Note: If the sign is at double doors with one active leaf, the sign should be on the inactive leaf; if both leaves are active, the sign should be on the wall to the right of the right leaf.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image85.png]/

\ 354

\I B RARY





[image: image86.png]centered on
tactile characters





[image: image87.png]1BRARY .





	     
Photo #:      
	• Install tactile sign

• Relocate sign

• 

*If constructed before 3/15/2012 and a person may approach within 3 inches of the sign without encountering protruding objects or standing within the door swing, relocation not required

*If constructed before 3/15/2012 and mounted no higher than 60 inches to the centerline of the sign, relocation not required

	2.39
	If there are signs that provide direction to or information about interior spaces:

Do text characters contrast with their backgrounds? 
[703.5.1]
Is the sign mounted so that characters are at least 40 inches above the floor?
[703.5.6]

Note: Raised characters and Braille are not required.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image88.png]



	     
Photo #:       
	• Install signs with contrasting characters

• Change sign height
•      



	Interior Doors – to classrooms, medical exam rooms, conference rooms, etc. 

	2.40
	Is the door opening width at least 32 inches clear, between the face of the door and the stop, when the door is open 90 degrees?
[404.2.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image89.png]Pt

E4—32” min

90°




	     
Photo #:      
	• Install offset hinges
• Alter the doorway

•      

	2.41
	If there is a front approach to the pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus at least 60 inches clear depth?

Note: See 2010 Standards 404.2.4 for maneuvering clearance requirements on the push side of the door and side approaches to the pull side of the door.
On both sides of the door, is the floor surface of the maneuvering clearance level (no steeper than 1:48)?
[404.2.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image90.png]



	     
Photo #:      
	• Remove obstructions
• Reconfigure walls
• Add automatic door opener


	2.42
	If the threshold is vertical is it no more than ¼ inch high?
Or 
No more than ½ inch high with the top ¼ inch beveled no steeper than 1:2, if the threshold was installed on or after the 1991 ADA Standards went into effect (1/26/93)? 
Or

No more than ¾ inch high with the top ½ inch beveled no steeper than 1:2, if the threshold was installed before the 1991 ADA Standards went into effect (1/26/93)?
[404.2.5, 303.2]

Note: The first ¼ inch of the ½ or ¾ inch threshold may be vertical; the rest must be beveled.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image91.png]1/4"max-»<:*-




[image: image92.png]1/2”max-={




[image: image93.png]3




	     
Photo #:      
	• Remove or replace threshold

•      
•      

	2.43
	Is the door equipped with hardware that is operable with one hand and does not require tight grasping, pinching or twisting of the wrist?

Door handle?      

Lock (if provided)?  
[404.2.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image94.png]@@‘@@H@»&




	     
Photo #:      
	• Replace inaccessible knob with lever, loop or push hardware

• Add automatic door opener

•      


	2.44
	Are the operable parts of the hardware no less than 34 inches and no greater than 48 inches above the floor?
[404.2.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image95.png]



	     
Photo #:      
	• Change hardware height
•      
•      


	2.45
	Can the door be opened easily (5 pounds maximum force)?
[404.2.9]

Note: You can use a pressure gauge or fish scale to measure force.  If you do not have one  you will need to judge whether the door is easy to open.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image96.png]



	     
Photo #:      
	• Adjust or replace closers

• Install lighter doors
• Install power-assisted or automatic door openers


	2.46
	If the door has a closer, does it take at least 5 seconds to close from an open position of 90 degrees to a position of 12 degrees from the latch?
[404.2.8.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image97.png]



	     
Photo #:      
	• Adjust closer
•      
•      


	Rooms and Spaces – stores, supermarkets, libraries, etc.  

	2.47
	Are aisles and pathways to goods and services, and to one of each type of sales and service counters, at least 36 inches wide?
[403.5.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image98.png]



	     
Photo #:      
	• Rearrange goods, equipment and furniture
•      
•      

	2.48
	Are floor surfaces stable, firm and slip resistant?
[302.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Change floor surface
•      
•      

	2.49
	If there is carpet:

Is it no higher than ½ inch? 

Is it securely attached along the edges?
[302.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image99.png]



	     
Photo #:      
	• Replace carpet
•      
•      

	Controls – light switches, security and intercom systems, emergency/alarm boxes, etc.  

	2.50
	Is there a clear floor space at least 30 inches wide by at least 48 inches long for a forward or parallel approach? 
[305.3]
Are the operable parts no higher than 48 inches above the floor?*

[309.3, 308]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image100.png]



[image: image101.png]



	     
Photo #:      
	• Change height of control

•      
•      
*If constructed before 

  3/15/2012 and a parallel 

  approach is provided, 

  controls can be 54 inches

  above the floor

	2.51
	Can the control be operated with one hand and without tight grasping, pinching, or twisting of the wrist?
[309.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image102.png]



	     
Photo #:      
	• Replace control
•      
•      

	Seating:  Assembly Areas – theaters, auditoriums, stadiums, theater style classrooms, etc.  

	2.52
	Are an adequate number of wheelchair spaces provided?
[221.2.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Total #:      
Wheelchair #:

     
	# of Seats

Wheelchair Spaces

4 - 25

1

26 - 50

2

51 - 150

4

151 - 300

5

300+ see 2010 Standards 221.2.1.


	     
Photo #:      
	• Reconfigure to add wheelchair spaces
•      
•      

	2.53
	Are wheelchair spaces dispersed to allow location choices and viewing angles equivalent to other seating, including specialty seating areas that provide distinct services and amenities?
[221.2.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image103.png]



	     
Photo #:      
	• Reconfigure to disperse wheelchair spaces
•      
•      

	2.54
	Where people are expected to remain seated, do people in wheelchair spaces have a clear line of sight over and between the heads of others in front of them?
[802.2.1.1, 802.1.1.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image104.png]



	     
Photo #:      
	• Alter for line of sight
•      
•      

	2.55
	Where people are expected to stand, do people in wheelchair spaces have a clear line of sight over and between the heads of others in front of them?
[802.2.2.1, 802.1.2.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image105.png]



	     
Photo #:      
	• Alter for line of sight
•      
•      

	2.56
	If there is a single wheelchair space, is it at least 36 inches wide?
[802.1.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image106.png]J

+«—36"min—>»

L




	     
Photo #:      
	• Alter space
•      
•      

	2.57
	If there are two adjacent wheelchair spaces, are they each at least 33 inches wide?
[802.1.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image107.png]<+—33"min—»<4«—33"min—>




	     
Photo #:      
	• Alter spaces
•      
•      

	2.58
	If the wheelchair space can be entered from the front or rear, is it at least 48 inches deep?
[802.1.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image108.png]



	     
Photo #:      
	• Alter space
•      
•      

	2.59
	If the wheelchair space can only be entered from the side, is it at least 60 inches deep?
[802.1.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image109.png]



	     
Photo #:      
	• Alter space
•      
•      

	2.60
	Do wheelchair spaces adjoin, but not overlap, accessible routes?
[802.1.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image110.png]Accessibe
Route





	     
Photo #:      
	• Alter spaces

•      
•      

	2.61
	Is there at least one companion seat for each wheelchair space?
[221.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	
	     
Photo #:      
	• Add companion seats
•      
•      


	2.62
	Is the companion seat located so the companion is shoulder-to-shoulder with the person in a wheelchair?
[802.3.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image111.png]



	     
Photo #:      
	• Alter seating
•      
•      

	2.63
	Is the companion seat equivalent in size, quality, comfort and amenities to seating in the immediate area?
[802.3.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	
	     
Photo #:      
	• Add equivalent seating
•      
•      


	Seating:  At dining surfaces (restaurants, cafeterias, bars, etc.) and non-employee work surfaces (libraries, conference rooms, etc.) 

	2.64
	Are at least 5%, but no fewer than one, of seating and standing spaces accessible for people who use wheelchairs?
[226.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Total #:      
Wheelchair #:

     
	
	     
Photo #:      
	• Alter to provide accessible spaces
•      
•      

	2.65
	Is there a route at least 36 inches wide to accessible seating?
[403.5.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image112.png]



	     
Photo #:      
	• Widen route
•      
•      

	2.66
	At the accessible space(s), is the top of the accessible surface no less than 28 inches and no greater than 34 inches above the floor?
[902.3]

Note: If for children, the top should be no less than 26 inches and no greater than 30 inches above the floor.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image113.png]



	     
Photo #:      
	• Alter surface height
•      
•      

	2.67
	Is there a clear floor space at least 30 inches wide by at least 48 inches long for a forward approach? 
[305.3]

Does it extend no less than 17 inches and no greater than 25 inches under the surface? 

Is there knee space at least 27 inches high and at least 30 inches wide?
[306.2, 306.3]

Note: If for children, the knee space may be 24 inches high.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image114.png]



[image: image115.png]



	     
Photo #:      
	• Alter table or work surface
• Add accessible table or work surface

•      

	Seating:  General – reception areas, waiting rooms, etc.  

	2.68
	Is there at least one space at least 36 inches wide by at least 48 inches long for a person in a wheelchair?
[802.1.2, 802.1.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image116.png]



	     
Photo #:      
	• Move furniture and equipment to provide space
•      
•      

	Benches – In locker rooms, dressing rooms, fitting rooms This section does not apply to any other bences.

	2.69
	In locker rooms, dressing rooms and fitting rooms, is there at least one room with a bench?

[222.1, 803.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Add bench
•      
•      

	2.70
	Is there a clear floor space at least 30 inches wide by at least 48 inches long at the end of the bench and parallel to the short axis of the bench?

Is the bench seat at least 42 inches long and no less than 20 inches and no greater than 24 inches deep?

Does the bench have back support or is it affixed to a wall? 

Is the top of the bench seat no less than 17 inches and no greater than 19 inches above the floor?
[903]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image117.png]



[image: image118.png]-

“—

2 _ 42" min
207- 24"




[image: image119.png]17”_ 19”[ -




	     
Photo #:      
	• Move bench
• Replace bench

• Affix bench to wall

•      
•      

	Check-Out Aisles – supermarkets, large retail stores, etc.  

	2.71
	Is the aisle at least 36 inches wide?
[904.3.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image120.png]



	     
Photo #:      
	• Widen aisle
•      
•      

	2.72
	Is the counter surface of at least one aisle no higher than 38 inches above the floor?
[904.3.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image121.png]



	     
Photo #:      
	• Lower counter
•      
•      

	2.73
	Is the top of the counter edge protection no higher than 2 inches above the counter surface?
[904.3.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image122.png]



	     
Photo #:      
	• Lower edge protection
•      
•      

	2.74
	If there is a check writing surface, is the top no less than 28 inches and no greater than 34 inches above the floor?
[904.3.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image123.png]



	     
Photo #:      
	• Alter check writing surface
•      
•      

	2.75
	If there is more than one check-out aisle is there a sign with the International Symbol of Accessibility at the accessible aisle?

[216.11]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image124.png]



	     
Photo #:      
	• Add sign

•      
•      

	Sales & Service Counters – banks, stores, dry cleaners, auto repair shops, fitness clubs, etc.  

	2.76
	Is there a portion of at least one of each type of counter that is:

No higher than 36 inches above the floor?

At least 36 inches long? 
[904.4.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image125.png]\:‘\%”min
B
w%@

%




	     
Photo #:      
	• Lower section of counter
• Lengthen section of counter

•      

	2.77
	Does the accessible portion of the counter extend the same depth as the counter top?
[904.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image126.png]



	     
Photo #:      
	• Alter accessible portion
•      
•      

	2.78
	Is there a clear floor space at least 30 inches wide by at least 48 inches long for a forward or parallel approach?
[904.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Parallel

Measurement:
     
 FORMCHECKBOX 
Forward

Measurement:
     
	[image: image127.png],,"lllS”min
~=30"min

3 -




Or

[image: image128.png]



	     
Photo #:      
	• Reconfigure to provide a parallel or forward approach
•      
•      

	2.79
	For a parallel approach, is the clear floor space positioned with the 48 inches adjacent to the accessible length of counter?
[904.4.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image129.png]



	     
Photo #:      
	• If a parallel approach is not possible, a forward approach is required
•      
•      

	2.80
	For a forward approach:

Do no less than 17 and no greater than 25 inches of the clear floor space extend under the accessible length of the counter?
[306.2.2, 306.2.3]

Is there at least 27 inches clearance from the floor to the bottom of the counter?

[306.3.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image130.png]



[image: image131.png]



	     
Photo #:      
	• Reconfigure to provide knee clearance
•      
•      

	Food Service Lines – in cafeterias, salad bars, eat-in fast food establishments, etc.  

	2.81
	Does at least one of each type of self-service shelf or dispensing device for tableware, dishware, condiments, food and beverages have a forward or parallel approach?
[904.5.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Forward
 FORMCHECKBOX 
Parallel

	[image: image132.png]



Or

[image: image133.png]



	     
Photo #:      
	• Reconfigure to provide approach
•      
•      

	2.82
	If there is an unobstructed parallel approach, is the shelf or dispensing device no higher than 48 inches above the floor?
[308.3.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image134.png]



	     
Photo #:      
	• Lower shelf and/or dispensing device
•      
•      

	2.83
	If there is a shallow obstruction no deeper than 10 inches with a parallel approach, is the shelf or dispensing device no higher than 48 inches above the floor?
[308.3.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image135.png]



	     
Photo #:      
	• Lower shelf and/or dispensing device
•      
•      

	2.84
	If there is an obstruction no less than 10 inches and no greater than 24 inches deep with a parallel approach, is the shelf or dispensing device no higher than 46 inches above the floor?
[308.3.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image136.png]



	     
Photo #:      
	• Lower shelf and/or dispensing device
•      
•      

	2.85
	If there is an unobstructed forward approach, is the shelf or dispensing device no higher than 48 inches above the floor?
[308.2.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image137.png]



	     
Photo #:      
	• Lower shelf and/or dispensing device
•      
•      

	2.86
	If there is an obstruction no deeper than 20 inches with a forward approach:

Does clear floor space extend under the obstruction that is at least the same depth as the obstruction? 

Is the shelf or dispensing device no higher than 48 inches above the floor?
[904.5.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image138.png]



	     
Photo #:      
	• Reconfigure to provide knee space

• Lower shelf and/or dispensing device

•      

	2.87
	If the obstruction is no less than 20 inches and no greater than 25 inches deep with a forward approach:

Does clear floor space extend under the obstruction that is at least the same depth as the obstruction? 

Is the shelf or dispensing device no higher than 44 inches above the floor?
[904.5.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image139.png]



	     
Photo #:      
	• Reconfigure to provide knee space
• Lower shelf and/or dispensing device

•      

	2.88
	If there is a tray slide, is the top no less than 28 inches and no greater than 34 inches above the floor?
[904.5.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image140.png]



	     
Photo #:      
	• Reconfigure
•      
•      

	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      

	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      

	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      

	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      

	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      


	​​​​
	

	
	The ADA Checklist for Existing Facilities

	
	Priority 3 - Toilet Rooms

	
	Based on the 2010 ADA Standards for Accessible Design

	[image: image141.png]



	Project                                                                                                          

	
	Building      

	
	Location       

	
	Date      

	
	Surveyors      

	
	      

	
	Contact Information      

	
	      

	
	
	
	
	

	
	When toilet rooms are open to the public they should be accessible to people with disabilities.

	
	[image: image142.png]



	Institute for Human Centered Design   

www.HumanCenteredDesign.org
2014                                                     
	[image: image143.png]



	ADA National Network  

Questions on the ADA 800-949-4232  voice/tty
www.ADAchecklist.org 

	
	

	
	
	
	
	

	
	This checklist was produced by the New England ADA Center, a project of the Institute for Human Centered Design and a member of the ADA National Network. This checklist was developed under a grant from the Department of Education, NIDRR grant number H133A060092-09A. However the contents do not necessarily represent the policy of the Department of Education, and you should not assume endorsement by the Federal Government. 

Questions or comments on the checklist contact the New England ADA Center at 617-695-0085 voice/tty or ADAinfo@NewEnglandADA.org
For the full set of checklists, including the checklists for recreation facilities visit www.ADAchecklist.org.

Copyright © 2016 ADA Checklist for Existing Materials. You can freely reproduce and distribute this content. Include proper attribution. But you must get permission before using this content as a fee-based product.



	Priority 3 – Toilet Rooms
	
	
	        Comments
	     Possible Solutions

	3.1

	If toilet rooms are available to the public, is at least one toilet room accessible? (Either one for each sex, or one unisex.) 
Note: If toilet rooms are chiefly for children, e.g., in elementary schools and day care centers, use the children’s specifications in Toilets - 604.1, 604.8, 604.9, 609.4 and Lavatories and Sinks – 606.2.
	 FORMCHECKBOX 
Yes   FORMCHECKBOX 
No

	
	     
Photo #:      
	• Reconfigure toilet rooms
• Combine toilet rooms to create one unisex accessible toilet room

•      


	3.2
	Are there signs at inaccessible toilet rooms that give directions to accessible toilet rooms?
[See 2010 ADA Standards for Accessible Design – 216.8]
	 FORMCHECKBOX 
Yes   FORMCHECKBOX 
No

	[image: image144.png]E =

ACCESSIBLE RESTROOM
g

P





	     
Photo #:      
	• Install signs
•      
•      


	3.3
	If not all toilet rooms are accessible, is there a sign at the accessible toilet room with the International Symbol of Accessibility? 

[216.8]
	 FORMCHECKBOX 
Yes   FORMCHECKBOX 
No

	[image: image145.png]



	     
Photo #:      
	• Install sign
•      
•      


	Accessible Route

	3.4
	Is there an accessible route to the accessible toilet room? 

[206.2.4]


	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	• Alter route
•      
•      

	Signs at Toilet Rooms  

	3.5
	Do text characters contrast with their backgrounds?
[703.5]
Are text characters raised?
[703.2]
Is there Braille?
[703.3]
Is the sign mounted:

On the wall on the latch side of the door?
[703.4.2]

Note: Signs are permitted on the push side of doors with closers and without hold-open devices.

With clear floor space beyond the arc of the door swing between the closed position and 45-degree open position, at least 18 x 18 inches centered on the tactile characters? *

[703.4.2]
So the baseline of the lowest character is at least 48 inches above the floor and the baseline of the highest character is no more than 60 inches above the floor? *
[703.4.1]

Note: If the sign is at double doors with one active leaf, the sign should be on the inactive leaf; if both leaves are active, the sign should be on the wall to the right of the right leaf.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image146.png]



[image: image147.png]centered on
tactile characters





[image: image148.png]UNISEX U
ResTROoms {22 ZZZZZIIIC0

60”"max

48" min





	     
Photo #:      
	• Install tactile sign

• Relocate sign

•      
*If constructed before 3/15/2012 and a person may approach within 3 inches of the sign without encountering protruding objects or standing within the door swing, relocation not required
*If constructed before 3/15/2012 and mounted no higher than 60 inches to the centerline of the sign, relocation is not required

	Entrance  

	3.6
	Is the door opening width at least 32 inches clear, between the face of the door and the stop, when the door is open 90 degrees?
[404.2.3]


	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image149.png]— 32" min —»[

]

90°





	     
Photo #:      
	• Install offset hinges

• Alter the doorway

•      


	3.7
	If there is a front approach to the pull side of the door is there at least 18 inches of maneuvering clearance beyond the latch side plus 60 inches clear depth?

Note: See 2010 Standards 

404.2.4 for maneuvering 

clearance requirements on

the push side of the door 

and side approaches to the

pull side of the door
On both sides of the door, is the floor surface of the maneuvering clearance level (no steeper than 1:48)?
[404.2.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image150.png]



	     
Photo #:      
	• Remove obstructions
• Reconfigure walls
• Add automatic door opener


	3.8
	If the threshold is vertical is it no more than ¼ inch high?
Or 
No more than ½ inch high with the top ¼ inch beveled no steeper than 1:2, if the threshold was installed on or after the 1991 ADA Standards went into effect (1/26/93)? 
Or

No more than ¾ inch high with the top ½ inch beveled no steeper than 1:2, if the threshold was installed before the 1991 ADA Standards went into effect (1/26/93)?
[404.2.5, 303.2]

Note: The first ¼ inch of the ½ or ¾ inch threshold may be vertical; the rest must be beveled.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image151.png]1/4"max-»<:*-




[image: image152.png]1/2”max-={




[image: image153.png]3




	     
Photo #:      
	• Remove or replace threshold

•      
•      

	3.9
	Is the door equipped with hardware that is operable with one hand and does not require tight grasping, pinching or twisting of the wrist?

Door handle?      

Lock (if provided)?
[404.2.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image154.png]



	     
Photo #:      
	• Replace inaccessible knob with lever, loop or push hardware

• Add automatic door opener

•      


	3.10
	Are the operable parts of the door hardware mounted no less than 34 inches and no greater than 48 inches above the floor?
[404.2.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image155.png]



	     
Photo #:      
	• Change hardware height
•      
•      


	3.11
	Can the door be opened easily (5 pounds maximum force)?
[404.2.9]

Note: You can use a pressure gauge or fish scale to measure force. If you do not have one you will need to judge whether the door is easy to open.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image156.png]



	     
Photo #:      
	• Adjust or replace closers

• Install lighter doors

• Install power-assisted or automatic door openers



	3.12
	If the door has a closer, does it take at least 5 seconds to close from an open position of 90 degrees to a position of 12 degrees from the latch?
[404.2.8.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image157.png]



	     
Photo #:      
	• Adjust closer
•      
•      


	3.13
	If there are two doors in a series, e.g. vestibule, is the distance between the doors at least 48 inches plus the width of the doors when swinging into the space?
[404.2.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image158.png]48" min »f—u

iy | =
\

or




[image: image159.png]or




[image: image160.png]— i

N

kS
0
4

I





	     
Photo #:      
	• Remove inner door
• Change door swing

•      


	3.14
	If there is a privacy wall and the door swings out, is there at least 24 inches of maneuvering clearance beyond the door latch side and 42 inches to the privacy wall?
[404.2.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image161.png]48”min

i privacy wall





	     
Photo #:      
	• Reconfigure space
•      
•      


	3.15
	If there is a privacy wall and the door swings in, is there at least 24 inches of maneuvering clearance beyond the door latch side and at least 48 inches to the privacy wall if there is no door closer or at least 54 inches if there is a door closer?

[404.2.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image162.png]24”min

48”min

privacy wall





	     
Photo #:      
	• Reconfigure space
•      
•      


	In the Toilet Room  

	3.16
	Is there a clear path to at least one of each type of fixture, e.g. lavatory, hand dryer, etc., that is at least 36 inches wide?
[403.5.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image163.png]



	     
Photo #:      
	• Remove obstructions
•       
•      


	3.17
	Is there clear floor space available for a person in a wheelchair to turn around, i.e. a circle at least 60 inches in diameter or a T-shaped space within a 60-inch square?
[603.2.1]


	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image164.png]we I

IIIJIl’I

|

e ®

[

%_nm

O ©

l m

1||L74-

min ——p

60”




	     
Photo #:      
	• Move or remove partitions, fixtures or objects such as trash cans
•      
•      

	3.18
	In a single user toilet room if the door swings in and over a clear floor space at an accessible fixture, is there a clear floor space at least 30 x 48 inches beyond the swing of the door?
[603.2.3 Exception 2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image165.png]



	     
Photo #:      
	• Reverse door swing
• Alter toilet room
•      


	3.19
	If the mirror is over a lavatory or countertop, is the bottom edge of the reflecting surface no higher than 40 inches above the floor?
Or

If the mirror is not over the lavatory or countertop, is the bottom edge of the reflecting surface no higher than 35 inches above the floor?*

[603.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	​[image: image166.png]P e
I





	     
Photo #:      
	* If installed before 3/15/2012 and the bottom edge of the reflecting surface is no higher than 40 inches above the floor, lowering the mirror to 35 inches is not required

• Lower the mirror
• Add another mirror
•      

	3.20
	If there is a coat hook, is it no less than 15 inches and no greater than 48 inches above the floor?*

[603.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	​[image: image167.png]



	     
Photo #:      
	• Adjust hook
• Replace with or provide additional accessible hook
•      
* If installed before 3/15/2010 and the clear floor space allows a parallel approach, the coat hook may be 54 inches above the floor.


	Lavatories The 2010 Standards refer to sinks in toilet rooms as lavatories.

	3.21
	Does at least one lavatory have a clear floor space for a forward approach at least 30 inches wide and 48 inches long?
[606.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image168.png]



	     
Photo #:      
	• Alter lavatory
• Replace lavatory
•      


	3.22
	Do no less than 17 inches and no greater than 25 inches of the clear floor space extend under the lavatory so that a person using a wheelchair can get close enough to reach the faucet?
[306.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image169.png]“p

«17"-25’

| 4
|

48"





	     
Photo #:      
	• Alter lavatory
• Replace lavatory
•      


	3.23
	Is the front of the lavatory or counter surface, whichever is higher, no more than 34 inches above the floor?
[606.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image170.png]34”"max





	     
Photo #:      
	• Alter lavatory
• Replace lavatory
•      


	3.24
	Is there at least 27 inches clearance from the floor to the bottom of the lavatory that extends at least 8 inches under the lavatory for knee clearance?
[306.3.3] 
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image171.png]



	     
Photo #:      
	• Alter lavatory
• Replace lavatory
•      


	3.25
	Is there toe clearance at least 9 inches high?
[306.3.3]

Note: Space extending greater than 6 inches beyond the available toe clearance at 9 inches above the floor is not considered toe clearance.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 
	[image: image172.png]48"





	     
Photo #:      
	• Alter lavatory
• Replace lavatory
•      


	3.26
	Are pipes below the lavatory insulated or otherwise configured to protect against contact? 
[606.5]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image173.png]



	     
Photo #:      
	• Install insulation
• Install cover panel
•      

	3.27
	Can the faucet be operated without tight grasping, pinching, or twisting of the wrist?
Is the force required to activate the faucet no greater than 5 pounds?

[606.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
	[image: image174.png]



	     
Photo #:      
	• Adjust faucet

• Replace faucet
•      


	Soap Dispensers and Hand Dryers (2010 Standards – 603)

	3.28
	Are the operable parts of  the soap dispenser within one of the following reach ranges:

Above lavatories or counters no less than 20 inches and no greater than 25 inches deep: no higher than 44 inches above the floor?

[308.2.2]

Above lavatories less than 20 inches deep: no higher than 48 inches above the floor?

Not over an obstruction: no higher than 48 inches above the floor?

[308.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image175.png]N :
t20-25"—>5 44” max

-





[image: image176.png]48" max

A
¢-<20p





[image: image177.png]



	     
Photo #:      
	• Adjust dispensers
• Replace with or provide additional accessible dispensers
•      


	3.29
	Are the operable parts of the hand dryer or towel dispenser within one of the following reach ranges:

Above lavatories or counters no less than 20 inches and no greater than 25 inches deep: no higher than 44 inches above the floor?

Above lavatories less than 20 inches deep: no higher than 48 inches above the floor?

Not over an obstruction: no higher than 48 inches above the floor?

[308.2]

Can the operable parts of the hand dryer or towel dispenser be operated without tight grasping, pinching or twisting of the wrist?

Is the force required to activate the hand dryer or towel dispenser no greater than 5 pounds?

[309.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image178.png]7 :
«-20-25" P 44”"max

-





[image: image179.png]



[image: image180.png]




	     
Photo #:      
	• Adjust dispensers
• Replace with or provide additional accessible dispensers
•      


	Water Closets in Single-User Toilet Rooms and Compartments (Stalls) The 2010 Standards refer to toilets as water closets.

	3.30
	Is the centerline of the water closet no less than 16 inches and no greater than 18 inches from the side wall or partition?
[604.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image181.png]



	     
Photo #:      
	• Move toilet
• Replace toilet
• Move partition

•      


	3.31
	Is clearance provided around the water closet measuring at least 60 inches from the side wall and at least 56 inches from the rear wall?*

[604.3.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image182.png]\\\‘JJ"

VA

_____6Onmin_____\j




	     
Photo #:      
	* If constructed before 3/15/12, clearances around water closets in single user toilet rooms can be 48 inches wide by 66 inches long or 48 inches wide by 56 inches long (depending on the approach to the water closet, see 1991 Standards Figure 28) and the lavatory may overlap that clearance if the door to the room does not swing into the required clearances at fixtures (such as lavatories, water closet and urinals) and the edge of the lavatory is at least 18 inches from the centerline of the water closet
• Alter room/compartment for clearance
•      
•      

	3.32
	Is the height of the water closet no less than 17 inches and no greater than 19 inches above the floor measured to the top of the seat?
[604.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image183.png]



	     
Photo #:      
	• Adjust toilet height
• Replace toilet
•      


	3.33
	Is there a grab bar at least 42 inches long on the side wall?

Is it located no more than 12 inches from the rear wall?

Does it extend at least 54 inches from the rear wall? 

[604.5.1]

Is it mounted no less than 33 inches and no greater than 36 inches above the floor to the top of the gripping surface? 

[609.4]

Is there at least 12 inches clearance between the grab bar and projecting objects above?*

Is there at least 1½ inches clearance between the grab bar and projecting objects below?*

Is the space between the wall and the grab bar 1 ½ inches?

[609.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image184.png]—— 54”min =
2 pie— 42”min >
max A "';,
—





[image: image185.png]\

33”_36”





[image: image186.png]12”"min

1%”min-*




	     
Photo #:      
	• Install grab bar

• Relocate grab bar
• Relocate objects

•      
* If constructed before 3/15/2012 grab bars do not need to be relocated; there are no space requirements above and below grab bars in the 1991 Standards

	3.34
	Is there a grab bar at least 36 inches long on the rear wall? 
Does it extend at least 12 inches from the centerline of the water closet on one side (side wall)? 

Does it extend at least 24 inches on the other (open) side? 

[604.5.2]

Is it mounted no less than 33 inches and no greater than 36 inches above the floor to the top of the gripping surface? 

[609.4]

Are there at least 12 inches clearance between the grab bar and protruding objects above?*

Are there at least 1½ inches clearance between the grab bar and projecting objects below?*

Is the space between the wall and the grab bar 1½ inches?

[609.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image187.png](C
Nagae?





[image: image188.png]33”_36”





[image: image189.png]12”min





	     
Photo #:      
	• Install grab bar
• Relocate grab bar
• Relocate objects

•      
* If constructed before 3/15/2012 grab bars do not need to be relocated; there are no space requirements above and below grab bars in the 1991 Standards


	3.35
	If the flush control is hand operated, is the operable part located no higher than 48 inches above the floor?
[604.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image190.png]



	     
Photo #:      
	• Move control
• Install sensor with override button no higher than 48 inches
•      


	3.36
	If the flush control is hand operated, can it be operated with one hand and without tight grasping, pinching, or twisting of the wrist?
Is the force required to activate the flush control no greater than 5 pounds?

[605.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image191.png]



	     
Photo #:      
	• Change control
• Adjust control
•      


	3.37
	Is the flush control on the open side of the water closet?
[604.6]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	​[image: image192.png]C

- open side -





	     
Photo #:      
	• Move control
•      
•      


	3.38
	Is the toilet paper dispenser located no less than 7 inches and no greater than 9 inches from the front of the water closet to the centerline of the dispenser?*

[604.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image193.png]7_9”





	     
Photo #:      
	* If constructed before 3/15/2012 dispenser does not need to be relocated if it is within reach from the water closet seat; the 1991 Standards do not specify distance from the front of the water closet

• Relocate dispenser
•      
•      

	3.39
	Is the outlet of the dispenser: 
Located no less than 15 inches and no greater than 48 inches above the floor?

Not located behind grab bars?
[604.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image194.png])

©)

(





	     
Photo #:      
	• Relocate dispenser
•      
•      


	3.40
	Does the dispenser allow continuous paper flow?
[604.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image195.png]



	     
Photo #:      
	• Adjust dispenser
• Replace dispenser
•      


	Toilet Compartments (Stalls) 

	3.41
	Is the door opening width at least 32 inches clear, between the face of the door and the stop, when the door is open 90 degrees? 
[604.8.1.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image196.png]90°

[

— 32""Mmin —»

=




	     
Photo #:      
	• Widen door width
•      
•      


	3.42
	If there is a front approach to the pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus 60 inches clear depth?
[604.8.1.2]
Note: See 2010 Standards 604.8.1.2 Doors for maneuvering clearance requirements on the push side of the door and side approaches to the pull side of the door
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	
[image: image197]
	     
Photo #:      
	• Remove obstructions
•      
•      


	3.43
	Is the door self-closing? 
[604.8.1.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image198.png]



	     
Photo #:      
	• Add closer
• Replace door
•      


	3.44
	Are there door pulls on both sides of the door that are operable with one hand and do not require tight grasping pinching or twisting of the wrist?*

[604.8.1.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image199.png]



	     
Photo #:      
	* If constructed before 3/15/2012 door pulls do not need to be added; door pulls are not required in the 1991 Standards

• Replace hardware
•      
•      

	3.45
	Is the lock operable with one hand and without tight grasping, pinching or twisting of the wrist?
[309.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image200.png]



	     
Photo #:      
	• Replace lock
•      
•      


	3.46
	Are the operable parts of the door hardware mounted no less than 34 inches and no greater than 48 inches above the floor?
[404.2.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image201.png]34”- 48"





	     
Photo #:      
	• Relocate hardware
•      
•      


	3.47
	Is the compartment at least 60 inches wide?
[604.8.1.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image202.png]60”"min





	     
Photo #:      
	• Widen compartment
•      
•      


	3.48
	If the water closet is wall hung, is the compartment at least 56 inches deep?
[604.8.1.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image203.png]< 56"min———»





	     
Photo #:      
	• Widen compartment
•      
•      


	3.49
	If the water closet is floor mounted, is the compartment at least 59 inches deep?
[604.8.1.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image204.png]7

)74

A T

59”min

\ 4





	     
Photo #:      
	• Alter compartment
•      
•      


	3.50
	If the door swings in, is the minimum required compartment area provided beyond the swing of the door (60 inches x 56 inches if water closet is wall hung or 59 inches if water closet is floor mounted)?
[604.8.1.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image205.png]_ 56"0r 59"min _ _I

I
I
I
[ =
=





	     
Photo #:      
	• Reverse door swing
• Alter compartment
•      


	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      


	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      


	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      



	
	

	
	ADA Checklist for Existing Facilities

	
	Priority 4 – Additional Access

	
	Based on the 2010 ADA Standards for Accessible Design

	[image: image206.png]



	Project      

	
	Building      

	
	Location      

	
	Date      

	
	Surveyors      

	
	     

	
	Contact Information      

	
	      

	
	
	
	
	

	
	Amenities such as drinking fountains and public telephones should be accessible to people with disabilities.

	
	[image: image207.png]



	Institute for Human Centered Design
www.HumanCenteredDesign.org
2014                                                        
	[image: image208.png]



	ADA National Network  

Questions on the ADA 800-949-4232 voice/tty

www.ADAchecklist.org 

	
	

	
	
	
	
	

	
	This checklist was produced by the New England ADA Center, a project of the Institute for Human Centered Design and a member of the ADA National Network. This checklist was developed under a grant from the Department of Education, NIDRR grant number H133A060092-09A. However the contents do not necessarily represent the policy of the Department of Education, and you should not assume endorsement by the Federal Government. 

Questions or comments on the checklist contact the New England ADA Center at 617-695-0085 voice/tty or ADAinfo@NewEnglandADA.org
For the full set of checklists, including the checklists for recreation facilities visit www.ADAchecklist.org.

Copyright © 2016 ADA Checklist for Existing Materials. You can freely reproduce and distribute this content. Include proper attribution. But you must get permission before using this content as a fee-based product.



	Priority 4 – Additional Access
	
	Comments
	Possible Solutions

	Drinking Fountains 

	4.1
	Does at least one drinking fountain have a clear floor space at least 30 inches wide x at least 48 inches long centered in front of it for a forward approach?*
[See 2010 ADA Standards for Accessible Design – 602.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image209.png]



	     
Photo #:      
	*If installed before 3/15/2012, a parallel approach is permitted and the clear floor space is not required to be centered

• Alter space
• Relocate drinking  fountain

• Install a drinking fountain         in another location

	4.2
	If there is a forward approach, do no less than 17 inches and no greater than 25 inches of the clear floor space extend under the drinking fountain?
[306.2.2, 306.2.3]

Note: If the drinking fountain is primarily for children’s use and the spout is no more than 30 inches above the floor and no more than 3 ½ inches from the edge of the unit, a parallel approach is permitted.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image210.png]



	     
Photo #:      
	• Alter space
• Replace drinking fountain
•      


	4.3
	If the drinking fountain is no deeper than 20 inches, are the operable parts no higher than 48 inches above the floor? 
[308.2.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image211.png]



	     
Photo #:      
	• Adjust drinking fountain
• Replace drinking fountain
•      


	4.4
	If the drinking fountain is no less than 20 inches and no greater than 25 inches deep, are the operable parts no higher than 44 inches above the floor?
[308.2.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image212.png]



	     
Photo #:      
	• Adjust drinking fountain
• Replace drinking fountain
•      


	4.5
	Can the control be operated with one hand and without tight grasping, pinching or twisting of the wrist?

Is the force required to activate the control no more than 5 pounds?

[309.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     
	[image: image213.png]



	     
Photo #:      
	• Change control
• Adjust control
•      


	4.6
	Is the spout outlet no higher than 36 inches above the floor?
[602.4]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image214.png]



	     
Photo #:      
	• Adjust drinking fountain
• Replace drinking fountain
•      


	4.7
	Is the spout:

At least 15 inches from the rear of the drinking fountain?

No more than 5 inches from the front of the drinking fountain?
[602.5]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image215.png]



	     
Photo #:      
	• Adjust spout
• Replace drinking fountain
•      


	4.8
	If there is more than one drinking fountain, is there at least one for standing persons?

[211.2]

Is the spout outlet no lower than 38 inches and no higher than 43 inches above the floor?

[602.7]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     
	[image: image216.png]



	     
Photo #:      
	• Adjust drinking fountain
• Install new drinking fountain for standing height

•      

	4.9
	If the leading (bottom) edge of the fountain is higher than 27 inches above the floor, does the front of the fountain protrude no more than 4 inches into the circulation path?
[307.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image217.png]



	     
Photo #:      
	• Adjust drinking fountain
• Replace drinking fountain
• Add tactile warning such as permanent planter or partial walls 



	Public Telephones 

	4.10
	Does at least one telephone have a clear floor space at least 30 inches wide x at least 48 inches long for a parallel or forward approach?
[704.2.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image218.png]



[image: image219.png]



	     
Photo #:      
	• Move telephone
• Install new telephone for clear floor space
•      


	4.11
	Is the highest operable part of the telephone no higher than 48 inches above the floor?
[704.2.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:

     

	[image: image220.png]



	     
Photo #:      
	• Adjust telephone
•      
•      


	4.12
	If the leading (bottom) edge of the telephone is higher than 27 inches above the floor, does the front of the telephone protrude no more than 4 inches into the circulation path? 
[307.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image221.png]



	     
Photo #:      
	• Adjust telephone
•      
•      


	4.13
	Does at least one telephone have a volume control?
[704.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image222.png]n)»
PRESS TO
CHANGE
VOLUME 3
LEVELS





	     
Photo #:      
	• Install volume control
• Replace telephone with one that has volume control
•      

	4.14
	Is the volume control identified by a pictogram of a telephone handset with radiating sound waves?
[703.7.2.3]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image223.png]



	     
Photo #:      
	• Add pictogram
•      
•      


	4.15
	Does at least one telephone have a TTY?
[217.4.1]

Note: TTY’s are devices that employ interactive text-based communication through the transmission of coded signals across the telephone network. They are mainly used by people who are deaf and/or cannot speak.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image224.png]



	     
Photo #:      
	• Install TTY
•      
•      


	4.16
	Is the touch surface of the TTY keypad at least 34 inches above the floor? [704.4.1]

Note: If a seat is provided, the TTY is not required to be 34 inches minimum above the floor.
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No
Measurement:
     

	[image: image225.png]



	     
Photo #:      
	• Adjust height of TTY
•      
•      


	4.17
	Is the TTY identified by the International Symbol of TTY?
[703.7.2.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image226.png]



	     
Photo #:      
	• Add symbol
•      
•      


	4.18
	Do signs that provide direction to public telephones also provide direction to the TTY?
[216.9.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image227.png]|
Phone|





	     
Photo #:      
	• Add signs

•      
•      


	4.19
	Do telephones that do not have a TTY provide direction to the TTY?
[216.9.2]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image228.png]Can





	     
Photo #:      
	• Add signs
•      
•      



	Fire Alarm Systems 

	4.20
	If there are fire alarm systems, do they have both flashing lights and audible signals?
[702.1]
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	[image: image229.png]



	     
Photo #:      
	• Install audible and visual alarms
•      
•      


	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      


	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      


	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      


	     
	     
	 FORMCHECKBOX 
Yes    FORMCHECKBOX 
No

	
	     
Photo #:      
	•      
•      
•      



ADA Checklist for Existing Facilities











Institute for Human Centered Design 

                                                              www.ADAchecklist.org
Copyright © 2016



