Ocean City System – PWSID # 0508001

Allocation

| Permit Number | Activity Code | Expiration Date | GPM | Allocation |  | Source |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | MGM | MGY |  |
| 5324X (5324) | WAP 940001 | 9/30/2005* | 6,500 | 263.5 | 1,296 | 10 wells |
| 5324X (5360) | WAP 010001 | 1/31/2007 | 2,000 | 31.0 | 178 | 1 well |

* Renewal Application in Process; submitted to DEP 6/2005

Strathmere  Water System - PWSID #0511001

Allocation

| Permit Number | Activity Code | Expiration Date | GPM | Allocation |  | Source |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | MGM | MGY |  |
| 5393 | WAP 050001 | 3/31/2016 | 220 | 4 | 19 | 2 wells |