TABLE 4

Summary of Proposed Wastewater Management Activities

A.	Modification of Sewer Service Areas

1.	Delineation of the existing and future Stony Brook Regional Sewerage Authority's sewer service area in Plainsboro Township.

2.	Delineation of the existing and future Princeton Meadows Utility Company's sewer service area in Plainsboro Township.

3.	Delineation of the existing and future Middlesex County Utilities Authority's sewer service areas in Plainsboro Township.

B.	Modification of Sewer Systems

1.	The existing South Brunswick Township Pumping Station No. 6, located along Route 1 south of the Plainsboro-South Brunswick boundary line, is to be decommissioned.  Wastewater flows from this pumping station will be conveyed via a proposed gravity sewer, to be known as the Harry's Brook trunk line, to the existing South Brunswick sewer system in the area of Ridge Road.

2.	The existing St. Joseph's Preparatory Seminary College's Sewage Treatment Plant is to be decommissioned as directed by the New Jersey Department of Environmental Protection.  Wastewater flows from this treatment plant will be conveyed to the Stony Brook Regional Sewerage Authority's River Road Treatment Plant.

C.	Update of Information in the Lower Raritan/Middlesex County Water Q Quality Management Plan

1.	Incorporation of relevant provisions of the Plainsboro Township Wastewater Management Plan, including additional sewer service areas that are consistent with the township's adopted Land Use Plan and Zoning Ordinance.

2.	Update of forecasts of population and wastewater flows.